{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"charts":2,"images":8,"macros":1,"external_links":0,"defined_names":0,"comments":1,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":264,"n_cols":29,"rows_kept":264,"cut":false,"hidden":false,"merged":[]}
["Demonstration of peak sharpening by the odd-order derivative method.",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Tom O'Haver (toh@umd.edu), Version 5, July 2017"]
["In this demonstration, two overlapping Gaussians are simulated.  Cells B4 - B6 control the peak width, noise, and relative height  of peak 2. Adjust the width (B5) to change Rs (E6)."]
["Peak parameters",null,null,null,"Click buttons to change K1 and K2"]
["peak 2",0.2,null,"K1=",8761.3875566854058,null,null,null,null,0,null,"The smooth function is defined by the 17 red coefficients in row 5, columns K through AA."]
["Width",400," ","K2=",10220193.499366665,null,null,null,null,0,null,-8,-7,-6,-5,-4,-3,-2,-1,0,1,2,3,4,5,6,7,8]
["Noise",0,null,"Rs=",{"$f":"500/(2*B5)","v":0.625}," "," ",null,"Smooth coefficients  ---->",null,null,1,2,3,4,5,6,7,8,9,8,7,6,5,4,3,2,1," "]
["Simulated data",null,"1st",null,"Smoothed","2nd","Smoothed","4th","Smoothed","Sharpened"]
["X","Y"," derivative",null,"1st deriv."," derivative"," 2nd deriv."," derivative","4th deriv.","Signal"]
[0,{"$f":"EXP(-1*(($A9-1000)/(0.60056*$B$5))^2)+$B$4*EXP(-1*(($A9-1500)/(0.60056*$B$5))^2)+$B$6*(RAND()-RAND()+RAND()-RAND())","v":2.9800251090922769E-8},0,null,0,null,0,null,null,null,null,{"$f":"G9*$E$4","v":0},{"$f":"I9*$E$5","v":0}]
[10,{"$f":"EXP(-1*(($A10-1000)/(0.60056*$B$5))^2)+$B$4*EXP(-1*(($A10-1500)/(0.60056*$B$5))^2)+$B$6*(RAND()-RAND()+RAND()-RAND())","v":4.2071010836866365E-8},{"$f":"(B10-B9)/(A10-A9)","v":1.2270759745943595E-9},null,0,{"$f":"(E11-E9)/(A11-A9)","v":0},0,{"$f":"(G11-G9)/(A11-A9)","v":0},null,null,null,0,0]
[20,5.9188974351286606E-8,{"$f":"(B11-B10)/(A11-A10)","v":1.7117963514420241E-9},null,0,{"$f":"(E12-E10)/(A12-A10)","v":0},0,0,null,null,null,0,0]
[30,8.2983839692862173E-8,2.3794865341575567E-9,null,0,0,0,0,null,null,null,0,0]
[40,1.1594207841686597E-7,3.2958238724003793E-9,null,0,0,0,0,null,null,null,0,0]
[50,1.6142971531973022E-7,4.5487636902864254E-9,null,0,0,0,0,null,null,null,0,0]
[60,2.2398592277970448E-7,6.2556207459974258E-9,null,0,{"$f":"-(E16-E14)/(A16-A14)","v":0},0,0,null,null,null,0,0]
[70,3.0970827679358006E-7,8.5722354013875586E-9,null,0,{"$f":"-(E17-E15)/(A17-A15)","v":0},0,-5.2900694722548682E-11,null,null,null,0,0]
[80,4.2675610556515038E-7,1.1704782877157032E-8,null,0,{"$f":"-(E18-E16)/(A18-A16)","v":-1.3784723266047033E-9},{"$f":" (F9*$L$6+F10*$M$6+F11*$N$6+F12*$O$6+F13*$P$6+F14*$Q$6+F15*$R$6+F16*$S$6+F17*$T$6+F18*$U$6+F19*$V$6+F20*$W$6+F21*$X$6+F22*$Y$6+F23*$Z$6+F24*$AA$6+F25*$AB$6)/SUM($L$6:$AB$6)","v":-1.0580138944509736E-9},-6.9512017955901776E-11,{"$f":"(H9*$L$6+H10*$M$6+H11*$N$6+H12*$O$6+H13*$P$6+H14*$Q$6+H15*$R$6+H16*$S$6+H17*$T$6+H18*$U$6+H19*$V$6+H20*$W$6+H21*$X$6+H22*$Y$6+H23*$Z$6+H24*$AA$6+H25*$AB$6)/SUM($L$6:$AB$6)","v":-3.7787221782246124E-11},null,null,-9.2696697696430271E-6,-3.8619271841803827E-4]
[90,5.8600526593799922E-7,1.5924916037284883E-8,null,{"$f":"(C10*$L$6+C11*$M$6+C12*$N$6+C13*$O$6+C14*$P$6+C15*$Q$6+C16*$R$6+C17*$S$6+C18*$T$6+C19*$U$6+C20*$V$6+C21*$W$6+C22*$X$6+C23*$Y$6+C24*$Z$6+C25*$AA$6+C26*$AB$6)/SUM($L$6:$AB$6)","v":2.7569446532094067E-8},{"$f":"-(E19-E17)/(A19-A17)","v":-1.8451834040935186E-9},-1.3902403591180355E-9,-3.6424231722563121E-11,-4.0744802286598404E-11,null,null,-1.2180434583178607E-5,-4.1641976346247305E-4]
[100,8.0189616793469733E-7,2.1589090199669811E-8,null,3.6903668081870371E-8,{"$f":"-(E20-E18)/(A20-A18)","v":-1.0828672775814458E-9},-1.786498528902236E-9,-4.5300326380777482E-11,-4.2380073840851604E-11,null,null,-1.5652205981160834E-5,-4.3313255517095085E-4]
[110,1.0935272289842198E-6,2.9163106104952241E-8,null,4.9226792083722981E-8,{"$f":"-(E21-E19)/(A21-A19)","v":-1.4266651436318602E-9},-2.2962468867335852E-9,-5.8151875838552534E-11,-4.2388363019545974E-11,null,null,-2.0118308900505235E-5,-4.332172721811581E-4]
[120,1.4860585094366442E-6,3.9253128045242447E-8,null,6.5436970954507574E-8,-1.8728069938422898E-9,-2.9495360456732868E-9,-7.4369683996851359E-11,-4.0340668285232934E-11,null,null,-2.5842028408557012E-5,-4.122894357688446E-4]
[130,2.0125054275537564E-6,5.2644691811711213E-8,null,8.6682931960568778E-8,-2.449544851636428E-9,-3.7836405666706123E-9,-9.4752603054110969E-11,-3.5703572468331042E-11,null,null,-3.3149941379798018E-5,-3.6489741924500355E-4]
[140,2.7160205756205305E-6,7.0351514806677417E-8,null,1.1442786798723613E-7,-3.1922456058348426E-9,-4.8445881067555062E-9,-1.2026580299204945E-10,-2.781624922673062E-11,null,null,-4.2445313955793801E-5,-2.8428744952379529E-4]
[150,3.6527831860228337E-6,9.3676261040230311E-8,null,1.5052784407726563E-7,-4.1449827332063223E-9,-6.1889566265116013E-9,{"$f":"-(G25-2*G24+G23)/(A25-A23)","v":1.7632360196524918E-11},-1.5863046698365473E-11,null,null,-5.4223847576384429E-5,-1.6212340674678466E-4]
[160,4.8956411712726774E-6,1.2428579852498436E-7,null,1.9732752265136258E-7,-5.3624288138027531E-9,-7.8859723501981947E-9,{"$f":"-(G26-2*G25+G24)/(A26-A24)","v":2.1847669282631546E-11},-3.0311217961939505E-12,null,null,-6.9092060021391633E-5,-3.0978651277250026E-5]
[170,6.5386803330798035E-6,1.643039161807126E-7,null,{"$f":"(C18*$L$6+C19*$M$6+C20*$N$6+C21*$O$6+C22*$P$6+C23*$Q$6+C24*$R$6+C25*$S$6+C26*$T$6+C27*$U$6+C28*$V$6+C29*$W$6+C30*$X$6+C31*$Y$6+C32*$Z$6+C33*$AA$6+C34*$AB$6)/SUM($L$6:$AB$6)","v":2.5777642035332069E-7},-6.9120911410072533E-9,-1.0019941459537419E-8,{"$f":"-(G27-2*G26+G25)/(A27-A25)","v":2.7807760974763035E-11},1.0176288076706182E-11,null,null,-8.7788590422307352E-5,1.0400363324923503E-4]
[180,8.7029297361038797E-6,2.1642494030240762E-7,null,3.3556934547150765E-7,-8.8769349226752769E-9,-1.2710065788371904E-8,{"$f":"-(G28-2*G27+G26)/(A28-A26)","v":3.4258561512899235E-11},2.370148074529225E-11,{"$f":"B27+$E$4*G27+$E$5*I27","v":1.3957883693160942E-4},null,-1.1135781224289448E-4,2.4223371943840003E-4]
[190,1.1543451766533141E-5,2.8405220304292615E-7,null,4.3531511880682623E-7,-1.135843978698194E-8,{"$f":" (F20*$L$6+F21*$M$6+F22*$N$6+F23*$O$6+F24*$P$6+F25*$Q$6+F26*$R$6+F27*$S$6+F28*$T$6+F29*$U$6+F30*$V$6+F31*$W$6+F32*$X$6+F33*$Y$6+F34*$Z$6+F35*$AA$6+F36*$AB$6)/SUM($L$6:$AB$6)","v":-1.6085361347464374E-8},{"$f":"-(G29-2*G28+G27)/(A29-A27)","v":4.1184919658710213E-11},{"$f":"(H20*$L$6+H21*$M$6+H22*$N$6+H23*$O$6+H24*$P$6+H25*$Q$6+H26*$R$6+H27*$S$6+H28*$T$6+H29*$U$6+H30*$V$6+H31*$W$6+H32*$X$6+H33*$Y$6+H34*$Z$6+H35*$AA$6+H36*$AB$6)/SUM($L$6:$AB$6)","v":3.8133372171157902E-11},2.6034380938466808E-4,null,-1.4093008475446275E-4,3.8973044237259767E-4]
[200,1.5258110368952679E-5,3.7146586024195379E-7,null,5.6273814121114647E-7,-1.4480135177040254E-8,-2.0284355299731048E-8,5.0230945276496571E-11,5.358087919369397E-11,3.8514596547624511E-4,null,-1.7771909811844928E-4,5.4760695322574168E-4]
[210,2.0098361594090001E-5,4.8402512251373217E-7,null,7.2491782234763132E-7,-1.8391658314352079E-8,-2.5487968157527653E-8,6.1002119695992622E-11,7.0105941970706731E-11,5.1328468692952696E-4,null,-2.2330996706055662E-4,7.1649629239599355E-4]
[220,2.6382466958291183E-5,6.2841053642011827E-7,null,9.3057130749818807E-7,-2.327337424936595E-8,-3.1911623409244111E-8,7.3763215292359453E-11,8.7745246923961342E-11,6.4356576891950166E-4,null,-2.7959010025138204E-4,8.9677340221259256E-4]
[230,3.4511592068845247E-5,8.1291251105540638E-7,null,1.1903853073349503E-6,-2.9341590565036976E-8,-3.9810542966807758E-8,8.8804616243844568E-11,1.0649795483440644E-10,7.7414570198901158E-4,null,-3.4879559577427919E-4,1.0884297056944455E-3]
[240,4.4989320094284492E-5,1.0477728025439245E-6,null,1.5174031187989276E-6,-3.6854388984783055E-8,-4.9485554849248296E-8,1.0644123267136486E-10,1.2631020966348445E-10,9.0234197930879158E-4,null,-4.3356212449187717E-4,1.2909147837063843E-3]
[250,5.8445181204337851E-5,1.3455861110053359E-6,null,1.9274730870306114E-6,-4.6118081865468552E-8,-6.1289391385116132E-8,1.270103159168301E-10,1.491509510417025E-10,1.0458166504267233E-3,null,-5.369801110383782E-4,1.5243515802607637E-3]
[260,7.5662873906325839E-5,1.7217692701987989E-6,null,2.4397647561082986E-6,-5.749428273452564E-8,-7.5633434239320569E-8,1.5086794635598874E-10,1.7533754991853055E-10,1.2049927321648027E-3,null,-6.6265382961376714E-4,1.791983687872244E-3]
[270,9.7613930607877883E-5,2.1951056701552044E-6,null,3.0773587417211242E-6,-7.1407556092154462E-8,-9.2994836020644781E-8,1.7838395408800778E-10,2.0519942253373528E-10,1.3800279357136756E-3,null,-8.1476379914727692E-4,2.0971778042530747E-3]
[280,1.2549765551263093E-4,2.7883724904753051E-6,null,3.867915877951388E-6,-8.8353582143492481E-8,-1.1392391688372915E-7,2.0993502902850104E-10,2.3905221661349789E-10,1.5705259779611274E-3,null,-9.981315877939669E-4,2.4431599102424633E-3]
[290,1.6078823522947387E-4,3.5290579716842941E-6,null,4.8444303845909739E-6,-1.0890773655837297E-7,-1.3905169832738354E-7,2.4589578250415816E-10,2.7718511293441168E-10,1.7753879051014524E-3,null,-1.218285819461511E-3,2.8328854893334894E-3]
[300,2.0528998765069432E-4,4.4501752421220447E-6,null,6.0460706091188472E-6,-1.3373394354236994E-7,-1.6909739542112109E-7,2.8662753966442727E-10,3.1986628445002927E-10,1.9928574925429298E-3,null,-1.4815278161105221E-3,3.2690953210027579E-3]
[310,2.6120176835680594E-4,5.5911780706111616E-6,null,7.5191092554383725E-6,-1.6359361242071859E-7,-2.0487564330814719E-7,3.3246467317125861E-10,3.6732076086305239E-10,2.220296108763873E-3,null,-1.7949949119479185E-3,3.7540892523549854E-3]
[320,3.311915908478916E-4,6.9989822491085665E-6,null,9.3179428575332192E-6,-1.9935441383926601E-7,-2.4730318465859846E-7,3.8369833588900048E-10,4.197139711757189E-10,2.4540305458548243E-3,null,-2.1667190447965177E-3,4.2895579998034504E-3]
[330,4.1848253127021036E-4,8.7290940422318746E-6,null,1.1506197532223693E-5,-2.419985921639734E-7,-2.9740469272682974E-7,4.4055751562655749E-10,4.7713318718884978E-10,2.6891982551530986E-3,null,-2.6056777741566926E-3,4.8763934980395806E-3]
[340,5.269509731903292E-4,1.0846844192011884E-5,null,1.4157914700812687E-5,-2.9263044670239622E-7,-3.5631735110759217E-7,5.0318741993843107E-10,5.3956699996608694E-10,2.9195957124913416E-3,null,-3.1218344062251629E-3,5.5144791455261754E-3]
[350,6.6123819582596111E-4,1.3428722263563191E-5,null,1.7358806466271617E-5,-3.5248254742474617E-7,-4.2529375788712322E-7,5.7162530454572812E-10,6.0688306499347859E-10,3.137537113259811E-3,null,-3.7261634382882171E-3,6.202462355722067E-3]
[360,8.2687621182616527E-4,1.6563801600020415E-5,null,2.1207565649307611E-5,-4.2292018288420637E-7,-5.0570267075756883E-7,6.4577398529230257E-10,6.7880446993890416E-10,3.3337321558788483E-3,null,-4.4306570869579402E-3,6.9375130310106231E-3]
[370,1.0304286096367936E-3,2.0355239781062838E-5,null,2.5817210123955745E-5,-5.0544347152617612E-7,-5.990270633338605E-7,7.2537341993153838E-10,7.548852097066244E-10,3.4971932638373929E-3,null,-5.2483082588110855E-3,7.7150729130116844E-3]
[380,1.2796469419575714E-3,2.4921833232077771E-5,null,3.1316435079831134E-5,-6.0168650559644297E-7,-7.0685892430878293E-7,8.0997091050283034E-10,8.3448539403578993E-10,3.6151841576275798E-3,null,-6.193064983771002E-3,8.5286021994410103E-3]
[390,1.5836429172261157E-3,3.0399597526854437E-5,null,3.7850940235884605E-5,-7.1341284302675832E-7,-8.3089020349376197E-7,8.988906563227072E-10,9.1674695926165266E-10,3.6732231409741644E-3,null,-7.2797510898620511E-3,9.3693313136100995E-3]
[400,1.9530762874521441E-3,3.6943337022602841E-5,null,4.5584691940366301E-5,-8.4250662112950844E-7,-9.7289929580519515E-7,9.9120357692127333E-10,1.0005708029615817E-9,3.6551557193605548E-3,null,-8.5239477841756311E-3,1.0226027216084042E-2]
[410,2.400357876126222E-3,4.4728158867407791E-5,null,5.4701072658474774E-5,-9.9095854125367787E-7,-1.1347324596550538E-6,1.0856985172717643E-9,1.084596401832609E-9,3.5433121193835151E-3,null,-9.941830852188813E-3,1.1084785095446106E-2]
[420,2.9398666490032233E-3,5.395087728770013E-5,null,6.5403862765439858E-5,-1.1608459706581841E-6,-1.3182795938503477E-6,1.1808561364743682E-9,1.1671851020206807E-9,3.3187658114398767E-3,null,-1.1549958429792727E-2,1.1928857592229379E-2]
[430,3.5881790951980555E-3,6.4831244619483228E-5,null,7.7917992071638455E-5,-1.354306431839584E-6,-1.525443850775129E-6,1.2748269562225502E-9,1.2464083790507491E-9,2.9617091357251792E-3,null,-1.3365004772603484E-2,1.2738534813130609E-2]
[440,4.3643084560047478E-3,7.7612936080669224E-5,null,9.2489991402231538E-5,-1.573503805479045E-6,-1.7581046468243613E-6,1.3654151960962044E-9,1.3200424425949663E-9,2.4519614706641681E-3,null,-1.540343617603775E-2,1.3491089190697169E-2]
[450,5.2899505175094353E-3,9.2564206150468756E-5,null,1.0938806818121935E-4,-1.8205866658497915E-6,-2.0180737467955177E-6,1.4500701371024603E-9,1.385570600262391E-9,1.7696239455769498E-3,null,-1.7681126213647744E-2,1.4160799641715257E-2]
[460,6.3897317780200295E-3,1.0997812605105942E-4,null,1.2890172471922737E-4,-2.0976383011979524E-6,-2.3070442495087233E-6,1.5258868203116557E-9,1.4401947850726141E-9,8.9589237787258448E-4,null,-2.0212908780368348E-2,1.4719069380220903E-2]
[470,7.6914548250889767E-3,1.3017230470689471E-4,null,1.513408342051784E-4,-2.4066181496490916E-6,-2.626532488628162E-6,1.5896178911339724E-9,1.4808575843934124E-9,-1.8596318050237946E-4,null,-2.3012069063096732E-2,1.5134651057505376E-2]
[480,9.2263347274317165E-3,1.5348799023427398E-4,null,1.770340877122092E-4,-2.7492946057539452E-6,-2.9778130855702802E-6,1.6376983293803549E-9,1.50427597593788E-9,-1.4894482360849406E-3,null,-2.6089774514050427E-2,1.5373991550533768E-2]
[490,1.1029219188215348E-2,1.8028844607836312E-4,null,2.063267263202573E-4,-3.1271694244507578E-6,-3.3618476491000055E-6,1.6662846495302615E-9,1.5069877725102042E-9,-3.0235243358476861E-3,null,-2.9454450160296873E-2,1.5401706636233841E-2]
[500,1.3138784148046262E-2,2.1095649598309139E-4,null,2.3957747620122435E-4,-3.5413942666483104E-6,-3.779207905620336E-6,1.6713099053350966E-9,1.4854114972604283E-9,-4.7911280421973242E-3,null,-3.3111105118429122E-2,1.5181192928185535E-2]
[510,1.5597695504757097E-2,2.4589113567108356E-4,null,2.7715461165322351E-4,-3.9926802902409311E-6,-4.2299943602473684E-6,1.6485554815239224E-9,1.4359200536669404E-9,-6.7875436498665426E-3,null,-3.7060619952720739E-2,1.4675380798097097E-2]
[520,1.8452726674986188E-2,2.8550311702290904E-4,null,3.1943108200604297E-4,-4.4812020860572845E-6,-4.7137519245048792E-6,1.5937402001527275E-9,1.3549281209898282E-9,-8.9986532074234106E-3,null,-4.1299007456658932E-2,1.3847627574249333E-2]
[530,2.1754820907163654E-2,3.3020942321774669E-4,null,3.6677865337436921E-4,-5.0064976812091661E-6,-5.2293842927654447E-6,1.5026267116264966E-9,1.2389927019599816E-9,-1.1399096406263479E-2,null,-4.5816662471761277E-2,1.2662745158334144E-2]
[540,2.5559086618979203E-2,3.8042657118155486E-4,null,4.195610356302263E-4,-5.5673667709213963E-6,-5.77506919525854E-6,1.3711444874792736E-9,1.0849256845448999E-9,-1.3950382338874452E-2,null,-5.059761938633537E-2,1.1088150428481715E-2]
[550,2.9924713630023584E-2,4.3656270110443811E-4,null,4.7812598879279713E-4,-6.1617697797745911E-6,-6.3481769875012208E-6,1.1955279960483836E-9,8.8991666766472729E-10,-1.6599004694061163E-2,null,-5.5618838865929839E-2,9.0951205418450913E-3]
[560,3.4914798048915369E-2,4.9900844188917846E-4,null,5.4279643122571812E-4,-6.7867307773388097E-6,-6.9451953396648693E-6,9.7246784188231023E-10,6.5166366000016241E-10,-1.927462127706674E-2,null,-6.0849548027689257E-2,6.6601287017071485E-3]
[570,4.0596063810156298E-2,5.6812657612409295E-4,null,6.1386060433957332E-4,-7.4382476620772313E-6,-7.5616630486661641E-6,6.9927180969439244E-10,3.6850861400202746E-10,-2.1888367390991124E-2,null,-6.6250660542431561E-2,3.7662293412841405E-3]
[580,4.7038469492561824E-2,6.4424056824055262E-4,null,6.9156138446726276E-4,-8.1112133600111323E-6,-8.1921161938613466E-6,3.7403190454914909E-10,3.957413009483758E-11,-2.4331380124117633E-2,null,-7.1774304883817808E-2,4.0445526713834976E-4]
[590,5.4314690136085628E-2,7.2762206435238034E-4,null,7.7608487153979597E-4,-8.7993520386856679E-6,-8.8300499771475121E-6,-4.20734244224231E-12,-3.3510291187131348E-10,-2.6473616460130873E-2,null,-7.7363489994690463E-2,-3.4248166015260384E-3]
[600,6.2499465346294761E-2,8.1847752102091333E-4,null,8.6754842524097611E-4,-9.4951744898926036E-6,-9.4678996135848328E-6,-4.352847892001146E-10,-7.5444553426679556E-10,-2.8163051861053671E-2,null,-8.2951937862408717E-2,-7.7105793449397143E-3]
[610,7.1668807063118525E-2,9.1693417168237643E-4,null,9.6598836133764804E-4,-1.0189956864522191E-5,-1.0097043554238151E-5,-9.1776895048855438E-10,-1.2162237813947717E-9,-2.9225347076680182E-2,null,-8.8464111755412717E-2,-1.2430042384385991E-2]
[620,8.1899062985566762E-2,1.0230255922448236E-3,null,1.0713475625314199E-3,-1.0873746829774327E-5,-1.0707832115881699E-5,-1.4488212420472705E-9,-1.716960142382431E-9,-2.9464068959444097E-2,null,-9.3815467059162272E-2,-1.7547664885848586E-2]
[630,9.3265834782131393E-2,1.1366771796564631E-3,null,1.1834632979331346E-3,-1.1535400945709485E-5,-1.12896442526843E-5,-2.0240831188163101E-9,-2.2518587084720663E-9,-2.8661545626560161E-2,null,-9.891294867487313E-2,-2.3014431733818425E-2]
[640,0.10584275385269314,1.2576919070561743E-3,null,1.3020555814456096E-3,-1.2162656611949591E-5,-1.1830974727110576E-5,-2.6375940817506059E-9,-2.8147633622953521E-9,-2.658042712245939E-2,null,{"$f":"G73*$E$4","v":-0.10365575475756611},{"$f":"I73*$E$5","v":-2.8767426217586416E-2}]
[650,{"$f":"EXP(-1*(($A74-1000)/(0.60056*$B$5))^2)+$B$4*EXP(-1*(($A74-1500)/(0.60056*$B$5))^2)+$B$6*(RAND()-RAND()+RAND()-RAND())","v":0.11970012149496451},1.3857367642271371E-3,null,1.4267164301721264E-3,-1.2742241308877822E-5,-1.231955331990184E-5,-3.281747312388544E-9,-3.3981499432052149E-9,-2.2966009625364985E-2,null,-0.10793638116091035,-3.4729749959419139E-2]
[660,0.13490342479630929,{"$f":"(B75-B74)/(A75-A74)","v":1.5203303301344784E-3},null,1.5569004076231661E-3,-1.3260021050105481E-5,-1.2742496966445332E-5,-3.9472891806250247E-9,-3.9931567464977058E-9,-1.7549364189114375E-2,null,-0.11164195436291567,-4.0810834622507994E-2]
[670,0.15151174432566025,1.6608319529350963E-3,null,1.691916851174236E-3,-1.370118898094114E-5,-1.3086494829376325E-5,-4.6233680432078142E-9,-4.5896568913027739E-9,-1.0051290157881407E-2,null,-0.11465585295872563,-4.690718152481603E-2]
[680,0.16957607462208091,1.8064330296420656E-3,null,1.8309241872419889E-3,-1.4050493915966308E-5,-1.3338025331443161E-5,-5.2976366049953971E-9,-5.176375038021456E-9,-1.8708906145069315E-4,null,-0.11685960916966084,-5.2903554513870757E-2]
[690,0.18913758342613665,1.9561508804055742E-3,null,1.9729267294935622E-3,-1.4292507331040508E-5,-1.3483603101410089E-5,-5.9564106632561929E-9,-5.7410496683472755E-9,1.2327872494173581E-2,null,-0.1181350724319791,-5.8674638499983972E-2]
[700,0.21022584041820583,2.1088256992069176E-3,null,2.116774333862799E-3,-1.4411925943195493E-5,-1.3510052658111893E-5,-6.5848853237641386E-9,-6.270640687433578E-9,2.7771871978686927E-2,null,-0.11836680724894613,-6.4087161190572769E-2]
[710,0.23285705073935897,2.2631210321153146E-3,null,2.2611652483574721E-3,-1.4393905566222682E-5,-1.3404804508338414E-5,-7.167407808981077E-9,-6.7515805082805173E-9,4.6409904099023139E-2,null,-0.1174446874191566,-6.900245922117923E-2]
[720,0.25703233259038827,2.4175281851029295E-3,null,2.4046524451872527E-3,-1.4224420468015296E-5,-1.3156208202385314E-5,-7.6878038315376003E-9,-7.1700650832028816E-9,6.848624119946109E-2,null,-0.11526663883754117,-7.3279452553385999E-2]
[730,0.28273608154384172,2.5703748953453454E-3,null,2.545653657717778E-3,-1.3890641031688469E-5,-1.2753855819801462E-5,-8.1297522535623479E-9,-7.5123796159930457E-9,9.4216634548326683E-2,null,-0.11174147367936828,-7.6777973316146775E-2]
[740,0.30993446667635544,2.7198385132513716E-3,null,2.6824652658210221E-3,-1.3381321194347882E-5,-1.2188908392146362E-5,-8.4772004796522782E-9,-7.7652519883389053E-9,0.12378033846766062,null,-0.10679175031652946,-7.9362377892165353E-2]
[750,0.33857410505882901,2.8639638382473576E-3,null,2.8132800816047356E-3,{"$f":"-(E85-E83)/(A85-A83)","v":-1.2687185965520897E-5},-1.1454416954898218E-5,-8.7148108334632226E-9,-7.9162253375243688E-9,0.15731216414700921,null,-0.10035658617773158,-8.0905354734088233E-2]
[760,0.36858096137363866,3.0006856314809651E-3,null,2.93620898513144E-3,-1.1801308371874518E-5,-1.0545629300980809E-5,-8.8284261459674655E-9,-7.9540398039449293E-9,0.19489479014062672,null,-9.239434533503027E-2,-8.1291825897981673E-2]
[770,0.39985951833185035,3.127855695821169E-3,null,3.049306249042226E-3,-1.0719464493154211E-5,-9.46027312414405E-6,-8.8055410397266795E-9,-7.8690122999072199E-9,0.23655157074518118,null,-8.2885119232721044E-2,-8.0422828353948095E-2]
[780,0.4322922610450608,3.243274271321045E-3,null,3.1505982749945242E-3,-9.4404548977134777E-6,-8.1988061265127579E-6,-8.6357640269113596E-9,-7.6534023042803453E-9,0.28224009059031202,null,-7.1832917976504942E-2,-7.8219252478243836E-2]
[790,0.4657395145139776,3.3447253468916805E-3,null,3.2381153469964955E-3,-7.966380797371181E-6,-6.7646238483432378E-6,-8.3112546396516116E-9,-7.3017512212823413E-9,0.33184671293770346,null,-5.9267491210531785E-2,-7.4625310365742395E-2]
[800,0.50003966792527366,3.4300153411296053E-3,null,3.3099258909419478E-3,-6.3028636521215637E-6,-5.1642164773806854E-6,-7.8271194560238241E-9,-6.8111828046850097E-9,0.38518235971688103,null,-4.5245701984952875E-2,-6.9611606223439745E-2]
[810,0.53500981254837054,3.4970144623096889E-3,null,{"$f":"(C82*$L$6+C83*$M$6+C84*$N$6+C85*$O$6+C86*$P$6+C87*$Q$6+C88*$R$6+C89*$S$6+C90*$T$6+C91*$U$6+C92*$V$6+C93*$W$6+C94*$X$6+C95*$Y$6+C96*$Z$6+C97*$AA$6+C98*$AB$6)/SUM($L$6:$AB$6)","v":3.3641726200389268E-3},-4.459197783230197E-6,-3.4072667172976561E-6,-7.1817511315508328E-9,-6.1816525746958234E-9,0.44197974286988112,null,-2.9852384219240014E-2,-6.3177685459249469E-2]
[820,0.57044681179861811,3.5436999250247569E-3,null,3.3991098466065518E-3,-2.4484268006562654E-6,-1.5066819345836104E-6,-6.3770954293855222E-9,-5.4161350597386616E-9,{"$f":"B91+$E$4*G91+$E$5*I91","v":0.50189223911584169},null,-1.3200624353543539E-2,-5.5353948329232953E-2]
[830,0.60612881264255436,3.5682000843936246E-3,null,3.4131411560520521E-3,-2.8733630278094443E-7,{"$f":" (F84*$L$6+F85*$M$6+F86*$N$6+F87*$O$6+F88*$P$6+F89*$Q$6+F90*$R$6+F91*$S$6+F92*$T$6+F93*$U$6+F94*$V$6+F95*$W$6+F96*$X$6+F97*$Y$6+F98*$Z$6+F99*$AA$6+F100*$AB$6)/SUM($L$6:$AB$6)","v":5.214447567181458E-7},{"$f":"-(G93-2*G92+G91)/(A93-A91)","v":-5.4188327709238951E-9},{"$f":"(H84*$L$6+H85*$M$6+H86*$N$6+H87*$O$6+H88*$P$6+H89*$Q$6+H90*$R$6+H91*$S$6+H92*$T$6+H93*$U$6+H94*$V$6+H95*$W$6+H96*$X$6+H97*$Y$6+H98*$Z$6+H99*$AA$6+H100*$AB$6)/SUM($L$6:$AB$6)","v":-4.5207390756278073E-9},0.56449456413249932,null,4.5685796030092117E-3,-4.6202828113064184E-2]
[840,0.64181719717797947,3.5688384535425112E-3,null,3.4048565726621707E-3,2.0036426692737101E-6,2.6579481034383799E-6,-4.3164629823444965E-9,-3.504743085661618E-9,0.62928535811673092,null,2.3287313439780594E-2,-3.5819152501029135E-2]
[850,0.67725896218935377,3.5441765011374306E-3,null,3.3730683026665779E-3,4.4006225936595684E-6,4.8807807098055039E-6,-3.0832846416068427E-9,-2.380544921308922E-9,0.69569174383744214,null,4.2762411377800104E-2,-2.4329629729711776E-2]
[860,0.71218950306298123,3.4930540873627457E-3,null,3.3168441207889793E-3,6.8765414140149618E-6,7.1652790090047648E-6,-1.7362636557357869E-9,-1.1635227184904023E-9,0.76307586208877365,null,6.2777786349673487E-2,-1.189142732388104E-2]
[870,0.74633576698558146,3.4146263922600227E-3,null,3.2355374743862787E-3,9.4015352592100936E-6,9.4845025813187414E-6,-2.9578931350495052E-10,1.2819324539014525E-10,0.8307433296560971,null,8.3097402897316638E-2,1.3101597731990781E-3]
[880,0.77941972920556535,3.3083962219983888E-3,null,3.1288134156047774E-3,1.1943396864688987E-5,1.1809641939902817E-5,1.2146800660062069E-9,1.4740351434414197E-9,0.89795350353757797,null,0.10346884994117464,1.5064924390838006E-2]
[890,0.81116213567974205,3.1742406474176699E-3,null,2.9966695370924989E-3,1.4468111780737825E-5,1.4110487697166768E-5,2.7690757816739658E-9,2.8513929217524224E-9,0.96393137441149568,null,0.12362745132871943,2.914178740303423E-2]
[900,0.84128644602612845,3.0124310346386408E-3,null,2.8394511799900209E-3,1.694046173466733E-5,1.6355951938797241E-5,4.3392716508417685E-9,4.2360817010053853E-9,1.0278808544838525,null,0.14330083379432268,4.3293574663401328E-2]
[910,0.86952290270425003,2.8236456678121581E-3,null,2.6578603023991523E-3,1.9324682025980627E-5,1.8514630747410877E-5,5.8957173962403239E-9,5.6028698495291072E-9,1.0889991721651955,null,0.16221385544699068,5.726241401395487E-2]
[920,0.89561264606294932,2.6089743358699291E-3,null,2.4529575394704084E-3,2.1585157677682594E-5,2.0555395208099708E-5,7.4081354120867972E-9,6.9260538774758025E-9,1.1464920406767865,null,0.1800937837989956,7.0785610814841485E-2]
[930,0.91931179060070056,2.3699144537751237E-3,null,2.2261571488455005E-3,2.368714133546639E-5,2.2447996960546802E-5,8.8462609940812488E-9,8.180064281314761E-9,1.1995892316356418,null,0.19667560124264657,8.3601839792294574E-2]
[940,0.9403953756842135,2.1083585083512936E-3,null,1.9792147127610806E-3,2.5597474678596843E-5,2.4163673493112272E-5,1.0180603978485396E-8,9.3400849634975422E-9,1.2475601595780463,null,0.21170730826636283,9.5457475627469923E-2]
[950,0.95866110420792494,1.8265728523711444E-3,null,1.7142076552735636E-3,2.7285294443475987E-5,2.5675737946108033E-5,1.1383208374279463E-8,1.0382667938856618E-8,1.2897290705324562,null,0.22495509094974622,0.1061128753747851]
[960,0.97393278531308591,1.5271681105160973E-3,null,1.4335088238915609E-3,2.8722704104011664E-5,2.6960138231618205E-5,1.2428386067730292E-8,1.1286324768787059E-8,1.3254894279758027,null,0.23620821962901822,0.11534842303369848]
[970,0.98606340230220724,1.2130616989121322E-3,null,1.1397535731933303E-3,2.9885392819819054E-5,2.7995970795773772E-5,1.3293401072701977E-8,1.2032076562093794E-8,1.3543171031334207,null,0.24528355016742034,0.12297015066379301]
[980,0.9949377341812029,8.8743318789956675E-4,null,8.3580096749517982E-4,3.0753184447285348E-5,2.8765935338475298E-5,1.395908209567064E-8,1.2603945445154525E-8,1.3757820034170778,null,0.25202950793093448,0.12881476130494035]
[990,1.0004744686552833,5.5367344740804287E-4,null,5.2468988424762342E-4,3.1310501178201408E-5,2.9256718239263412E-5,1.4410343344165747E-8,1.2989372102869879E-8,1.3895578121128223,null,0.25632944713093342,0.13275389632660545]
[1000,1.0026277556375993,2.1532869823159828E-4,null,2.0959094393115173E-4,3.1546728670708569E-5,2.9459294273168211E-5,1.4636596455127082E-8,1.3179546267313264E-8,1.3954295629970661,null,0.2581042942736696,0.13469751308579722]
[1010,1.001388163077169,-1.2395925604302693E-4,null,-1.0624468916654795E-4,3.1456472290564952E-5,2.9369138377970469E-5,1.4632040042370798E-8,1.3169639799303781E-8,1.3932988336783363,null,0.25731440353532226,0.13459626706584502]
[1020,0.99678301079504128,-4.6051522821277668E-4,null,-4.1953850188014726E-4,3.1039697191247448E-5,2.898634168192531E-5,1.4395817516356484E-8,1.2958935163791972E-8,1.3831864090405939,null,0.25396057332585192,0.1324428249197008]
[1030,0.98887607261418431,-7.9069381808569703E-4,null,-7.2703863299149695E-4,3.0301748318388253E-5,2.8315628635553022E-5,1.3932038345857984E-8,1.2550845520311057E-8,1.3652323387996819,null,0.2480841963872592,0.1282720697982383]
[1040,0.97776665193344658,-1.1109420680737725E-3,null,-1.0255734682479123E-3,2.9253249906603396E-5,2.7366274822263574E-5,1.3249662624574569E-8,1.1952826200518507E-8,1.3396933882676585,null,0.23976653970061321,0.1221601966335988]
[1050,0.9635880505750235,-1.4178601358423083E-3,null,-1.3121036311235649E-3,2.7909887519091202E-5,2.6151927756482635E-5,1.2362253482445674E-8,1.1176180886228813E-8,1.3069379562451877,null,0.22912717442898264,0.11422273124118169]
[1060,0.94650546478334752,-1.7082585791675987E-3,null,-1.5837712186297364E-3,2.6292079037171202E-5,2.4690335621052782E-5,1.1287606349471754E-8,1.0235769194387775E-8,1.2674386058455251,null,0.21632159928067829,0.10461154178149951]
[1070,0.92671335525214305,-1.9792109531204471E-3,null,-1.8379452118669889E-3,2.4424544118846492E-5,2.3002991358633494E-5,1.0047268156691283E-8,9.1496254884560136E-9,1.2217624204469741,null,0.20153812225607343,9.3510942938757696E-2]
[1080,0.90443234962809604,-2.2281005624047003E-3,null,-2.0722621010066662E-3,2.2335784404187195E-5,2.1114701733080381E-5,8.6659630824604187E-9,7.9385014501606499E-9,1.170559455571075,null,0.18499408502733422,8.1133020915644713E-2]
[1090,0.8799057457618118,-2.4526603866284248E-3,null,-2.2846608999507328E-3,2.0057489058130535E-5,1.9053092845878059E-5,7.1709442853315216E-9,6.6253471615372815E-9,1.1145496063294502,null,0.16693153057624774,6.7712329991390707E-2]
[1100,0.85339569179337349,-2.6510053968438309E-3,null,-2.4734118821692769E-3,1.7623882034806247E-5,1.6848065072969107E-5,5.5912931049667648E-9,5.2347470874741742E-9,1.0545082476321432,null,0.14761242768453753,5.3500128154232142E-2]
[1110,0.82517912478918864,-2.8216567004184846E-3,null,-2.6371385406468578E-3,1.5071028670532276E-5,1.4531211437960819E-5,3.9571883931334935E-9,3.7923283624576971E-9,0.99125102954275712,null,0.12731357507611457,3.875832967745399E-2]
[1120,0.79554355298645862,-2.9635571802730022E-3,null,-2.7748324555799224E-3,1.2436119837888247E-5,1.2135214035089861E-5,2.2991689319883958E-9,2.3241591486563052E-9,0.92561822245379977,null,0.1063213132447504,2.3753356222590734E-2]
[1130,0.76478276772968967,-3.0760785256768951E-3,null,-2.8858609374046227E-3,9.7567519179214383E-6,9.6932332535791359E-6,6.4741132060105572E-10,8.5615455096231265E-10,0.85845900611784531,null,8.4926173211957431E-2,8.7500651761982136E-3]
[1140,0.73319256995696236,-3.1590197772727313E-3,null,-2.9699674939383512E-3,7.0702202926071956E-6,7.2383042456563885E-6,-9.6895568449737119E-10,-5.8649331937430633E-10,0.79061608349626822,null,6.3417588749397028E-2,-5.9940752100912627E-3]
[1150,0.70106659274231298,-3.2125977214649383E-3,null,-3.0272653432567667E-3,4.4128429683798574E-6,4.8027543514235894E-6,-2.5224815151079872E-9,-1.9798459897084276E-9,0.72291097584092701,null,4.2078792212379326E-2,-2.0234409113765232E-2]
[1160,0.66869229611994463,-3.2374296622368348E-3,null,-3.0582243533059483E-3,1.8193293765675529E-6,2.41765408749295E-6,-3.9879527037392043E-9,-3.3016967610788544E-9,0.6561303207840169,null,2.1182004438530341E-2,-3.3743979774458081E-2]
[1170,0.63634720345621487,-3.2345092663729758E-3,null,-3.0636519307881177E-3,-6.7779256341261168E-7,1.123128776370949E-7,-5.3428674558134818E-9,-4.5319854181452357E-9,0.59101345219504753,null,9.8401664858517395E-4,-4.6317767909752457E-2]
[1180,0.60429544028900373,-3.2051763167211143E-3,null,-3.0446685020376961E-3,-3.0486802966840077E-6,-2.0861709831024905E-6,-6.567816505082794E-9,-5.6531411720329331E-9,0.52824149113911834,null,-1.8277752492472321E-2,-5.7776196657413036E-2]
[1190,0.57278462714273748,-3.1510813146266247E-3,null,-3.0026783248544376E-3,-5.2666030509997347E-6,-4.15329851374042E-6,-7.6467645596603504E-9,-6.6503482221024109E-9,0.46842812355719643,null,-3.6388657917485308E-2,-6.7967845668055721E-2]
[1200,0.54204316768755345,-3.0741459455184026E-3,null,-2.9393364410177014E-3,-7.3082850470588405E-6,-6.0674907531851425E-6,-8.5672303216675996E-9,-7.5117310888779545E-9,0.41211218445875242,null,-5.3159637985260071E-2,-7.6771345243540956E-2]
[1210,0.51227796308072548,-2.9765204606827965E-3,null,-2.8565126239132608E-3,-9.1541623124326772E-6,-7.810338386196513E-6,-9.3203665771817558E-9,-8.2284595629486665E-9,0.35975211259535156,null,-6.8429401550324509E-2,-8.4096448935049431E-2]
[1220,0.48367257273361292,-2.8605390347112569E-3,null,-2.7562531947690479E-3,-1.0788552410134572E-5,-9.3667786876642484E-6,-9.90094506742522E-9,-8.7947756312355873E-9,0.31172228575854299,null,-8.2065978240327603E-2,-8.9884308734742305E-2]
[1230,0.45638583139098476,-2.7286741342628152E-3,null,-2.6407415757105693E-3,-1.21997387249909E-5,-1.0725200087783479E-5,-1.0307253651238147E-8,-9.2079469940952027E-9,0.26831119678735271,null,-9.3967634592067403E-2,-9.410700001156462E-2]
[1240,0.43055092256144101,-2.5834908829543758E-3,null,-2.5122584202692299E-3,-1.3379973045936464E-5,-1.1877476414877948E-5,-1.0540915563628453E-8,-9.4681537030623618E-9,0.2297213855682626,null,-0.10406317406613604,-9.6766362927042368E-2]
[1250,0.40627489922718935,-2.427602333425166E-3,null,-2.3731421147918401E-3,-1.4325401985653958E-5,-1.2818934430699847E-5,-1.0606642305542008E-8,-9.5783159780166045E-9,0.19607100392268442,null,-0.11231165261109975,-9.7892242693405157E-2]
[1260,0.38363863457217462,-2.2636264655014728E-3,null,-2.2257503805561507E-3,-1.5035924252594515E-5,-1.3548259600410905E-5,-1.0511932836614002E-8,-9.5438723734639318E-9,0.16739685910432975,null,-0.1187015530777837,-9.7540222390061188E-2]
[1270,0.36269717833463572,-2.0941456237538901E-3,null,-2.0724236297399497E-3,-1.5514986913264383E-5,-1.4067346113389684E-5,-1.0266732286221319E-8,-9.3725181467403592E-9,0.14365875810518461,null,-0.12324947119343918,-9.5788949036011928E-2]
[1280,0.34348048839985729,-1.921668993477843E-3,null,-1.915450642290863E-3,-1.5769329550155906E-5,-1.4381097980644037E-5,-9.8830633774786399E-9,-9.0739139465851029E-9,0.12474495917006742,null,{"$f":"G137*$E$4","v":-0.12599837289908827},{"$f":"I137*$E$5","v":-9.2737156330701592E-2}]
[1290,{"$f":"EXP(-1*(($A138-1000)/(0.60056*$B$5))^2)+$B$4*EXP(-1*(($A138-1500)/(0.60056*$B$5))^2)+$B$6*(RAND()-RAND()+RAND()-RAND())","v":0.32599450244051514},-1.7485985959342144E-3,null,-1.7570370387368316E-3,-1.5808685643548815E-5,-1.4497188580348816E-5,-9.3746432273775789E-9,-8.6593748171280008E-9,0.11047852859113427,null,-0.12701548763478987,-8.8500486214591001E-2]
[1300,0.31022251078180479,{"$f":"(B139-B138)/(A139-A138)","v":-1.5771991658710348E-3},null,-1.5992769294198867E-3,-1.5645450607718795E-5,-1.4425786315506044E-5,-8.7564972178645391E-9,-8.1415490436829858E-9,0.10062439945070378,null,-0.12638990472007727,-8.3208206611023738E-2]
[1310,0.2961267891749042,-1.4095721606900591E-3,null,-1.4441280265824557E-3,-1.5294325728961571E-5,-1.4179254106305981E-5,-8.0445803158400592E-9,-7.5340956086336419E-9,9.4896933721870025E-2,null,-0.12422994049006968,-7.6999914962964489E-2]
[1320,0.28365044873249207,-1.2476340442412136E-3,null,-1.2933904148406553E-3,-1.4771946827583471E-5,-1.3771830290789117E-5,-7.2554146526897962E-9,-6.8513680421813767E-9,9.2967799063518541E-2,null,-0.12066034254250292,-7.0022307126470618E-2]
[1330,0.27271945981725476,-1.0930988915237305E-3,null,-1.1486890900307863E-3,-1.4096505847174812E-5,-1.3219298182218458E-5,-6.405750457102891E-9,-6.1081113121620919E-9,9.4473985689484966E-2,null,-0.11581939460180279,-6.2426079525967001E-2]
[1340,0.26324480706534215,-9.4746527519126158E-4,null,-1.011460297897159E-3,-1.3287372812897063E-5,-1.253865106450574E-5,-5.5122556672842942E-9,-5.3191771683324935E-9,9.902580573339001E-2,null,-0.10985598141418081,-5.4363019917771337E-2]
[1350,0.25512473384925755,-8.1200732160846003E-4,null,-8.8294163377284501E-4,-1.2364724746462041E-5,-1.1747758833447336E-5,-4.5912378215718605E-9,-4.4992621051402743E-9,0.10621473646804959,null,-0.10292666806230655,-4.5983329318901409E-2]
[1360,0.24824703621402783,-6.8776976352297181E-4,null,-7.641658029679182E-4,-1.1349187226166227E-5,-1.0865041845957496E-5,-3.6584002193933261E-9,-3.6626708923742753E-9,0.11562098853742653,null,-9.5192842432038238E-2,-3.7433205244563068E-2]
[1370,0.24249136853574227,-5.7556676782855585E-4,null,-6.5595788924952046E-4,-1.0261493377796619E-5,-9.9091568540797883E-6,-2.7286329218476478E-9,-2.8231074957318852E-9,0.12682070010127139,null,-8.6817963558578556E-2,-2.8852704875892317E-2]
[1380,0.23773152574020218,-4.7598427955400922E-4,null,-5.5893593541198581E-4,-9.1221642116870746E-6,-8.898699203765128E-6,-1.8158379700665649E-9,-1.9934942090085556E-9,0.13939267670971373,null,-7.7964952474554122E-2,-2.0373896555934332E-2]
[1390,0.23383766978120366,-3.893855958998521E-4,null,-4.7351460501577898E-4,{"$f":"-(E149-E147)/(A149-A147)","v":-7.9512134100640081E-6},-7.8519247940491365E-6,-9.3278726859649213E-10,-1.1858189742449649E-9,0.15292461422258788,null,-6.8793756186611724E-2,-1.2119299372004037E-2]
[1400,0.2306784711270535,-3.1591986541501527E-4,null,-3.9991166721070566E-4,-6.7678789361279704E-6,-6.7864946389612151E-6,-9.1010920618518143E-11,-4.1101019152038198E-10,0.16701875775619646,null,-5.9459109683307004E-2,-4.2006036875500558E-3]
[1410,0.22812313916999355,-2.5553319570599531E-4,null,-3.3815702629321956E-4,-5.5903831928188148E-6,-5.7192442654609225E-6,6.9928659478734386E-10,3.2116217988146755E-10,0.18129696325200687,null,-5.0108515541053687E-2,3.2823396230670021E-3]
[1420,0.22604331870130631,-2.079820468687238E-4,null,-2.8810400335432937E-4,-4.4357229079062244E-6,-4.6659796238563768E-6,1.4292851680580832E-9,1.0021607592948741E-9,0.19540513976256926,null,-4.0880455816202907E-2,1.0242276877465834E-2]
[1430,0.22431483284418954,-1.7284858571167683E-4,null,-2.4944256813509507E-4,-3.3194894591396805E-6,-3.6413006856129927E-6,2.0915854393455485E-9,1.6247318320633705E-9,0.20901706003537796,null,-3.1902846517079711E-2,1.660507370826815E-2]
[1440,0.22281925607833111,-1.4955767658584307E-4,null,-2.2171421417153576E-4,-2.2557199693833186E-6,-2.6584534561565196E-6,2.6802253089464808E-9,2.1829351486656415E-9,0.22183753466346567,null,-2.3291741030797043E-2,2.2310019615931594E-2]
[1450,0.22144530420532202,-1.3739518730090938E-4,null,{"$f":"(C146*$L$6+C147*$M$6+C148*$N$6+C149*$O$6+C150*$P$6+C151*$Q$6+C152*$R$6+C153*$S$6+C154*$T$6+C155*$U$6+C156*$V$6+C157*$W$6+C158*$X$6+C159*$Y$6+C160*$Z$6+C161*$AA$6+C162*$AB$6)/SUM($L$6:$AB$6)","v":-2.043281687474287E-4},-1.2567791836504598E-6,-1.7292107328789759E-6,3.1906787414224117E-9,2.6721541489111906E-9,0.23360495126939712,null,-1.5150285397932711E-2,2.7309932462007816E-2]
[1460,0.2200900312800303,-1.3552729252917228E-4,null,-1.9657863049852656E-4,-3.3327187204454645E-7,-8.6378158442988034E-7,3.6198386303394221E-9,3.0890882061556386E-9,{"$f":"B155+$E$4*G155+$E$5*I155","v":0.24409318525803442},null,-7.5679252255179581E-3,3.157107920352209E-2]
[1470,0.21865982666081679,-1.4302046192135042E-4,null,-1.9766273130653777E-4,5.0601473168270546E-7,{"$f":" (F148*$L$6+F149*$M$6+F150*$N$6+F151*$O$6+F152*$P$6+F153*$Q$6+F154*$R$6+F155*$S$6+F156*$T$6+F157*$U$6+F158*$V$6+F159*$W$6+F160*$X$6+F161*$Y$6+F162*$Z$6+F163*$AA$6+F164*$AB$6)/SUM($L$6:$AB$6)","v":-7.0749208587573316E-8},{"$f":"-(G157-2*G156+G155)/(A157-A155)","v":3.9659850785055612E-9},{"$f":"(H148*$L$6+H149*$M$6+H150*$N$6+H151*$O$6+H152*$P$6+H153*$Q$6+H154*$R$6+H155*$S$6+H156*$T$6+H157*$U$6+H158*$V$6+H159*$W$6+H160*$X$6+H161*$Y$6+H162*$Z$6+H163*$AA$6+H164*$AB$6)/SUM($L$6:$AB$6)","v":3.4317283297485817E-9},0.25311289299234113,null,-6.1986123576450512E-4,3.5072927567288879E-2]
[1480,0.21707120840271193,-1.5886182581048569E-4,null,-2.0669892513218067E-4,1.2541391627169157E-6,6.4296346568462248E-7,4.2287400655119932E-9,3.699317598259897E-9,0.260512202180193,null,5.6332521076525753E-3,3.7807741669828504E-2]
[1490,0.21525141222236657,-1.8197961803453623E-4,null,-2.2274551456087608E-4,1.9060055481080203E-6,1.2721013386465784E-6,4.4090091574615434E-9,3.8922974472439822E-9,0.26617681812955196,null,1.1145372839260979E-2,3.9780033067924415E-2]
[1500,0.21313877818799606,-2.1126340343705086E-4,null,-2.4481903609434107E-4,2.4583361583901539E-6,1.8130590284593035E-6,4.5089106912006385E-9,4.0122408241528711E-9,0.27002956858837623,null,1.5884912811479471E-2,4.1005877588900723E-2]
[1510,0.21068294011293762,-2.4558380750584475E-4,null,-2.7191223772867916E-4,2.9096180591082936E-6,2.2638385044480158E-6,4.5316927549813331E-9,4.0617731642003294E-9,0.27202941430481598,null,1.9834366503216145E-2,4.1512107688662175E-2]
[1520,0.20784482533352006,-2.8381147794175607E-4,null,-3.0301139727650694E-4,3.2600254828778201E-6,2.6239841253371014E-6,4.481638296511157E-9,4.0444821426335401E-9,0.27216995730063642,null,2.2989741864668518E-2,4.1335390102447869E-2]
[1530,0.20459647510093135,-3.2483502325887095E-4,null,-3.3711274738623556E-4,3.5113198072022271E-6,2.8944969802959639E-6,4.3639588145703352E-9,3.9648172224771971E-9,0.27047748413029832,null,2.5359809826028541E-2,4.0521199203338444E-2]
[1540,0.20092069817822694,-3.6757769227044047E-4,null,-3.7323779342055149E-4,3.6667292977608938E-6,3.0777306589634197E-6,4.1846773191489496E-9,3.8279801376250322E-9,0.26700858699475827,null,2.6965191098271279E-2,3.9122697718260067E-2]
[1550,0.19681057236982924,-4.110125808397702E-4,null,-4.1044733334145343E-4,3.7308110525578112E-6,3.1772707912478966E-6,3.9505015567546047E-9,3.6398076189467301E-9,0.26184741131059319,null,2.7837300774659315E-2,3.7199538166104627E-2]
[1560,0.19226881058266071,-4.5417617871685299E-4,null,-4.4785401447170771E-4,3.7092978478733983E-6,3.1978008923972813E-6,3.6686888654658089E-9,3.4066478712554061E-9,0.25510258395850349,null,2.8017172947407028E-2,3.481660042843579E-2]
[1570,0.18730700958697688,-4.9618009956838298E-4,null,-4.846332902989214E-4,3.6089328293684177E-6,3.1449572162373498E-6,3.3469044179148017E-9,3.1352325238732432E-9,0.24690388166711902,null,2.7554189020649891E-2,3.2042683059492261E-2]
[1580,0.18194480087557302,-5.3622087114038597E-4,null,-5.2003267105907606E-4,3.4372951972563049E-6,3.0251754517191223E-6,2.9930749974507987E-9,2.8325459878339447E-9,0.23739870352657272,null,2.650473455948207E-2,2.894916809151761E-2]
[1590,0.17620892388218473,-5.7358769933882889E-4,null,-5.533791942440475E-4,3.2026201898541064E-6,2.8455321872518789E-6,2.6152408018380197E-9,2.505694338987493E-9,0.22674841517444097,null,2.4930810297536417E-2,2.5608680994719829E-2]
[1600,0.17013224229082841,-6.0766815913563252E-4,null,-5.8408507485615819E-4,2.913616763053047E-6,2.613584106747875E-6,2.2214080511505213E-9,2.1617759901560585E-9,0.21512463448371985,null,2.2898623271211574E-2,2.2093768921679885E-2]
[1610,0.16375272423397041,-6.379518056857991E-4,null,-6.1165152950510844E-4,2.579286384547211E-6,2.3372078652208608E-6,1.8194053679229173E-9,1.8077565012180147E-9,0.20270552938388992,null,2.0477183907733312E-2,1.8475621242186182E-2]
[1620,0.15711240683573569,-6.6403173982347292E-4,null,-6.3567080254710241E-4,2.2087463041839035E-6,2.0244435163353881E-6,1.4167469798326703E-9,1.4503498912356223E-9,0.18967219759918244,null,1.7736934233233317E-2,1.4822856530213457E-2]
[1630,0.15025636481520124,-6.8560420205344421E-4,null,-6.5582645558878651E-4,1.8110605221508003E-6,1.6833442278532621E-6,1.020505756958217E-9,1.0959087533869549E-9,0.17620519550399738,null,1.4748431171531773E-2,1.1200399517264382E-2]
[1640,0.14323170174412225,-7.0246630710789901E-4,null,-6.7189201299011842E-4,1.395081455217922E-6,1.3218348242319719E-6,6.3719893311513284E-10,7.5032532809042172E-10,0.16248127896570158,null,1.1581107181019439E-2,7.6684700405598881E-3]
[1650,0.13608658108446153,-7.1451206596607195E-4,null,-6.8372808469314495E-4,9.6930500200930647E-7,9.4758144194837912E-7,2.7268907746811068E-10,4.1894546371584733E-10,0.14867041304375195,null,8.3021282544325434E-3,4.2817037048578557E-3]
[1660,0.12886931235551655,-7.2172687289449866E-4,null,-6.9127811303030455E-4,5.4174133899802532E-7,5.678742781154242E-7,-6.7897510910379036E-11,1.0649709370938608E-10,0.13493309989438884,null,4.9753666340421852E-3,1.0884209048301102E-3]
[1670,0.12162750574895259,-7.2418066065639553E-4,null,-6.9456291147310546E-4,1.1980335053430831E-7,1.895250645006768E-7,-3.8023329993936436E-10,-1.8296550591442312E-10,0.1214180654165939,null,1.6605025417962287E-3,-1.8699428741549202E-3]
[1680,0.1144073062805637,-7.2201994683888937E-4,null,-6.9367418004099071E-4,-2.8978587765957034E-7,-1.8121948311528336E-7,-6.6083178630826211E-10,-4.4610083013648513E-10,0.10826033535194551,null,-1.5877341243952046E-3,-4.5592368042229785E-3]
[1690,0.10725271620306953,-7.1545900774941666E-4,null,-6.8876719391991405E-4,-6.8106557586600986E-7,-5.3874739500507828E-7,-9.0706900131557477E-10,-6.803022303626145E-10,9.5579721047918731E-2,null,-4.7201747227941697E-3,-6.9528204323566359E-3]
[1700,0.10020501197040572,-7.0477042326638067E-4,null,-6.8005286852367052E-4,-1.0488894098185746E-6,-8.7813392686856171E-7,-1.1171843652575493E-9,-8.8370303772300313E-10,8.3479724268929009E-2,null,-7.6936716599695087E-3,-9.0316160415072119E-3]
[1710,9.3302259606775864E-2,-6.90275236362986E-4,null,-6.6778940572354256E-4,-1.3889573061633576E-6,-1.1951767714268941E-6,-1.2902616120733301E-9,-1.0551652523647161E-9,7.2046859660581372E-2,null,-1.0471406893219027E-2,-1.0783993052975459E-2]
[1720,8.6578929957096665E-2,-6.723329649679199E-4,null,-6.5227372240040337E-4,-1.6978275797315011E-6,-1.48641438374376E-6,-1.4261910885096084E-9,-1.19425276736179E-9,6.1350383101694259E-2,null,-1.3023052485810784E-2,-1.2205494369591617E-2]
[1730,8.0065613038963784E-2,-6.5133169181328808E-4,null,-6.3383285412891253E-4,-1.9729104137685415E-6,-1.7491281742904337E-6,-1.5256152558456615E-9,-1.3011904975108453E-9,5.1442404553589699E-2,null,-1.5324789821276066E-2,-1.3298418664098017E-2]
[1740,7.3788828633162981E-2,-6.2767844058008034E-4,null,-6.1281551412503254E-4,-2.2124441493531341E-6,-1.9813296597201941E-6,-1.589859666712444E-9,-1.3768111309646725E-9,4.2358355436257933E-2,null,-1.7359197026364237E-2,-1.4071276170540813E-2]
[1750,6.7770928385387563E-2,-6.0179002477754183E-4,null,-5.8958397114184985E-4,-2.4154561836975189E-6,-2.1817339518157057E-6,-1.6208520387407396E-9,-1.4224915031055623E-9,3.4117773275007576E-2,null,-1.9115016697436201E-2,-1.4538138412943784E-2]
[1760,6.2030083082345151E-2,-5.7408453030424115E-4,null,-5.6450639045108216E-4,-2.5817105502859242E-6,-2.3497212031364024E-6,-1.6210322897880031E-9,-1.4400807983187989E-9,2.6725360557965469E-2,null,-2.0586818110839136E-2,-1.4717904413540546E-2]
[1770,5.6580347437014809E-2,-5.4497356453303417E-4,null,-5.3794976013613136E-4,-2.7116444513538921E-6,-2.4852878086613392E-6,-1.5932565307840146E-9,-1.4318229110551161E-9,2.0172270547617659E-2,null,-2.1774569681587398E-2,-1.4633507207809753E-2]
[1780,5.1431793686267858E-2,-5.1485537507469509E-4,null,-5.1027350142400431E-4,-2.8062961326538316E-6,-2.5889892835705956E-6,-1.5406980316566713E-9,-1.4002753411349118E-9,1.4437570254010114E-2,null,-2.2683138493467279E-2,-1.4311084938790465E-2]
[1790,4.6590704574944623E-2,-4.8410891113232353E-4,null,-4.8182383748305473E-4,-2.8672265324671047E-6,-2.6618767978467186E-6,-1.4667480882252818E-9,-1.3482269616099694E-9,9.4898298921437096E-3,null,-2.3321734254083834E-2,-1.377914042871708E-2]
[1800,4.2059815869558662E-2,-4.5308887053859616E-4,null,-4.5292897077466222E-4,-2.8964371049518124E-6,-2.7054293503583359E-6,-1.374919532763554E-9,-1.2786168859363041E-9,5.2887888380109913E-3,null,-2.3703315045721006E-2,-1.3067711985826664E-2]
[1810,3.7838598398899852E-2,-4.2212174706588097E-4,null,-4.2389509538401848E-4,-2.8962861182282952E-6,-2.7214835122146822E-6,-1.2687553612879114E-9,-1.1944564828776181E-9,1.7870502376754385E-3,null,-2.384397177964221E-2,-1.2207576381582203E-2]
[1820,3.3923569736948038E-2,-3.915028661951814E-4,null,-3.9500324841009631E-4,-2.8694055682849913E-6,-2.7121625668452703E-6,-1.1517446124930147E-9,-1.0987563529318928E-9,-1.0682401635404206E-3,null,-2.3762307364866102E-2,-1.1229502535622356E-2]
[1830,3.0308625998242456E-2,-3.6149437387055817E-4,null,-3.6650698401831866E-4,-2.8186206406414508E-6,-2.679806729225998E-6,-1.0272472445450622E-9,-9.9445980132973258E-10,-3.3337709304516183E-3,null,-2.3478825331762477E-2,-1.0163571596931598E-2]
[1840,2.6985384774780394E-2,-3.3232412234620624E-4,null,-3.386308355972673E-4,-2.7468734036330391E-6,-2.6269059467158245E-6,-8.9842933543116852E-10,-8.8438403299663037E-10,-5.0685322443343641E-3,null,-2.3015341074138922E-2,-9.0385759449758355E-3]
[1850,2.3943530970847792E-2,-3.0418538039326019E-4,null,-3.1156951594565787E-4,-2.657152141649516E-6,-2.5560365774970277E-6,-7.6820949900620828E-10,-7.7116996786600224E-10,-6.3324023861583353E-3,null,-2.2394427064515211E-2,-7.8815062924909168E-3]
[1860,2.1171158150288912E-2,-2.7723728205588798E-4,null,-2.8548779276427698E-4,-2.5524274451782016E-6,-2.4698030182981067E-6,-6.3921698008149381E-10,-6.5724124386307919E-10,-7.1848759697372795E-3,null,-2.1638901431981088E-2,-6.7171326880451033E-3]
[1870,1.8655098961635291E-2,-2.5160591886536218E-4,null,-2.6052096704209384E-4,-2.4355958781578239E-6,-2.3707851194975558E-6,-5.137614840140037E-10,-5.4477265219164563E-10,-7.6839502024673122E-3,null,-2.0771367245540809E-2,-5.567681918561794E-3]
[1880,1.6381239213281516E-2,-2.2738597483537744E-4,null,-2.367758752011205E-4,-2.3094317521906695E-6,-2.2614919910167248E-6,-3.9381442314642052E-10,-4.356679463552339E-10,-7.8851792895783049E-3,null,-1.9813807789637636E-2,-4.4526107132221862E-3]
[1890,1.4334811198762976E-2,-2.0464280145185404E-4,null,-2.1433233199828045E-4,-2.1765472606633167E-6,-2.1443225740729654E-6,-2.8100093526712628E-10,-3.3154669203104723E-10,-7.8409012658717542E-3,null,-1.87872411180025E-2,-3.3884713466322308E-3]
[1900,1.2500662889579829E-2,-1.8341483091831469E-4,null,-1.9324492998785416E-4,-2.0393609714387219E-6,-2.0215331384238635E-6,-1.7660175621607317E-10,-2.3373958691423632E-10,-7.5996362015597341E-3,null,-1.7711435284414035E-2,-2.3888638067255277E-3]
[1910,1.0863500592272217E-2,-1.6371622973076119E-4,null,-1.7354511256950601E-4,-1.9000744505627112E-6,-1.8952116676504399E-6,-8.1563814969087445E-11,-1.4329148326711504E-10,-7.2056500157665218E-3,null,-1.6604683922237563E-2,-1.4644666858011765E-3]
[1920,9.40810358437358E-3,-1.4553970078986372E-4,null,-1.5524344097659994E-4,-1.7606565957667483E-6,-1.7672589205776344E-6,3.4817328286238096E-12,-6.0971194293658231E-11,-6.698674135385255E-3,null,{"$f":"G201*$E$4","v":-1.5483640316190168E-2},{"$f":"I201*$E$5","v":-6.231374035686678E-4}]
[1930,{"$f":"EXP(-1*(($A202-1000)/(0.60056*$B$5))^2)+$B$4*EXP(-1*(($A202-1500)/(0.60056*$B$5))^2)+$B$6*(RAND()-RAND()+RAND()-RAND())","v":8.1195100819769044E-3},-1.2885935023966756E-4,null,-1.3833198065417104E-4,-1.6228351001700734E-6,-1.6393758081614013E-6,7.8195408477987697E-11,1.2712940317987516E-11,-6.1137680143837463E-3,null,-1.4363206806356383E-2,1.2992870999573239E-4]
[1940,6.9831746362688952E-3,{"$f":"(B203-B202)/(A203-A202)","v":-1.1363354457080092E-4},null,-1.2278673897319847E-4,-1.4880943446230427E-6,-1.513056603914728E-6,1.4250066043146733E-10,7.7492815137957297E-11,-5.4813091003097086E-3,null,-1.3256475302099177E-2,7.9199156552057387E-4]
[1950,5.985097698531395E-3,-9.9807693773750012E-5,null,-1.0857009376171019E-4,-1.3576789312705555E-6,-1.3895874128766841E-6,1.9655185177037889E-10,1.3331674983263697E-10,-4.8270931895768414E-3,null,-1.2174713868104444E-2,1.3625229799962082E-3]
[1960,5.1119286281911041E-3,-8.7316907034029091E-5,null,-9.5633160347787359E-5,-1.2326020195590497E-6,-1.2700492588740477E-6,2.4070031099190028E-10,1.803231937742902E-10,-4.1725272120884619E-3,null,-1.1127393773076602E-2,1.8429379327970362E-3]
[1970,4.3510438459188261E-3,-7.6088478227227804E-5,null,-8.3918053370529193E-5,-1.1136576064170815E-6,-1.1553251110912493E-6,2.754596694422112E-10,2.1881297450011282E-10,-3.5348962667590927E-3,null,-1.0122251052241056E-2,2.236310939563137E-3]
[1980,3.6906021564126084E-3,-6.6044168950621769E-5,null,-7.3360008219445729E-5,-1.001435901242089E-6,-1.0461101566972951E-6,3.0147157643187268E-10,2.4922103881151576E-10,-2.9276871126304332E-3,null,-9.165376509809902E-3,2.5470872407668608E-3]
[1990,3.1195794891218194E-3,-5.7102266729078904E-5,null,-6.3889335345687414E-5,-8.9634097957906666E-7,-9.4292463383197852E-7,3.1947272981089699E-10,2.7208853252120795E-10,-2.3609512133003553E-3,null,-8.2613281537476397E-3,2.7807974513254651E-3]
[2000,2.6277854378502974E-3,-4.9179405127152201E-5,null,-5.5433188627864396E-5,-7.9860995259048696E-7,-8.4612856556287976E-7,3.3026399398801733E-10,2.8803594687413624E-10,-1.8416917360014194E-3,null,-7.4132602856786861E-3,2.9437831118269693E-3]
[2010,2.2058640316721268E-3,-4.2192140617817051E-5,null,-4.7917136293877675E-5,-7.0833295807442908E-7,-7.5593777717354134E-7,3.3468220689561577E-10,2.9773793261377873E-10,-1.3742605194703521E-3,null,-6.6230638345566905E-3,3.0429392834142115E-3]
[2020,1.8452811507612004E-3,-3.6058288091092634E-5,null,-4.1266529466375814E-5,-6.2547335844144711E-7,-6.7244063292211524E-7,3.3357510926139149E-10,3.019002522532194E-10,-9.6075284759676973E-4,null,-5.8915129938934795E-3,3.0854789955355095E-3]
[2030,1.538300922995503E-3,-3.0698022776569743E-5,null,-3.5407669125048733E-5,{"$f":"-(E213-E211)/(A213-A211)","v":-5.498876174955364E-7},-5.9561499085591697E-7,3.2777966972063837E-10,3.0123921245794954E-10,-6.0138980554774952E-4,null,-5.2184137694603226E-3,3.0787230409170699E-3]
[2040,1.2779533120513499E-3,-2.603476109441531E-5,null,-3.0268777116465087E-5,-4.8134441723091127E-7,-5.2534494218413146E-7,3.1810393262711782E-10,2.9646379593569779E-10,-2.9487996734872896E-4,null,-4.6027506394196631E-3,3.0299173600195841E-3]
[2050,1.0579949463260267E-3,-2.1995836572532319E-5,null,-2.5780780780430507E-5,-4.1954266476715593E-7,-4.6143697216488831E-7,3.0531238551552163E-10,2.8826059941648005E-10,-3.8754095514167974E-5,null,-4.0428281461200423E-3,2.9460791042798477E-3]
[2060,8.7286505093374682E-4,-1.8512989539227988E-5,null,-2.1877923821121968E-5,-3.6412812513994514E-7,-4.036352498559556E-7,2.9011473246284851E-10,2.7728158389155541E-10,1.7033163658874018E-4,null,-3.5364048555275741E-3,2.8338714411825674E-3]
[2070,7.1763814180648262E-4,-1.5522690912726419E-5,null,-1.8498218277631604E-5,-3.1470849564044504E-7,-3.5163582219627985E-7,2.7315786939229857E-10,2.6413455710615784E-10,3.3632670822560193E-4,null,-3.080817717075328E-3,2.6995062834944475E-3]
[2080,5.8797493010044719E-4,-1.2966321170603543E-5,null,-1.5583753908313067E-5,-2.7086681001305215E-7,-3.0509955192445008E-7,2.5502078793999185E-10,2.4937623739879669E-10,4.6355291267897785E-4,null,-2.6730954177811698E-3,2.5486734003597003E-3]
[2090,4.800726739576255E-4,-1.0790225614282168E-5,null,{"$f":"(C210*$L$6+C211*$M$6+C212*$N$6+C213*$O$6+C214*$P$6+C215*$Q$6+C216*$R$6+C217*$S$6+C218*$T$6+C219*$U$6+C220*$V$6+C221*$W$6+C222*$X$6+C223*$Y$6+C224*$Z$6+C225*$AA$6+C226*$AB$6)/SUM($L$6:$AB$6)","v":-1.308088207737056E-5},-2.3217312487886029E-7,-2.6366369741142014E-7,2.362120852689741E-10,2.3350769264174889E-10,5.5650663869685453E-4,null,-2.3100598376500823E-3,2.3864938023893112E-3]
[2100,3.9061600924718569E-4,-8.945666471043982E-6,null,-1.0940291410735861E-5,-1.9819449555301241E-7,-2.2695208460376966E-7,2.171697268462633E-10,2.1697190791186462E-10,{"$f":"B219+$E$4*G219+$E$5*I219","v":6.1969572202192616E-4},null,-1.988415170011281E-3,2.2174948827860213E-3]
[2110,3.1672909602043587E-4,-7.3886913226749817E-6,null,-9.1169921663103121E-6,-1.6850329371627161E-7,{"$f":" (F212*$L$6+F213*$M$6+F214*$N$6+F215*$O$6+F216*$P$6+F217*$Q$6+F218*$R$6+F219*$S$6+F220*$T$6+F221*$U$6+F222*$V$6+F223*$W$6+F224*$X$6+F225*$Y$6+F226*$Z$6+F227*$AA$6+F228*$AB$6)/SUM($L$6:$AB$6)","v":-1.9458386633304442E-7},{"$f":"-(G221-2*G220+G219)/(A221-A219)","v":1.9826269583323801E-10},{"$f":"(H212*$L$6+H213*$M$6+H214*$N$6+H215*$O$6+H216*$P$6+H217*$Q$6+H218*$R$6+H219*$S$6+H220*$T$6+H221*$U$6+H222*$V$6+H223*$W$6+H224*$X$6+H225*$Y$6+H226*$Z$6+H227*$AA$6+H228*$AB$6)/SUM($L$6:$AB$6)","v":2.0015320972321969E-10},6.5750896368898691E-4,null,-1.7048246652220716E-3,2.0456045328906226E-3]
[2120,2.5592973667485768E-4,-6.0799359345578196E-6,null,-7.5702255364104284E-6,-1.4268395531545376E-7,-1.6618090197898393E-7,1.7979416412427573E-10,1.8337826188257609E-10,6.7411576993489262E-4,null,-1.455975286757427E-3,1.874161320017462E-3]
[2130,2.0608595775931479E-4,-4.9843778915542895E-6,null,-6.2633130600012368E-6,-1.2033827404720924E-7,-1.4137382090740897E-7,1.6200583372961785E-10,1.6691834668560081E-10,6.7339292414127943E-4,null,-1.2386308353392441E-3,1.7059378017212088E-3]
[2140,1.6537540150086952E-4,-4.0710556258445267E-6,null,-5.1634600554662436E-6,-1.010893745104008E-7,-1.1980685651042636E-7,1.4508312057687609E-10,1.5099265347115418E-10,6.5887523512283966E-4,null,-1.0496743018360434E-3,1.5431741354580135E-3]
[2150,1.3224774617586184E-4,-3.3127655325007673E-6,null,-4.2415255697932208E-6,-8.4584510452628078E-8,-1.0114155452498128E-7,1.2916088338518275E-10,1.3577231262487271E-10,6.3372669577957505E-4,null,-8.8614035727898948E-4,1.3876193068827027E-3]
[2160,1.0539026634836955E-4,-2.6857479827492292E-6,null,-3.471769846413682E-6,-7.0496838454324194E-8,-8.5059470207239864E-8,1.143294356736727E-10,1.2138493511153012E-10,6.0072880724430973E-4,null,-7.4523898385196437E-4,1.2405775247479045E-3]
[2170,8.3696554142503727E-5,-2.1693712205865827E-6,null,-2.8315888007067369E-6,-5.8526316909827787E-8,-7.1263974602971898E-8,1.0064061704447404E-10,1.0791944374091732E-10,5.6228285119227063E-4,null,-6.2437130032642278E-4,1.1029575973761896E-3]
[2180,6.6238350039063963E-5,-1.7458204103439765E-6,null,-2.3012435082171263E-6,-4.8399875302962198E-8,-5.9481291339593414E-8,8.8113738750168527E-11,9.5431010998852838E-11,5.2042310248923542E-4,null,-5.2113864579829308E-4,9.7532339824846453E-4]
[2190,5.2240374806936133E-5,-1.3997975232127829E-6,null,-1.863591294647493E-6,-3.9870990522540399E-8,-4.94608828512183E-8,7.674125663729462E-11,8.3945947952995893E-11,4.7683824281897862E-4,null,-4.3334596355533856E-4,8.5794383156738104E-4]
[2200,4.1058011498579384E-5,-1.1182363308356749E-6,null,-1.5038236977663183E-6,-3.2718796240946606E-8,-4.0975299495589078E-8,6.6494060593204368E-11,7.3466418234446851E-11,4.3289854242791387E-4,null,-3.5900047913211191E-4,7.5084101006144639E-4]
[2210,3.2157656245657422E-5,-8.9003552529219615E-7,null,-1.2092153698285608E-6,-2.6746839016694159E-8,-3.3819597351823944E-8,5.7326302665040839E-11,6.3974879388706263E-11,3.8968670328649857E-4,null,-2.9630659941038101E-4,6.5383564645122216E-4]
[2220,2.5099537140624319E-5,-7.0581191050331035E-7,null,-9.6888691743243512E-7,-2.1781581505493257E-8,-2.781042126135963E-8,4.9179715416940325E-11,5.543818019865571E-11,3.4803058723818764E-4,null,-2.436578787854555E-4,5.6658892888301882E-4]
[2230,1.9522790070861301E-5,-5.5767470697630184E-7,null,-7.7358373971869568E-7,-1.7670739588180072E-8,-2.2784839479234122E-8,4.1987397459605186E-11,4.7811266341365834E-11,3.0853637443494045E-4,null,-1.9962680909443623E-4,4.8864039345851537E-4]
[2240,1.5132577355402939E-5,-4.3902127154583611E-7,null,-6.154721256688337E-7,-1.4281526849310175E-8,-1.8599005646300719E-8,3.5677064275564815E-11,4.1040467584819103E-11,2.7162100074051875E-4,null,-1.6295309663622072E-4,4.1944152002133654E-4]
[2250,1.1689037912881393E-5,-3.4435394425215466E-7,null,-4.8795320273249217E-7,-1.1498867059551909E-8,-1.5126713098878611E-8,3.0173779516163773E-11,3.506635747418038E-11,2.375430006989022E-4,null,-1.325309959180652E-4,3.5838495870408601E-4]
[2260,8.9978651011447514E-6,-2.691172811736641E-7,null,-3.8549478447779555E-7,-9.2236234186540803E-9,-1.2257896141779781E-8,2.5402195061371811E-11,2.9826191067217434E-11,2.0643113042945709E-4,null,-1.0739617872773141E-4,3.0482944405604373E-4]
[2270,6.9023191119058767E-6,-2.0955459892388747E-7,null,-3.0348073435941056E-7,-7.3708825023344626E-9,-9.8971230859083864E-9,2.1288337624169366E-11,2.5255937847199853E-11,1.7831035986640476E-4,null,-8.6712531051861603E-5,2.5812057180636048E-4]
[2280,5.2764938404378863E-6,-1.6258252714679904E-7,null,-2.3807713443110629E-7,-5.8683212444873001E-9,-7.9621167825203796E-9,1.7760985940265274E-11,2.1291935658760582E-11,1.5312500534578598E-4,null,-6.9759190903250098E-5,2.176077024085982E-4]
[2290,4.0196726063065867E-6,-1.2568212341312997E-7,null,-1.8611430946966455E-7,-4.654676926610491E-9,-6.3823301979376781E-9,1.4752686050660457E-11,1.7872197638053508E-11,1.3075892234726865E-4,null,-5.5918068378868677E-5,1.8265731811983074E-4]
[2300,3.0516222573187773E-6,-9.6805034898780933E-8,null,-1.4498359589889647E-7,-3.6783330353027146E-9,-5.0975973343681867E-9,1.2200453316694195E-11,1.4937408094789019E-11,1.1105279751074239E-4,null,-4.4662025854326127E-5,1.5266320110774974E-4]
[2310,2.3086904700628532E-6,-7.4293178725592417E-8,null,-1.1254764876361026E-7,-2.896027939220522E-9,-4.0568735371325792E-9,1.0046209057880132E-11,1.2431644710715183E-11,9.3818663601670483E-5,null,-3.5543841327279689E-5,1.2705381445888731E-4]
[2320,1.7405860212412783E-6,-5.6810444882157491E-8,null,-8.7063037114486024E-8,-2.2716885505188114E-9,-3.2170739210545742E-9,8.2369975025290214E-12,1.0302865079685939E-11,7.8851829312634659E-5,null,-2.8186031420864673E-5,1.0529727471225806E-4]
[2330,1.3077361133807365E-6,-4.3284990786054182E-8,null,-6.7113877753234033E-8,-1.7753873724080395E-9,-2.5420142550271497E-9,6.7250254844943701E-12,8.5031948690035899E-12,6.5940460974507422E-5,null,-2.2271572062911792E-5,8.6904296924038477E-5]
[2340,9.7912826369743169E-7,-3.2860784968330477E-8,null,-5.1555289666325235E-8,-1.3824184809649961E-9,-2.0014550986896127E-9,5.4675633563939758E-12,6.9890523458003779E-12,5.4873071818056061E-5,null,-1.7535523796923733E-5,7.1429467351282359E-5]
[2350,7.3055665567755038E-7,-2.4857160801988132E-8,null,-3.9465508133934113E-8,-1.072485926902502E-9,-1.5702472094799553E-9,4.4267412208428242E-12,5.7211415166862335E-12,4.5444185631413277E-5,null,-1.3757544362057662E-5,5.8471173337793388E-5]
[2360,5.4320412667427685E-7,-1.8735252900327353E-8,null,-3.0105571128275196E-8,-8.2899665286106864E-10,-1.2275741446871542E-9,3.5692700560136457E-12,4.6643429710477702E-12,3.7458439002022532E-5,null,-1.0755252836170763E-5,4.7670487711519021E-5]
[2370,4.0250109270747135E-7,-1.4070303396680549E-8,null,-2.2885575076712741E-8,-6.3844918966413977E-10,-9.5628648101462599E-10,2.8661128295443544E-12,3.7875281151554322E-12,3.0733374838499478E-5,null,-8.3783964753880192E-6,3.8709270221180025E-5]
[2380,2.9721170635597184E-7,-1.0528938635149951E-8,null,-1.7336587334992401E-8,-4.8990901434439202E-10,-7.4232107393298479E-10,2.2921381809657568E-12,3.0632939129215299E-12,2.5100905621624265E-5,null,-6.5037626202218005E-6,3.1307456535490093E-5]
[2390,2.1870544856194843E-7,-7.8506257794023409E-9,null,-1.3087394789824901E-8,-3.7456142695569587E-10,-5.7419843047065872E-10,1.8257228627901611E-12,2.4677437740895455E-12,2.0408749342820564E-5,null,-5.0307749837939195E-6,2.5220818878052534E-5]
[2400,1.6037923529200975E-7,-5.8326213269938672E-9,null,-9.8453587958784833E-9,-2.8533304671367985E-10,-4.4259024426413586E-10,1.4483866954320994E-12,1.9801576042554482E-12,1.6520268451218856E-5,null,-3.8777046588061542E-6,2.0237593874733E-5]
[2410,1.1720105423537443E-7,-4.317818105663532E-9,null,-7.3807338555513038E-9,-2.1657346695462539E-10,-3.3994979196625505E-10,1.1444605935514574E-12,1.5826900872613582E-12,1.3314168118345031E-5,null,-2.9784318772309394E-6,1.6175398941340595E-5]
[2420,8.5351221754665449E-8,-3.1849832480708983E-9,null,-5.5138894567859756E-9,-1.6378918038674047E-10,-2.6019855153940338E-10,9.0072937923397242E-13,1.260070063088921E-12,1.0683810737557705E-5,null,-2.2797003517248951E-6,1.2878159867527935E-5]
[2430,6.1941655750280734E-8,-2.3409566004384714E-9,null,-4.1049502478164947E-9,-1.2342253973630394E-10,-1.9846189869723116E-10,7.0611441783855454E-13,9.9930968006189372E-13,8.5362783420509485E-6,null,-1.7388016097220805E-6,1.0213138296022748E-5]
[2440,4.4797184794070657E-8,-1.7144470956210077E-9,null,-3.0454386620598969E-9,-9.2669212916280345E-11,-1.5084753421183003E-10,5.5138234184406405E-13,7.8942874035513331E-13,6.7912779559846151E-6,null,-1.3216337092002036E-6,8.0681144803907481E-6]
[2450,3.2285943208263419E-8,{"$f":"(B254-B253)/(A254-A253)","v":-1.2511241585807238E-9},null,-2.2515659894908877E-9,-6.9328294129835657E-11,-1.1426081656331017E-10,4.2888135729407173E-13,6.2119791052241656E-13,5.3799654936951212E-6,null,-1.0010832964544995E-6,6.3487628469413571E-6]
[2460,2.3188415770533433E-8,-9.0975274377299855E-10,null,-1.6588727794631836E-9,-5.1679918702801452E-11,-8.6251726060671747E-11,3.3027266515676427E-13,4.8690302581094043E-13,4.2437467555348581E-6,null,-7.5568479945060781E-7,4.9762431392149327E-6]
[2470,1.6596767991030595E-8,-6.5916477795028389E-10,null,-1.2179676154348587E-9,-3.8404955242802049E-11,-6.4848088861168607E-11,2.5499944682641435E-13,3.7985054943231823E-13,3.3305836452069935E-6,null,-5.6815923882307215E-7,3.8821461160390352E-6]
[2480,1.1837794901720497E-8,-4.7589730893100977E-10,null,{"$f":"(C249*$L$6+C250*$M$6+C251*$N$6+C252*$O$6+C253*$P$6+C254*$Q$6+C255*$R$6+C256*$S$6+C257*$T$6+C258*$U$6+C259*$V$6+C260*$W$6+C261*$X$6+C262*$Y$6+C263*$Z$6+C264*$AA$6+C265*$AB$6)/SUM($L$6:$AB$6)","v":-8.9077367460714261E-10},-2.8460856328734362E-11,-4.8544440598193753E-11,1.9607389771495417E-13,2.9479979265015175E-13,2.5994320615561735E-6,null,-4.253166578032686E-7,3.0129109244577216E-6]
[2490,8.4142021861788592E-9,-3.4235927155416375E-10,null,-6.4875048886017145E-10,-2.1024600806866519E-11,-3.6162270289517983E-11,1.501752130246581E-13,2.2744749348971687E-13,2.0161399316609476E-6,null,-3.1683166493607719E-7,2.3245573944108461E-6]
[2500,5.9600502293857935E-9,-2.4541519567930658E-10,null,-4.7028165846981224E-10,-1.5484544943785989E-11,-2.6783604241335375E-11,1.1457060312781095E-13,1.7426848160561272E-13,1.552356116156346E-6,null,-2.3466153692322221E-7,1.7810576028501823E-6]
[2510,4.2070893938765511E-9,-1.7529608355092423E-10,null,-3.3905958998445169E-10,-1.1372582724481082E-11,-1.9696350255708986E-11,8.7064206751715209E-14,1.3238970907083986E-13,1.1846881753802321E-6,null,-1.7256735804248613E-7,1.3530484440288417E-6]
[2520,2.9594322659728645E-9,-1.2476571279036865E-10,null,-2.4283000398019058E-10,-8.3319554060694876E-12,-1.4350380405116901E-11,6.5900388224792953E-14,9.948131882903658E-14,8.9394851595582199E-7,null,-1.257292443150933E-7,1.0167183280049424E-6]
[2530,2.0745786914886123E-9,-8.8485357448425232E-11,null,-1.7242048186306195E-10,-6.0918927174386917E-12,-1.0322418319020675E-11,4.9682362642841408E-14,7.3663220456232971E-14,6.6448823812552505E-7,null,-9.0438707415169231E-8,7.5285236684920572E-7]
[2540,1.4492598646897549E-9,-6.2531882679885741E-11,null,-1.2099214963141675E-10,-4.4477342150034372E-12,-7.2881034857812778E-12,3.7304213394956132E-14,5.3425586485384669E-14,4.8361519237031006E-7,null,-6.3853899192159616E-8,5.460198316977799E-7]
[2550,1.0089216965391617E-9,-4.4033816815059316E-11,null,-8.3465797562993207E-11,4.7634704579297929E-14,-4.9998729204410036E-12,1.0675757303546179E-15,3.7561692397303766E-14,3.4109086177051331E-7,null,-4.380582439016013E-8,3.8388776446413426E-7]