## Sheet1
Analytical calibration using a reversed cubic curve fit
| Calibration data | [7 empty] | Application to unknowns
| Concentrations of the standards | Instrument readings | Y^2 | Y^3 | Error |  |  |  | Reading of the unknown | Calculated concentration |  |  | a*J6^3 | b*J6^2 | cc*J6 | d | sum
| 1 | 0.5 | 0.25 | 0.125 | -0.3192% | 1.0287 | -0.028729 | [5 empty] | 0 | 0 | 0 | 0.063884 | 0.063884
| 2 | 1 | 1 | 1 | 1.587% | 1.8572 | 0.071395 | [5 empty] | 0.0038395 | 0.055101 | 0.22041 | 0.22257 | 0.50192
| 3 | 2 | 4 | 8 | -1.837% | 3.1653 | -0.055114 | [5 empty] | 0 | 0 | 0 | 0.22257 | 0.22257
| 4 | 3 | 9 | 27 | -1.209% | 4.1088 | -0.027205
| 5 | 4 | 16 | 64 | 2.131% | 4.8082 | 0.038365
| 6 | 6 | 36 | 216 | 0.4813% | 5.9567 | 0.0072199
| 6.6 | 7 | 49 | 343 | -0.5211% | 6.6469 | -0.0071059
| 8 | 8.5 | 72.25 | 614.125 | -1.847% | 8.1662 | -0.020774
| 9 | 9 | 81 | 729 | 1.534% | 8.862 | 0.015339
|  |  | 0 | 0 |  | 0.063884 | #DIV/0!
|  |  | 0 | 0 |  | 0.063884 | #DIV/0!
|  |  | 0 | 0 |  | 0.063884 | #DIV/0!
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0 |  |  | Average deviation of standards: | 1.274%
|  |  | 0 | 0 |  |  | R2= | 0.99747
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  | © Tom O'Haver, October 2008, expanded June 2013 | [8 empty] | #REF! | #REF!
|  | Rights granted for educational purposes | [8 empty] | #REF! | #REF!
[11 empty] | #REF! | #REF!
Instructions
| 1. Enter the concentrations |  |  |  | 2. Enter the |  | (To delete a value, right-click |  | 3. The concentrations |  | 4.The last two columns
| of the standards and their |  |  |  | instrument readings |  | on the cell and click |  | of the unknowns are |  | lists the uncertainties
| instrument readings |  |  |  | of the unknowns and their |  | the Clear Contents). |  | calculated in column L |  | of the calculated
| into the blue table. |  |  |  | uncertainties (if known) |  |  |  | (Calculated concentrations) |  | concentrations.
into the yellow table.
Note: The if( ) functions in some of the cells
are not part of the actual numerical calculation.
Their purpose is simply to blank out or zero
out cells that are not being used at the moment.

## Sheet2
Data for fitted curve plot |  |  | Residual calculations |  |  |  | Uncertainty calculations
point | Instrument readings | C predicted | readings of the standards | Predicted conc | Actual-predicted | Residuals (% of max reading) | Instrument reading + uncertainiy | Calculated concentration | Instrument reading - uncertainiy | Calculated concentration | Concentration uncertainty
1 | 0.5 | 1.0287 | 0.5 | 1.0287 | -0.028729 | 0.3242% | #REF! | #REF! | #REF! | #REF! | #REF!
2 | 0.72368 | 1.4153 | 1 | 1.8572 | 0.14279 | -1.611% | #REF! | #REF! | #REF! | #REF! | #REF!
3 | 0.94737 | 1.776 | 2 | 3.1653 | -0.16534 | 1.866% | #REF! | #REF! | #REF! | #REF! | #REF!
4 | 1.1711 | 2.112 | 3 | 4.1088 | -0.10882 | 1.228% | #REF! | #REF! | #REF! | #REF! | #REF!
5 | 1.3947 | 2.4248 | 4 | 4.8082 | 0.19182 | -2.165% | #REF! | #REF! | #REF! | #REF! | #REF!
6 | 1.6184 | 2.7158 | 6 | 5.9567 | 0.04332 | -0.4888% | #REF! | #REF! | #REF! | #REF! | #REF!
7 | 1.8421 | 2.9861 | 7 | 6.6469 | -0.046899 | 0.5292% | #REF! | #REF! | #REF! | #REF! | #REF!
8 | 2.0658 | 3.2373 | 8.5 | 8.1662 | -0.16619 | 1.875% | #REF! | #REF! | #REF! | #REF! | #REF!
9 | 2.2895 | 3.4706 | 9 | 8.862 | 0.13805 | -1.558% | #REF! | #REF! | #REF! | #REF! | #REF!
10 | 2.5132 | 3.6875 | 0 | 0.063884 | -0.063884 | 0.7209% | #REF! | #REF! | #REF! | #REF! | #REF!
11 | 2.7368 | 3.8891 | 0 | 0.063884 | -0.063884 | 0.7209% | #REF! | #REF! | #REF! | #REF! | #REF!
12 | 2.9605 | 4.077 | 0 | 0.063884 | -0.063884 | 0.7209% | #REF! | #REF! | #REF! | #REF! | #REF!
13 | 3.1842 | 4.2524 | 0 | 0.063884 | -0.063884 | 0.7209% | #REF! | #REF! | #REF! | #REF! | #REF!
14 | 3.4079 | 4.4167 | 0 | 0.063884 | -0.063884 | 0.7209% | #REF! | #REF! | #REF! | #REF! | #REF!
15 | 3.6316 | 4.5713 | 0 | 0.063884 | -0.063884 | 0.7209% | #REF! | #REF! | #REF! | #REF! | #REF!
16 | 3.8553 | 4.7175 | 0 | 0.063884 | -0.063884 | 0.7209% | #REF! | #REF! | #REF! | #REF! | #REF!
17 | 4.0789 | 4.8566 | 0 | 0.063884 | -0.063884 | 0.7209% | #REF! | #REF! | #REF! | #REF! | #REF!
18 | 4.3026 | 4.9899 | 0 | 0.063884 | -0.063884 | 0.7209% | #REF! | #REF! | #REF! | #REF! | #REF!
19 | 4.5263 | 5.119 | 0 | 0.063884 | -0.063884 | 0.7209% | #REF! | #REF! | #REF! | #REF! | #REF!
20 | 4.75 | 5.245 | 0 | 0.063884 | -0.063884 | 0.7209% | #REF! | #REF! | #REF! | #REF! | #REF!
21 | 4.9737 | 5.3694 | 0 | 0.063884 | -0.063884 | 0.7209% | #REF! | #REF! | #REF! | #REF! | #REF!
22 | 5.1974 | 5.4934 | 0 | 0.063884 | -0.063884 | 0.7209% | #REF! | #REF! | #REF! | #REF! | #REF!
23 | 5.4211 | 5.6185 | 0 | 0.063884 | -0.063884 | 0.7209% | #REF! | #REF! | #REF! | #REF! | #REF!
24 | 5.6447 | 5.746 | 0 | 0.063884 | -0.063884 | 0.7209% | #REF! | #REF! | #REF! | #REF! | #REF!
25 | 5.8684 | 5.8772 | 0 | 0.063884 | -0.063884 | 0.7209% | #REF! | #REF! | #REF! | #REF! | #REF!
26 | 6.0921 | 6.0135 | 0 | 0.063884 | -0.063884 | 0.7209% | #REF! | #REF! | #REF! | #REF! | #REF!
27 | 6.3158 | 6.1562 | 0 | 0.063884 | -0.063884 | 0.7209% | #REF! | #REF! | #REF! | #REF! | #REF!
28 | 6.5395 | 6.3068 | 0 | 0.063884 | -0.063884 | 0.7209% | #REF! | #REF! | #REF! | #REF! | #REF!
29 | 6.7632 | 6.4664 | 0 | 0.063884 | -0.063884 | 0.7209% | #REF! | #REF! | #REF! | #REF! | #REF!
30 | 6.9868 | 6.6365 | 0 | 0.063884 | -0.063884 | 0.7209% | #REF! | #REF! | #REF! | #REF! | #REF!
31 | 7.2105 | 6.8185 | 0 | 0.063884 | -0.063884 | 0.7209% | #REF! | #REF! | #REF! | #REF! | #REF!
32 | 7.4342 | 7.0136 | 0 | 0.063884 | -0.063884 | 0.7209% | #REF! | #REF! | #REF! | #REF! | #REF!
33 | 7.6579 | 7.2233 | 0 | 0.063884 | -0.063884 | 0.7209% | #REF! | #REF! | #REF! | #REF! | #REF!
34 | 7.8816 | 7.4488 | 0 | 0.063884 | -0.063884 | 0.7209% | #REF! | #REF! | #REF! | #REF! | #REF!
35 | 8.1053 | 7.6916 | 0 | 0.063884 | -0.063884 | 0.7209% | #REF! | #REF! | #REF! | #REF! | #REF!
36 | 8.3289 | 7.953 | 0 | 0.063884 | -0.063884 | 0.7209% | #REF! | #REF! | #REF! | #REF! | #REF!
37 | 8.5526 | 8.2342 | 0 | 0.063884 | -0.063884 | 0.7209% | #REF! | #REF! | #REF! | #REF! | #REF!
29 | 9 | 8.862 | 0 | 0.063884 | -0.063884 | 0.7209% | #REF! | #REF! | #REF! | #REF! | #REF!
[7 empty] | #REF! | #REF! | #REF! | #REF! | #REF!
[7 empty] | #REF! | #REF! | #REF! | #REF! | #REF!
[7 empty] | #REF! | #REF! | #REF! | #REF! | #REF!
[7 empty] | #REF! | #REF! | #REF! | #REF! | #REF!
[7 empty] | #REF! | #REF! | #REF! | #REF! | #REF!
[7 empty] | #REF! | #REF! | #REF! | #REF! | #REF!
[7 empty] | #REF! | #REF! | #REF! | #REF! | #REF!
[7 empty] | #REF! | #REF! | #REF! | #REF! | #REF!
[7 empty] | #REF! | #REF! | #REF! | #REF! | #REF!
[7 empty] | #REF! | #REF! | #REF! | #REF! | #REF!
[7 empty] | #REF! | #REF! | #REF! | #REF! | #REF!
[7 empty] | #REF! | #REF! | #REF! | #REF! | #REF!

## Sheet3
|  |  | LINEST function array for a calibration with number of points = |  |  |  |  | 9
LINEST(Sheet1.B6:B16;Sheet1.C6:E16;1;1)
Statistics results table
[5 empty] | number of points | a | b | c | d
last row of Xs and Ys |  |  |  |  | 9 | 0.020089 | -0.30286 | 2.0761 | 0.063884 | Coefficients
9 | 0.26667 | -1.6 | 3.9333 | -0.6 |  | 0.0038395 | 0.055101 | 0.22041 | 0.22257 | Standard deviations
| 0 | 0 | 0 | 0 |  | 0.99747 | 0.17201 |  |  | R2, sigma-y
| 1 | 0 | #N/A | #N/A |  | 657.8417 | 5 |  |  | F, dF
| #N/A | 0 | #N/A | #N/A |  | 58.3943 | 0.14794 |  |  | Ssreg, Ssresid
| 5 | 0 | #N/A | #N/A
10 | 0.087432 | -0.68348 | 2.615 | -0.10719
| 0.059707 | 0.41038 | 0.80508 | 0.40782
| 0.99798 | 0.14204 | #N/A | #N/A
| 164.875 | 1 | #N/A | #N/A
| 9.9798 | 0.020177 | #N/A | #N/A
11 | 0.087432 | -0.68348 | 2.615 | -0.10719
| 0.059707 | 0.41038 | 0.80508 | 0.40782
| 0.99798 | 0.14204 | #N/A | #N/A
| 164.875 | 1 | #N/A | #N/A
| 9.9798 | 0.020177 | #N/A | #N/A
12 | 0.0096546 | -0.19006 | 1.7612 | 0.25036
| 0.009409 | 0.1043 | 0.31762 | 0.24573
| 0.99723 | 0.15424 | #N/A | #N/A
| 359.6074 | 3 | #N/A | #N/A
| 25.6658 | 0.071372 | #N/A | #N/A
13 | 0.016327 | -0.2595 | 1.9474 | 0.14406
| 0.0039609 | 0.053567 | 0.20295 | 0.19582
| 0.99785 | 0.14684 | #N/A | #N/A
| 619.2353 | 4 | #N/A | #N/A
| 40.0538 | 0.086243 | #N/A | #N/A
14 | 0.020089 | -0.30286 | 2.0761 | 0.063884
| 0.0038395 | 0.055101 | 0.22041 | 0.22257
| 0.99747 | 0.17201 | #N/A | #N/A
| 657.8417 | 5 | #N/A | #N/A
| 58.3943 | 0.14794 | #N/A | #N/A
15 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
16 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
17 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
18 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
19 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
20 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
21 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
22 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
23 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
24 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
25 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
26 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
27 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
28 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
29 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
30 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
31 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
32 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
33 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
34 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
35 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
36 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
37 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
38 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
39 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
40 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
41 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
42 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!