## Sheet1
Analytical calibration using a quadratic curve fit. | [17 empty] | © Tom O'Haver, Version 2.1, July 2011, expanded June 2013
| Calibration data | [5 empty] | Application to unknowns | [10 empty] | See: | http://terpconnect.umd.edu/~toh/models/CalibrationCurve.html
| Standards | Instrument readings | accuracy | % error |  |  | Reading of the unknown | Calculated concentration | X | Y | X*Y | X*X | X^3 | X^4 | X^2y | #DIV/0! | #NAME?
| 1 | 2.2 | 97.05% | 2.952% |  |  |  |  | 1 | 2.2 | 2.2 | 1 | 1 | 1 | 2.2 | 0.0008717 | 0.029525 | Warning: Messy math follows.
| 2 | 4.3 | 98.35% | 1.647% |  |  |  |  | 2 | 4.3 | 8.6 | 4 | 8 | 16 | 17.2 | 0.00027121 | 0.016469 | Summary of equations:
| 3 | 6.3 | 101% | -0.9708% |  |  |  |  | 3 | 6.3 | 18.9 | 9 | 27 | 81 | 56.7 | 9.425e-05 | 0.0097083 | B28 | n=number of x,y data points
| 4 | 8 | 101.4% | -1.396% |  |  |  |  | 4 | 8 | 32 | 16 | 64 | 256 | 128 | 0.00019478 | 0.013956 | B27 | sumx=?x
| 5 | 9.3 | 99.09% | 0.9055% |  |  |  |  | 5 | 9.3 | 46.5 | 25 | 125 | 625 | 232.5 | 8.1985e-05 | 0.0090545 | C27 | sumy=?y
| 0 | 0.001 | #DIV/0! | #DIV/0! |  |  |  |  | 0 | 0.001 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | D27 | sumxy=?x*y
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | E27 | sumx2=?x*x
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | F27 | sumx3=?x^3
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | G27 | sumx3=?x^4
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | H27 | sumx2y=?(x^2)*y
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | 0 | B30 | D=n*sumx2*sumx4+2*sumx*sumx2*sumx3-sumx2^3-sumx^2*sumx4-n*sumx3^2
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | 0 | B31 | a=(n*sumx2*sumx2y+sumx*sumx3*sumy+sumx*sumx2*sumxy-sumx2^2*sumy-sumx^2*sumx2y-n*sumx3*sumxy)/D
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | 0 | B32 | b=(n*sumx4*sumxy+sumx*sumx2*sumx2y+sumx2*sumx3*sumy-sumx2^2*sumxy-sumx*sumx4*sumy-n*sumx3*sumx2y)/D
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | 0 | B33 | c=(sumx2*sumx4*sumy+sumx2*sumx3*sumxy+sumx*sumx3*sumx2y-sumx2^2*sumx2y-sumx*sumx4*sumxy-sumx3^2*sumy)/D
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | 0 | Calculations of the coefficients a,b, and c of the best-fit parabola y=ax^2+bx+c | [8 empty] | Note: The if( ) functions in some of the cells
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | 0 | sums | sumx | sumy | sumxy | sumx2 | ssy | ssr | sumx2y |  | are not part of the actual numerical calculation.
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | 0 |  | ?X | ?Y | ?(X*Y) | ?(X*X) | ?(X^3) | ?(X^4) | ?(X^2)*y |  | Their purpose is simply to blank out or zero
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | 0 |  | 15 | 30.101 | 108.2 | 55 | 225 | 979 | 436.6 |  | out cells that are not being used at the moment
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | 0 | n | 6 | (number of points (n)
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | 0 | D | 3920 | Denominator (D)
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | 0 | a= | -0.10884 | (coefficient of the X2 term; equals zero if best-fit line is straight)
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | b= | 2.4269 | (coefficient of the X term, like the slope)
[5 empty] | Average deviation of standards: | #DIV/0! |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | c= | -0.05275 | (the constant, like the intercept)
[5 empty] | R2 = | 0.99959 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | y= | -0.10884 | X^2 | + | 2.4269 | x | + | -0.05275 | <== Equation of best fit.
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
[5 empty] | Vertex occurs at x= | 11.1491 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
[5 empty] | y= | 13.4761 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | Calculation of R2
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | ?(Y-meany)^2 | PredY |  | ?(Y-PredY)^2 |  | ?(meanY-PredY)^2 |  | R2 =1-(?(Y-PredY)^2/?(meanY-PredY)^2)
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 7.9346 | 2.2653 |  | 0.0042669 |  | 7.5708 |  | 0.99959
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0.51385 | 4.3657 |  | 0.0043184 |  | 0.42396
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 1.6465 | 6.2484 |  | 0.0026596 |  | 1.5168
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 8.8993 | 7.9135 |  | 0.0074884 |  | 8.3905
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 18.3455 | 9.3608 |  | 0.0036992 |  | 18.8702
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 25.1586 | -0.05275 |  | 0.0028891 |  | 25.7007
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0
[19 empty] | 62.4983 | 30.101 |  | 0.025322 |  | 62.473
© Tom O'Haver, Version 2.1, July 2011, expanded June 2013
Rights granted for educational purposes
http://terpconnect.umd.edu/~toh/models/CalibrationCurve.html

## Sheet2
Data for fitted curve plot |  |  | Residual calculations
point | X | Ypredicted | Concentrations of the standards | Predicted readings | Actual-predicted | Residuals (% of max reading)
1 | 0 | -0.05275 | 1 | 2.2653 | 0.065321 | -0.0069782
2 | 0.1 | 0.18885 | 2 | 4.3657 | 0.065714 | -0.0070201
3 | 0.2 | 0.42828 | 3 | 6.2484 | -0.051571 | 0.0055093
4 | 0.3 | 0.66553 | 4 | 7.9135 | -0.086536 | 0.0092445
5 | 0.4 | 0.9006 | 5 | 9.3608 | 0.060821 | -0.0064974
6 | 0.5 | 1.1335 | 0 | -0.05275 | -0.05375 | 0.005742
7 | 0.6 | 1.3642 |  |  | #VALUE!
8 | 0.7 | 1.5928 |  |  | #VALUE!
9 | 0.8 | 1.8191 |  |  | #VALUE!
10 | 0.9 | 2.0433 |  |  | #VALUE!
11 | 1 | 2.2653 |  |  | #VALUE!
12 | 1.1 | 2.4852 |  |  | #VALUE!
13 | 1.2 | 2.7028 |  |  | #VALUE!
14 | 1.3 | 2.9183 |  |  | #VALUE!
15 | 1.4 | 3.1316 |  |  | #VALUE!
16 | 1.5 | 3.3427 |  |  | #VALUE!
17 | 1.6 | 3.5517 |  |  | #VALUE!
18 | 1.7 | 3.7585 |  |  | #VALUE!
19 | 1.8 | 3.963 |  |  | #VALUE!
20 | 1.9 | 4.1655 |  |  | #VALUE!
21 | 2 | 4.3657 |  |  | #VALUE!
22 | 2.1 | 4.5638 |  |  | #VALUE!
23 | 2.2 | 4.7597 |  |  | #VALUE!
24 | 2.3 | 4.9534 |  |  | #VALUE!
25 | 2.4 | 5.1449 |  |  | #VALUE!
26 | 2.5 | 5.3343 |  |  | #VALUE!
27 | 2.6 | 5.5215 |  |  | #VALUE!
28 | 2.7 | 5.7065 |  |  | #VALUE!
29 | 2.8 | 5.8893 |  |  | #VALUE!
30 | 2.9 | 6.07 |  |  | #VALUE!
31 | 3 | 6.2484 |  |  | #VALUE!
32 | 3.1 | 6.4247 |  |  | #VALUE!
33 | 3.2 | 6.5988 |  |  | #VALUE!
34 | 3.3 | 6.7708 |  |  | #VALUE!
35 | 3.4 | 6.9406 |  |  | #VALUE!
36 | 3.5 | 7.1082 |  |  | #VALUE!
37 | 3.6 | 7.2736 |  |  | #VALUE!
38 | 3.7 | 7.4368 |  |  | #VALUE!
39 | 3.8 | 7.5979 |  |  | #VALUE!
40 | 3.9 | 7.7568 |  |  | #VALUE!
41 | 4 | 7.9135 |  |  | #VALUE!
42 | 4.1 | 8.068 |  |  | #VALUE!
43 | 4.2 | 8.2203 |  |  | #VALUE!
44 | 4.3 | 8.3705 |  |  | #VALUE!
45 | 4.4 | 8.5185 |  |  | #VALUE!
46 | 4.5 | 8.6644
47 | 4.6 | 8.808
48 | 4.7 | 8.9495
49 | 4.8 | 9.0888
50 | 5 | 9.3608