## Sheet1
Analytical calibration using a log-log linear curve fit (log(x) vs log(y)) | [9 empty] | © Tom O'Haver, Version 2, January 2016
Calibration data | [7 empty] | Application to unknowns |  | http://terpconnect.umd.edu/~toh/models/CalibrationCurve.html
Standards | Instrument readings |  |  | Accuracy | Error |  |  | Reading of the unknown | Calculated concentration
1 | 1.83 | 0 | 0.26245 | 103% | -2.989% |  |  | 1.83 | 1.0299
2 | 2.59 | 0.30103 | 0.4133 | 80.28% | 19.72% |  |  | 2.59 | 1.6056
5 | 4.21 | 0.69897 | 0.62428 | 59.75% | 40.25% |  |  | 4.21 | 2.9877
10 | 8.17 | 1 | 0.91222 | 69.73% | 30.27% |  |  | 8.17 | 6.9732
20 | 14.56 | 1.301 | 1.1632 | 72.98% | 27.02% |  |  | 14.56 | 14.5958
50 | 33.83 | 1.699 | 1.5293 | 85.77% | 14.23% |  |  | 33.83 | 42.8834
100 | 63.14 | 2 | 1.8003 | 95.22% | 4.78% |  |  | 63.14 | 95.2202
200 | 118.43 | 2.301 | 2.0735 | 106.4% | -6.388% |  |  | 118.43 | 212.7766
500 | 269.2 | 2.699 | 2.4301 | 121.6% | -21.57% |  |  | 269.2 | 607.8637
1000 | 500.57 | 3 | 2.6995 | 134.3% | -34.33% |  |  | 500.57 | 1343.3366
|  | 0 | 0.26245
|  | 0 | 0.26245
|  | 0 | 0.26245
|  | 0 | 0.26245
|  | 0 | 0.26245
|  | 0 | 0.26245
|  | 0 | 0.26245
|  | 0 | 0.26245
|  | 0 | 0.26245
|  | 0 | 0.26245 |  |  | Average deviation of standards: | 19.2%
|  | 0 | 0.26245 |  |  | R2 = | 0.99488
|  | 0 | 0.26245
|  | 0 | 0.26245 |  |  | Slope= | 0.78225
|  | 0 | 0.26245 |  |  | Intercept= | 0.25245
|  | 0 | 0.26245
|  | 0 | 0.26245
|  | 0 | 0.26245
|  | 0 | 0.26245
|  | 0 | 0.26245
|  | 0 | 0.26245
|  | 0 | 0.26245
|  | 0 | 0.26245
|  | 0 | 0.26245
|  | 0 | 0.26245
|  | 0 | 0.26245
|  | 0 | 0.26245
|  | 0 | 0.26245
|  | 0 | 0.26245
|  | 0 | 0.26245
|  | 0 | 0.26245
|  | 0 | 0.26245
|  | 0 | 0.26245
|  | 0 | 0.26245
|  | 0 | 0.26245
|  | 0 | 0.26245
© Tom O'Haver, Version 2.1, July 2011
Rights granted for educational purposes

## Sheet2
Residual calculations
Standards | Predicted readings | Actual-predicted | Residuals (% of max reading)
0 | 0.25245 | -0.010005 | 0.3849%
0.30103 | 0.48793 | 0.074627 | -2.871%
0.69897 | 0.79921 | 0.17493 | -6.73%
1 | 1.0347 | 0.12247 | -4.712%
1.301 | 1.2702 | 0.10701 | -4.117%
1.699 | 1.5815 | 0.052161 | -2.007%
2 | 1.8169 | 0.016639 | -0.6402%
2.301 | 2.0524 | -0.021038 | 0.8094%
2.699 | 2.3637 | -0.066363 | 2.553%
3 | 2.5992 | -0.10027 | 3.858%
0 | 0.25245 | -0.010005 | 0.3849%
0 | 0.25245 | -0.010005 | 0.3849%
0 | 0.25245 | -0.010005 | 0.3849%
0 | 0.25245 | -0.010005 | 0.3849%
0 | 0.25245 | -0.010005 | 0.3849%
0 | 0.25245 | -0.010005 | 0.3849%
0 | 0.25245 | -0.010005 | 0.3849%
0 | 0.25245 | -0.010005 | 0.3849%
0 | 0.25245 | -0.010005 | 0.3849%
0 | 0.25245 | -0.010005 | 0.3849%
0 | 0.25245 | -0.010005 | 0.3849%
0 | 0.25245 | -0.010005 | 0.3849%
0 | 0.25245 | -0.010005 | 0.3849%
0 | 0.25245 | -0.010005 | 0.3849%
0 | 0.25245 | -0.010005 | 0.3849%
0 | 0.25245 | -0.010005 | 0.3849%
0 | 0.25245 | -0.010005 | 0.3849%
0 | 0.25245 | -0.010005 | 0.3849%
0 | 0.25245 | -0.010005 | 0.3849%
0 | 0.25245 | -0.010005 | 0.3849%
0 | 0.25245 | -0.010005 | 0.3849%
0 | 0.25245 | -0.010005 | 0.3849%
0 | 0.25245 | -0.010005 | 0.3849%
0 | 0.25245 | -0.010005 | 0.3849%
0 | 0.25245 | -0.010005 | 0.3849%
0 | 0.25245 | -0.010005 | 0.3849%
0 | 0.25245 | -0.010005 | 0.3849%
0 | 0.25245 | -0.010005 | 0.3849%
0 | 0.25245 | -0.010005 | 0.3849%
0 | 0.25245 | -0.010005 | 0.3849%
0 | 0.25245 | -0.010005 | 0.3849%
0 | 0.25245 | -0.010005 | 0.3849%
0 | 0.25245 | -0.010005 | 0.3849%
0 | 0.25245 | -0.010005 | 0.3849%
0 | 0.25245 | -0.010005 | 0.3849%
0 | 0.25245 | 0.25245 | 0.3849%
0 | 0.25245 | 0.25245 | 0.3849%
0 | 0.25245 | 0.25245 | 0.3849%
0 | 0.25245 | 0.25245 | 0.3849%
0 | 0.25245 | 0.25245 | 0.3849%