## Sheet1
Analytical calibration using a quadratic curve fit. | [6 empty] | Application to unknowns | [9 empty] | © Tom O'Haver, Version 2.1, July 2011, expanded June 2013
| Calibration data | [5 empty] | Here the instrument readings for the standards are converted back into concentrations as a test of accuracy. | [9 empty] | See: | http://terpconnect.umd.edu/~toh/models/CalibrationCurve.html
|  |  | accuracy | % error
| Standards | Instrument readings | 72.72% | 27.28% |  |  | Reading of the unknown | Calculated concentration |  | X | Y | X*Y | X*X | X^3 | X^4 | X^2y
| 1.0205 | 1629 | 162900% | 1.597% |  |  | 1629 | 0.74211 | -27.28% | 1.0205 | 1629 | 1662.3619 | 1.0414 | 1.0627 | 1.0845 | 1696.4071 | Warning: Messy math follows.
| 5.1024 | 8069 | 806900% | -4.673% |  |  | 8069 | 5.0209 | -1.597% | 5.1024 | 8069 | 41171.2656 | 26.0345 | 132.8384 | 677.7944 | 210072.2656 | Summary of equations:
| 10.2048 | 16538 | 1653800% | 0.2987% |  |  | 16538 | 10.6816 | 4.673% | 10.2048 | 16538 | 168766.9824 | 104.1379 | 1062.7069 | 10844.7112 | 1722233.302 | B28 | n=number of x,y data points
| 51.024 | 75001 | 7500100% | -0.03494% |  |  | 75001 | 50.8716 | -0.2987% | 51.024 | 75001 | 3826851.024 | 2603.4486 | 132838.3601 | 6777944.4879 | 195261246.6486 | B27 | sumx=?x
| 102.048 | 145267 | 14526700% |  |  |  | 145267 | 102.0837 | 0.03494% | 102.048 | 145267 | 14824206.816 | 10413.7943 | 1062706.8811 | 108447111.806 | 1512780657.1592 | C27 | sumy=?y
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | D27 | sumxy=?x*y
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | E27 | sumx2=?x*x
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | F27 | sumx3=?x^3
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | G27 | sumx3=?x^4
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | H27 | sumx2y=?(x^2)*y
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | B30 | D=n*sumx2*sumx4+2*sumx*sumx2*sumx3-sumx2^3-sumx^2*sumx4-n*sumx3^2
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | B31 | a=(n*sumx2*sumx2y+sumx*sumx3*sumy+sumx*sumx2*sumxy-sumx2^2*sumy-sumx^2*sumx2y-n*sumx3*sumxy)/D
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | B32 | b=(n*sumx4*sumxy+sumx*sumx2*sumx2y+sumx2*sumx3*sumy-sumx2^2*sumxy-sumx*sumx4*sumy-n*sumx3*sumx2y)/D
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | B33 | c=(sumx2*sumx4*sumy+sumx2*sumx3*sumxy+sumx*sumx3*sumx2y-sumx2^2*sumx2y-sumx*sumx4*sumxy-sumx3^2*sumy)/D
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Calculations of the coefficients a,b, and c of the best-fit parabola y=ax^2+bx+c | [8 empty] | Note: The if( ) functions in some of the cells
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | sums | sumx | sumy | sumxy | sumx2 | ssy | ssr | sumx2y |  | are not part of the actual numerical calculation.
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ?X | ?Y | ?(X*Y) | ?(X*X) | ?(X^3) | ?(X^4) | ?(X^2)*y |  | Their purpose is simply to blank out or zero
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 169.3997 | 246504 | 18862658.4499 | 13148.4567 | 1196741.8492 | 115236579.884 | 1709975905.7824 |  | out cells that are not being used at the moment
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n | 5 | (number of points (n)
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | D | 166084797756.813 | Denominator (D)
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | a= | -0.90378 | (coefficient of the X2 term; equals zero if best-fit line is straight)
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | b= | 1510.297 | (coefficient of the X term, like the slope)
[5 empty] | Average deviation of standards: | 8.954% |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | c= | 508.6897 | (the constant, like the intercept)
[5 empty] | R2 = | 0.99995 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | y= | -0.90378 | X^2 | + | 1510.297 | x | + | 508.6897 | <== Equation of best fit.
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Calculation of R2
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ?(Y-meany)^2 | PredY |  | ?(Y-PredY)^2 |  | ?(meanY-PredY)^2 |  | R2 =1-(?(Y-PredY)^2/?(meanY-PredY)^2)
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2272600515.24 | 2048.9764 |  | 176380.2066 |  | 2232734830.1456 |  | 0.99995
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1700061331.24 | 8191.2997 |  | 14957.2129 |  | 1689991016.1765
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1073401063.84 | 15826.8509 |  | 505733.0748 |  | 1120505269.8712
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 660500280.04 | 75217.1457 |  | 46718.9538 |  | 671656973.2623
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 9209511542.44 | 145219.7273 |  | 2234.7058 |  | 9200440619.1911
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0
[18 empty] | 0 | 0 |  | 0 |  | 0
[18 empty] | 0 | 0 |  | 0 |  | 0
[18 empty] | 0 | 0 |  | 0 |  | 0
[18 empty] | 0 | 0 |  | 0 |  | 0
[18 empty] | 0 | 0 |  | 0 |  | 0
[18 empty] | 0 | 0 |  | 0 |  | 0
[18 empty] | 0 | 0 |  | 0 |  | 0
[18 empty] | 0 | 0 |  | 0 |  | 0
[18 empty] | 0 | 0 |  | 0 |  | 0
[18 empty] | 0 | 0 |  | 0 |  | 0
[18 empty] | 0 | 0 |  | 0 |  | 0
[18 empty] | 0 | 0 |  | 0 |  | 0
[18 empty] | 0 | 0 |  | 0 |  | 0
[18 empty] | 0 | 0 |  | 0 |  | 0
[18 empty] | 0 | 0 |  | 0 |  | 0
[18 empty] | 0 | 0 |  | 0 |  | 0
[18 empty] | 0 | 0 |  | 0 |  | 0
[18 empty] | 0 | 0 |  | 0 |  | 0
[18 empty] | 0 | 0 |  | 0 |  | 0
[18 empty] | 0 | 0 |  | 0 |  | 0
[18 empty] | 0 | 0 |  | 0 |  | 0
[18 empty] | 0 | 0 |  | 0 |  | 0
[18 empty] | 14916074732.8 | 246504 |  | 746024.1538 |  | 14915328708.6467
© Tom O'Haver, Version 2.1, July 2011, expanded June 2013
Rights granted for educational purposes
http://terpconnect.umd.edu/~toh/models/CalibrationCurve.html

## Sheet2
Data for fitted curve plot |  |  | Residual calculations
point | X | Ypredicted | Concentrations of the standards | Predicted readings | Actual-predicted | Residuals (% of max reading)
1 | 1.0205 | 2048.9764 | 1.0205 | 2048.9764 | 419.9764 | -0.002892
2 | 3.041 | 5093.1908 | 5.1024 | 8191.2997 | 122.2997 | -0.00084217
3 | 5.0616 | 8130.0255 | 10.2048 | 15826.8509 | -711.1491 | 0.0048971
4 | 7.0821 | 11159.4807 | 51.024 | 75217.1457 | 216.1457 | -0.0014884
5 | 9.1027 | 14181.5564 | 102.048 | 145219.7273 | -47.2727 | 0.00032553
6 | 11.1232 | 17196.2525 |  |  | #VALUE!
7 | 13.1438 | 20203.569 |  |  | #VALUE!
8 | 15.1643 | 23203.5059 |  |  | #VALUE!
9 | 17.1849 | 26196.0633 |  |  | #VALUE!
10 | 19.2054 | 29181.2411 |  |  | #VALUE!
11 | 21.226 | 32159.0394 |  |  | #VALUE!
12 | 23.2465 | 35129.4581 |  |  | #VALUE!
13 | 25.2671 | 38092.4972 |  |  | #VALUE!
14 | 27.2876 | 41048.1568 |  |  | #VALUE!
15 | 29.3082 | 43996.4368 |  |  | #VALUE!
16 | 31.3287 | 46937.3372 |  |  | #VALUE!
17 | 33.3493 | 49870.8581 |  |  | #VALUE!
18 | 35.3698 | 52796.9994 |  |  | #VALUE!
19 | 37.3904 | 55715.7611 |  |  | #VALUE!
20 | 39.4109 | 58627.1433 |  |  | #VALUE!
21 | 41.4315 | 61531.1459 |  |  | #VALUE!
22 | 43.452 | 64427.769 |  |  | #VALUE!
23 | 45.4726 | 67317.0125 |  |  | #VALUE!
24 | 47.4931 | 70198.8764 |  |  | #VALUE!
25 | 49.5137 | 73073.3608 |  |  | #VALUE!
26 | 51.5342 | 75940.4656 |  |  | #VALUE!
27 | 53.5548 | 78800.1908 |  |  | #VALUE!
28 | 55.5753 | 81652.5365 |  |  | #VALUE!
29 | 57.5959 | 84497.5026 |  |  | #VALUE!
30 | 59.6164 | 87335.0891 |  |  | #VALUE!
31 | 61.637 | 90165.2961 |  |  | #VALUE!
32 | 63.6575 | 92988.1235 |  |  | #VALUE!
33 | 65.6781 | 95803.5714 |  |  | #VALUE!
34 | 67.6986 | 98611.6397 |  |  | #VALUE!
35 | 69.7192 | 101412.3284 |  |  | #VALUE!
36 | 71.7397 | 104205.6376 |  |  | #VALUE!
37 | 73.7603 | 106991.5672 |  |  | #VALUE!
38 | 75.7808 | 109770.1172 |  |  | #VALUE!
39 | 77.8014 | 112541.2877 |  |  | #VALUE!
40 | 79.8219 | 115305.0786 |  |  | #VALUE!
41 | 81.8425 | 118061.4899 |  |  | #VALUE!
42 | 83.863 | 120810.5217 |  |  | #VALUE!
43 | 85.8836 | 123552.1739 |  |  | #VALUE!
44 | 87.9041 | 126286.4466 |  |  | #VALUE!
45 | 89.9247 | 129013.3396 |  |  | #VALUE!
46 | 91.9452 | 131732.8532
47 | 93.9658 | 134444.9871
48 | 95.9863 | 137149.7415
49 | 98.0069 | 139847.1164
50 | 102.048 | 145219.7273