## Sheet1
Analytical calibration using a weighted quadratic curve fit. | [16 empty] | © Tom O'Haver, Version 1, July 2011, expanded June 2013
| Calibration data | [5 empty] | Application to unknowns |  |  |  |  | Weighted intermediate calculations |  |  |  |  | See: | http://terpconnect.umd.edu/~toh/models/CalibrationCurve.html | [8 empty] | 1 | 1 | 0.54645 | 0.29861 | Normalized weights (Copy/Paste to Column M)
| Standards | Instrument readings |  |  |  |  | Reading of the unknown | Calculated concentration | Weights | X | Y | X*Y | X*X | X^3 | X^4 | X^2y | [10 empty] | 1/X | 1/X^2 | 1/Y | 1/Y^2 | 1/X | 1/X^2 | 1/Y | 1/Y^2
| 1 | 1.83 | -188.5% | 288.5% |  |  |  |  | 1 | 1 | 1.83 | 1.83 | 1 | 1 | 1 | 1.83 | [10 empty] | 1 | 1 | 0.54645 | 0.29861 | 1 | 1 | 1 | 1
| 2 | 2.59 | -28.83% | 128.8% |  |  |  |  | 1 | 2 | 2.59 | 5.18 | 4 | 8 | 16 | 10.36 |  | Summary of equations: | [8 empty] | 0.5 | 0.25 | 0.3861 | 0.14907 | 0.5 | 0.25 | 0.70656 | 0.49923
| 5 | 4.21 | 44.28% | 55.72% |  |  |  |  | 1 | 5 | 4.21 | 21.05 | 25 | 125 | 625 | 105.25 |  | n=number of x,y data points | [8 empty] | 0.2 | 0.04 | 0.23753 | 0.05642 | 0.2 | 0.04 | 0.43468 | 0.18895
| 10 | 8.17 | 90.45% | 9.552% |  |  |  |  | 1 | 10 | 8.17 | 81.7 | 100 | 1000 | 10000 | 817 |  | sumx=?x | [8 empty] | 0.1 | 0.01 | 0.1224 | 0.014982 | 0.1 | 0.01 | 0.22399 | 0.050172
| 20 | 14.56 | 100.5% | -0.4792% |  |  |  |  | 1 | 20 | 14.56 | 291.2 | 400 | 8000 | 160000 | 5824 |  | sumy=?y | [8 empty] | 0.05 | 0.0025 | 0.068681 | 0.0047171 | 0.05 | 0.0025 | 0.12569 | 0.015797
| 50 | 33.83 | 107.3% | -7.277% |  |  |  |  | 1 | 50 | 33.83 | 1691.5 | 2500 | 125000 | 6250000 | 84575 |  | sumxy=?x*y | [8 empty] | 0.02 | 0.0004 | 0.02956 | 0.00087377 | 0.02 | 0.0004 | 0.054094 | 0.0029262
| 100 | 63.14 | 105.3% | -5.298% |  |  |  |  | 1 | 100 | 63.14 | 6314 | 10000 | 1000000 | 100000000 | 631400 |  | sumx2=?x*x | [8 empty] | 0.01 | 0.0001 | 0.015838 | 0.00025084 | 0.01 | 0.0001 | 0.028983 | 0.00084003
| 200 | 118.43 | 102.5% | -2.486% |  |  |  |  | 1 | 200 | 118.43 | 23686 | 40000 | 8000000 | 1600000000 | 4737200 |  | sumx3=?x^3 | [8 empty] | 0.005 | 2.5e-05 | 0.0084438 | 7.1298e-05 | 0.005 | 2.5e-05 | 0.015452 | 0.00023877
| 500 | 269.2 | 98.74% | 1.263% |  |  |  |  | 1 | 500 | 269.2 | 134600 | 250000 | 125000000 | 62500000000 | 67300000 |  | sumx3=?x^4 | [8 empty] | 0.002 | 4e-06 | 0.0037147 | 1.3799e-05 | 0.002 | 4e-06 | 0.0067979 | 4.6212e-05
| 1000 | 500.57 | 100.2% | -0.1553% |  |  |  |  | 1 | 1000 | 500.57 | 500570 | 1000000 | 1000000000 | 1000000000000 | 500570000 |  | sumx2y=?(x^2)*y | [8 empty] | 0.001 | 1e-06 | 0.0019977 | 3.9909e-06 | 0.001 | 1e-06 | 0.0036558 | 1.3365e-05
[9 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | D=n*sumx2*sumx4+2*sumx*sumx2*sumx3-sumx2^3-sumx^2*sumx4-n*sumx3^2 | [12 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | a=(n*sumx2*sumx2y+sumx*sumx3*sumy+sumx*sumx2*sumxy-sumx2^2*sumy-sumx^2*sumx2y-n*sumx3*sumxy)/D | [12 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | b=(n*sumx4*sumxy+sumx*sumx2*sumx2y+sumx2*sumx3*sumy-sumx2^2*sumxy-sumx*sumx4*sumy-n*sumx3*sumx2y)/D | [12 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | c=(sumx2*sumx4*sumy+sumx2*sumx3*sumxy+sumx*sumx3*sumx2y-sumx2^2*sumx2y-sumx*sumx4*sumxy-sumx3^2*sumy)/D | [12 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [14 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [14 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Calculations of the coefficients a,b, and c of the best-fit parabola y=ax^2+bx+c | [8 empty] | Note: The if( ) functions in some of the cells |  |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | sums | sumx | sumy | sumxy | sumx2 | ssy | ssr | sumx2y |  | are not part of the actual numerical calculation. |  |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ?X | ?Y | ?(X*Y) | ?(X*X) | ?(X^3) | ?(X^4) | ?(X^2)*y |  | Their purpose is simply to blank out or zero |  |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1888 | 1016.53 | 667262.46 | 1303030 | 1134134134 | 1064206420642 | 573329933.44 |  | out cells that are not being used at the moment |  |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n | 10 | (number of points (n) | [11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [14 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | D | 5.7873e+17 | Denominator (D) | [11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | a= | -8.3661e-05 | (coefficient of the X2 term; equals zero if best-fit line is straight) | [11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | b= | 0.58066 | (coefficient of the X term, like the slope) | [11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | c= | 2.9248 | (the constant, like the intercept) | [11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[5 empty] | R2 = | 0.99984 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | y= | -8.3661e-05 | X^2 | + | 0.58066 | x | + | 2.9248 | <== Equation of best fit. | [5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [14 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [14 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Calculation of R2 | [12 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ?(Y-meany)^2 | PredY |  | ?(Y-PredY)^2 |  | ?(meanY-PredY)^2 |  | R2 =1-(?(Y-PredY)^2/?(meanY-PredY)^2) | [5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 9964.6313 | 3.5054 |  | 2.8071 |  | 9632.9462 |  | 0.99984 | [5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 9813.478 | 4.0858 |  | 2.2375 |  | 9519.3508 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 9495.1382 | 5.8261 |  | 2.6117 |  | 9182.7995 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 8739.0713 | 8.7231 |  | 0.30594 |  | 8635.9622 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 7585.1906 | 14.5047 |  | 0.0030618 |  | 7594.8321 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 4599.9593 | 31.7489 |  | 4.331 |  | 4886.5825 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1483.2512 | 60.1547 |  | 8.9123 |  | 1722.1122 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 281.4677 | 115.7113 |  | 7.3916 |  | 197.6347 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 28071.9972 | 272.3418 |  | 9.8707 |  | 29134.6532 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 159134.7729 | 499.9283 |  | 0.4118 |  | 158623.202 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 239168.9578 | 1016.53 |  | 38.8825 |  | 239130.0753 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
© Tom O'Haver, Version 2.1, July 2011, expanded June 2013
Rights granted for educational purposes
http://terpconnect.umd.edu/~toh/models/CalibrationCurve.html
Note on M5: Tom O'Haver: Type in values or Copy/Paste from Columns AK - AN.

## Sheet2
Data for fitted curve plot |  |  | Residual calculations
point | X | Ypredicted | Concentrations of the standards | Predicted readings | Actual-predicted | Residuals (% of max reading)
1 | 1 | 3.5054 | 1 | 3.5054 | 1.6754 | -0.0033513
2 | 20.98 | 15.0704 | 2 | 4.0858 | 1.4958 | -0.0029921
3 | 40.96 | 26.5685 | 5 | 5.8261 | 1.6161 | -0.0032326
4 | 60.94 | 37.9998 | 10 | 8.7231 | 0.55312 | -0.0011064
5 | 80.92 | 49.3644 | 20 | 14.5047 | -0.055334 | 0.00011068
6 | 100.9 | 60.6621 | 50 | 31.7489 | -2.0811 | 0.0041628
7 | 120.88 | 71.8931 | 100 | 60.1547 | -2.9853 | 0.0059715
8 | 140.86 | 83.0572 | 200 | 115.7113 | -2.7187 | 0.0054383
9 | 160.84 | 94.1546 | 500 | 272.3418 | 3.1418 | -0.0062844
10 | 180.82 | 105.1852 | 1000 | 499.9283 | -0.64172 | 0.0012836
11 | 200.8 | 116.149 | #N/A | #N/A | #VALUE! | #N/A
12 | 220.78 | 127.0459 | #N/A | #N/A | #VALUE! | #N/A
13 | 240.76 | 137.8761 | #N/A | #N/A | #VALUE! | #N/A
14 | 260.74 | 148.6395 | #N/A | #N/A | #VALUE! | #N/A
15 | 280.72 | 159.3361 | #N/A | #N/A | #VALUE! | #N/A
16 | 300.7 | 169.9659 | #N/A | #N/A | #VALUE! | #N/A
17 | 320.68 | 180.5289 | #N/A | #N/A | #VALUE! | #N/A
18 | 340.66 | 191.0252 | #N/A | #N/A | #VALUE! | #N/A
19 | 360.64 | 201.4546 | #N/A | #N/A | #VALUE! | #N/A
20 | 380.62 | 211.8172 | #N/A | #N/A | #VALUE! | #N/A
21 | 400.6 | 222.113 | #N/A | #N/A | #VALUE! | #N/A
22 | 420.58 | 232.3421 | #N/A | #N/A | #VALUE! | #N/A
23 | 440.56 | 242.5043 | #N/A | #N/A | #VALUE! | #N/A
24 | 460.54 | 252.5997 | #N/A | #N/A | #VALUE! | #N/A
25 | 480.52 | 262.6284 | #N/A | #N/A | #VALUE! | #N/A
26 | 500.5 | 272.5902 | #N/A | #N/A | #VALUE! | #N/A
27 | 520.48 | 282.4853 | #N/A | #N/A | #VALUE! | #N/A
28 | 540.46 | 292.3136 | #N/A | #N/A | #VALUE! | #N/A
29 | 560.44 | 302.075 | #N/A | #N/A | #VALUE! | #N/A
30 | 580.42 | 311.7697 | #N/A | #N/A | #VALUE! | #N/A
31 | 600.4 | 321.3976 | #N/A | #N/A | #VALUE! | #N/A
32 | 620.38 | 330.9587 | #N/A | #N/A | #VALUE! | #N/A
33 | 640.36 | 340.453 | #N/A | #N/A | #VALUE! | #N/A
34 | 660.34 | 349.8805 | #N/A | #N/A | #VALUE! | #N/A
35 | 680.32 | 359.2412 | #N/A | #N/A | #VALUE! | #N/A
36 | 700.3 | 368.5351 | #N/A | #N/A | #VALUE! | #N/A
37 | 720.28 | 377.7622 | #N/A | #N/A | #VALUE! | #N/A
38 | 740.26 | 386.9225 | #N/A | #N/A | #VALUE! | #N/A
39 | 760.24 | 396.016 | #N/A | #N/A | #VALUE! | #N/A
40 | 780.22 | 405.0427 | #N/A | #N/A | #VALUE! | #N/A
41 | 800.2 | 414.0027 | #N/A | #N/A | #VALUE! | #N/A
42 | 820.18 | 422.8958 | #N/A | #N/A | #VALUE! | #N/A
43 | 840.16 | 431.7222 | #N/A | #N/A | #VALUE! | #N/A
44 | 860.14 | 440.4817 | #N/A | #N/A | #VALUE! | #N/A
45 | 880.12 | 449.1745 | #N/A | #N/A | #VALUE! | #N/A
46 | 900.1 | 457.8004 | #N/A | #N/A |  | #N/A
47 | 920.08 | 466.3596 | #N/A | #N/A |  | #N/A
48 | 940.06 | 474.8519 | #N/A | #N/A |  | #N/A
49 | 960.04 | 483.2775 | #N/A | #N/A |  | #N/A
50 | 1000 | 499.9283 | #N/A | #N/A |  | #N/A