## Sheet1
Analytical calibration using a weighted quadratic curve fit. | [14 empty] | © Tom O'Haver, Version 1, July 2011, expanded June 2013
| Calibration data |  |  |  |  | Application to unknowns |  |  |  | Weighted intermediate calculations |  |  |  |  | See: | http://terpconnect.umd.edu/~toh/models/CalibrationCurve.html | [8 empty] | 1 | 1 | 0.16667 | 0.027778 | Normalized weights (Copy/Paste to Column A)
Weights | Standards | Instrument readings |  |  |  | Reading of the unknown | Calculated concentration | X | Y | X*Y | X*X | X^3 | X^4 | X^2y | [10 empty] | 1/X | 1/X^2 | 1/Y | 1/Y^2 | 1/X | 1/X^2 | 1/Y | 1/Y^2
1 | 1 | 6 | 0% |  |  |  |  | 1 | 6 | 6 | 1 | 1 | 1 | 6 | [10 empty] | 1 | 1 | 0.16667 | 0.027778 | 1 | 1 | 1 | 1
1 | 2 | 17 | 0% |  |  |  |  | 2 | 17 | 34 | 4 | 8 | 16 | 68 |  | Summary of equations: | [8 empty] | 0.5 | 0.25 | 0.058824 | 0.0034602 | 0.5 | 0.25 | 0.35294 | 0.12457
1 | 3 | 34 | 0% |  |  |  |  | 3 | 34 | 102 | 9 | 27 | 81 | 306 |  | n=number of x,y data points | [8 empty] | 0.33333 | 0.11111 | 0.029412 | 0.00086505 | 0.33333 | 0.11111 | 0.17647 | 0.031142
1 | 4 | 57 | 0% |  |  |  |  | 4 | 57 | 228 | 16 | 64 | 256 | 912 |  | sumx=?x | [8 empty] | 0.25 | 0.0625 | 0.017544 | 0.00030779 | 0.25 | 0.0625 | 0.10526 | 0.01108
0 | 5 | 70 | 10.52% |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | sumy=?y | [8 empty] | 0.2 | 0.04 | 0.014286 | 0.00020408 | 0.2 | 0.04 | 0.085714 | 0.0073469
1 | 6 | 121 | 0% |  |  |  |  | 6 | 121 | 726 | 36 | 216 | 1296 | 4356 |  | sumxy=?x*y | [8 empty] | 0.16667 | 0.027778 | 0.0082645 | 6.8301e-05 | 0.16667 | 0.027778 | 0.049587 | 0.0024588
1 | 7 | 162 | 0% |  |  |  |  | 7 | 162 | 1134 | 49 | 343 | 2401 | 7938 |  | sumx2=?x*x | [8 empty] | 0.14286 | 0.020408 | 0.0061728 | 3.8104e-05 | 0.14286 | 0.020408 | 0.037037 | 0.0013717
1 | 8 | 209 | 0% |  |  |  |  | 8 | 209 | 1672 | 64 | 512 | 4096 | 13376 |  | sumx3=?x^3 | [8 empty] | 0.125 | 0.015625 | 0.0047847 | 2.2893e-05 | 0.125 | 0.015625 | 0.028708 | 0.00082416
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | sumx4=?x^4 | [12 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | sumx2y=?(x^2)*y | [12 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | D=n*sumx2*sumx4+2*sumx*sumx2*sumx3-sumx2^3-sumx^2*sumx4-n*sumx3^2 | [12 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | a=(n*sumx2*sumx2y+sumx*sumx3*sumy+sumx*sumx2*sumxy-sumx2^2*sumy-sumx^2*sumx2y-n*sumx3*sumxy)/D | [12 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | b=(n*sumx4*sumxy+sumx*sumx2*sumx2y+sumx2*sumx3*sumy-sumx2^2*sumxy-sumx*sumx4*sumy-n*sumx3*sumx2y)/D | [12 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | c=(sumx2*sumx4*sumy+sumx2*sumx3*sumxy+sumx*sumx3*sumx2y-sumx2^2*sumx2y-sumx*sumx4*sumxy-sumx3^2*sumy)/D | [12 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [14 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [14 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Calculations of the coefficients a,b, and c of the best-fit parabola y=ax^2+bx+c | [8 empty] | Note: The if( ) functions in some of the cells |  |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | sums | sumx | sumy | sumxy | sumx2 | ssy | sumx4 | sumx2y |  | are not part of the actual numerical calculation. |  |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ?X | ?Y | ?(X*Y) | ?(X*X) | ?(X^3) | ?(X^4) | ?(X^2)*y |  | Their purpose is simply to blank out or zero |  |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 31 | 606 | 3902 | 179 | 1171 | 8147 | 26962 |  | out cells that are not being used at the moment |  |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n | 7 | (number of points (n) | [11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [14 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | D | 40656 | Denominator (D) | [11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | a= | 3 | (coefficient of the X2 term; equals zero if best-fit line is straight) | [11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | b= | 2 | (coefficient of the X term, like the slope) | [11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | c= | 1 | (the constant, like the intercept) | [11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  |  | R2 = | 1 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | y= | 3 | X^2 | + | 2 | x | + | 1 | <== Equation of best fit. | [5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [14 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [14 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Calculation of R2 | [12 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ?(Y-meany)^2 | PredY |  | ?(Y-PredY)^2 |  | ?(meanY-PredY)^2 |  | R2 =1-(?(Y-PredY)^2/?(meanY-PredY)^2) | [5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 6491.7551 | 6 |  | 0 |  | 6491.7551 |  | 1 | [5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 4840.1837 | 17 |  | 0 |  | 4840.1837 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2763.7551 | 34 |  | 0 |  | 2763.7551 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 874.4694 | 57 |  | 0 |  | 874.4694 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 274.6122 | 86 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1185.3265 | 121 |  | 0 |  | 1185.3265 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 5689.4694 | 162 |  | 0 |  | 5689.4694 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 14988.7551 | 209 |  | 0 |  | 14988.7551 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[16 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[16 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[16 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[16 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[16 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[16 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[16 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[16 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[16 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[16 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[16 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[16 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[16 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[16 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[16 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[16 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[16 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[16 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[16 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[16 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[16 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[16 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[16 empty] | 37108.3265 | 692 |  | 0 |  | 36833.7143 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
© Tom O'Haver, Version 2.1, July 2011, expanded June 2013
Rights granted for educational purposes
http://terpconnect.umd.edu/~toh/models/CalibrationCurve.html
Note on A5: Tom O'Haver: Type in values or Copy/Paste from Columns AK - AN.

## Sheet2
Data for fitted curve plot |  |  | Residual calculations
point | X | Ypredicted | Concentrations of the standards | Predicted readings | Actual-predicted | Residuals (% of max reading)
1 | 1 | 6 | 1 | 6 | 0 | 0
2 | 1.14 | 7.1788 | 2 | 17 | 0 | 0
3 | 1.28 | 8.4752 | 3 | 34 | 0 | 0
4 | 1.42 | 9.8892 | 4 | 57 | 0 | 0
5 | 1.56 | 11.4208 | 0 | 1 | -69 | 0.33014
6 | 1.7 | 13.07 | 6 | 121 | 0 | 0
7 | 1.84 | 14.8368 | 7 | 162 | 0 | 0
8 | 1.98 | 16.7212 | 8 | 209 | 0 | 0
9 | 2.12 | 18.7232 | #N/A | #N/A | #VALUE! | #N/A
10 | 2.26 | 20.8428 | #N/A | #N/A | #VALUE! | #N/A
11 | 2.4 | 23.08 | #N/A | #N/A | #VALUE! | #N/A
12 | 2.54 | 25.4348 | #N/A | #N/A | #VALUE! | #N/A
13 | 2.68 | 27.9072 | #N/A | #N/A | #VALUE! | #N/A
14 | 2.82 | 30.4972 | #N/A | #N/A | #VALUE! | #N/A
15 | 2.96 | 33.2048 | #N/A | #N/A | #VALUE! | #N/A
16 | 3.1 | 36.03 | #N/A | #N/A | #VALUE! | #N/A
17 | 3.24 | 38.9728 | #N/A | #N/A | #VALUE! | #N/A
18 | 3.38 | 42.0332 | #N/A | #N/A | #VALUE! | #N/A
19 | 3.52 | 45.2112 | #N/A | #N/A | #VALUE! | #N/A
20 | 3.66 | 48.5068 | #N/A | #N/A | #VALUE! | #N/A
21 | 3.8 | 51.92 | #N/A | #N/A | #VALUE! | #N/A
22 | 3.94 | 55.4508 | #N/A | #N/A | #VALUE! | #N/A
23 | 4.08 | 59.0992 | #N/A | #N/A | #VALUE! | #N/A
24 | 4.22 | 62.8652 | #N/A | #N/A | #VALUE! | #N/A
25 | 4.36 | 66.7488 | #N/A | #N/A | #VALUE! | #N/A
26 | 4.5 | 70.75 | #N/A | #N/A | #VALUE! | #N/A
27 | 4.64 | 74.8688 | #N/A | #N/A | #VALUE! | #N/A
28 | 4.78 | 79.1052 | #N/A | #N/A | #VALUE! | #N/A
29 | 4.92 | 83.4592 | #N/A | #N/A | #VALUE! | #N/A
30 | 5.06 | 87.9308 | #N/A | #N/A | #VALUE! | #N/A
31 | 5.2 | 92.52 | #N/A | #N/A | #VALUE! | #N/A
32 | 5.34 | 97.2268 | #N/A | #N/A | #VALUE! | #N/A
33 | 5.48 | 102.0512 | #N/A | #N/A | #VALUE! | #N/A
34 | 5.62 | 106.9932 | #N/A | #N/A | #VALUE! | #N/A
35 | 5.76 | 112.0528 | #N/A | #N/A | #VALUE! | #N/A
36 | 5.9 | 117.23 | #N/A | #N/A | #VALUE! | #N/A
37 | 6.04 | 122.5248 | #N/A | #N/A | #VALUE! | #N/A
38 | 6.18 | 127.9372 | #N/A | #N/A | #VALUE! | #N/A
39 | 6.32 | 133.4672 | #N/A | #N/A | #VALUE! | #N/A
40 | 6.46 | 139.1148 | #N/A | #N/A | #VALUE! | #N/A
41 | 6.6 | 144.88 | #N/A | #N/A | #VALUE! | #N/A
42 | 6.74 | 150.7628 | #N/A | #N/A | #VALUE! | #N/A
43 | 6.88 | 156.7632 | #N/A | #N/A | #VALUE! | #N/A
44 | 7.02 | 162.8812 | #N/A | #N/A | #VALUE! | #N/A
45 | 7.16 | 169.1168 | #N/A | #N/A | #VALUE! | #N/A
46 | 7.3 | 175.47 | #N/A | #N/A |  | #N/A
47 | 7.44 | 181.9408 | #N/A | #N/A |  | #N/A
48 | 7.58 | 188.5292 | #N/A | #N/A |  | #N/A
49 | 7.72 | 195.2352 | #N/A | #N/A |  | #N/A
50 | 8 | 209 | #N/A | #N/A |  | #N/A