## Sheet1
Analytical calibration using a simple linear curve fit, with error estimation
| Calibration data | [6 empty] | Application to unknowns
| Concentration of standards | Instrument readings | [5 empty] | Readings of the unknowns | Calculated concentration | Estimated error (σ) | Estimated % relative error
| 0.1 | 1.54 | [5 empty] | 1.54 | 0.13712 | 0.026427 | 19.27%
| 0.2 | 2.03 | [5 empty] | 2.03 | 0.18713 | 0.026953 | 14.4%
| 0.3 | 3.17 | [5 empty] | 3.17 | 0.3035 | 0.028726 | 9.465%
| 0.4 | 3.67 | [5 empty] | 3.67 | 0.35453 | 0.02972 | 8.383%
| 0.5 | 4.89 | [5 empty] | 4.89 | 0.47906 | 0.032601 | 6.805%
| 0.6 | 6.73 | [5 empty] | 6.73 | 0.66687 | 0.037882 | 5.681%
| 0.7 | 6.74 | [5 empty] | 6.74 | 0.66789 | 0.037913 | 5.677%
| 0.8 | 7.87 | [5 empty] | 7.87 | 0.78324 | 0.041556 | 5.306%
| 0.9 | 8.86 | [5 empty] | 8.86 | 0.88429 | 0.044926 | 5.08%
| 1 | 10.35 | [5 empty] | 10.35 | 1.0364 | 0.050235 | 4.847%
|  |  | Standard deviation of the residuals = |  |  |  | 11.78%
|  |  |  | value | Error (σ) | % Error
|  |  | Slope | 9.797 | 0.40744 | 4.159%
|  |  | Intercept | 0.19667 | 0.25281 | 128.5%

## Sheet2
Residual calculations
|  |  |  | Concentrations of the standards | Predicted readings | Actual reading | Actual-predicted | Residuals (% of max reading)
|  |  |  | 0.1 | 1.1764 | 1.54 | -0.36364 | 30.91% |  | ΣX | ΣY | Σ(X*Y) | Σ(X*X) | Σ(Y-Ybar)^2 | Σ(Y-Ypred)^2
X*Y | X*X | (Y-Ybar)^2 | (Y-Ypred)^2 | 0.2 | 2.1561 | 2.03 | 0.12606 | -5.847% | sum (Σ) | 5.5 | 55.85 | 38.8 | 3.85 | 80.2797 | 1.0956
0.154 | 0.01 | 16.362 | 0.13223 | 0.3 | 3.1358 | 3.17 | -0.034242 | 1.092% | number of points (n) | 10 |  |  |  | sdb | sdm
0.406 | 0.04 | 12.638 | 0.015891 | 0.4 | 4.1155 | 3.67 | 0.44545 | -10.82% | average (mean) | 0.55 | 5.585 | 3.88 |  | 0.25281 | 0.40744
0.951 | 0.09 | 5.8322 | 0.0011725 | 0.5 | 5.0952 | 4.89 | 0.20515 | -4.026%
1.468 | 0.16 | 3.6672 | 0.19843 | 0.6 | 6.0748 | 6.73 | -0.65515 | 10.78% | slope | 9.797
2.445 | 0.25 | 0.48302 | 0.042087 | 0.7 | 7.0545 | 6.74 | 0.31455 | -4.459% | intercept | 0.19667 |  |  |  | Standard deviation of the residuals =
4.038 | 0.36 | 1.311 | 0.42922 | 0.8 | 8.0342 | 7.87 | 0.16424 | -2.044%
4.718 | 0.49 | 1.334 | 0.098939 | 0.9 | 9.0139 | 8.86 | 0.15394 | -1.708%
6.296 | 0.64 | 5.2212 | 0.026976 | 1 | 9.9936 | 10.35 | -0.35636 | 3.566%
7.974 | 0.81 | 10.7256 | 0.023697 |  | #VALUE! | 0 | #VALUE!
10.35 | 1 | 22.7052 | 0.127 |  | #VALUE! | 0 | #VALUE! |  | Coefficent of determiniation, r2 |  | 0.98635
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE! |  | Summary of equations:
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE! |  | n=number of x,y data points
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE! |  | sumx=Σx
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE! |  | sumy=Σy
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE! |  | sumxy=Σx*y
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE! |  | sumx2=Σx*x
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE! |  | meanx=sumx/n
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE! |  | meany=sumy/n
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE! |  | slope=(n*sumxy - sumx*sumy) / (n*sumx2 - sumx*sumx)
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE! |  | intercept=meany-(slope*meanx)
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE! |  | ssy=Σ(Y-meany)^2
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE! |  | ssr=Σ(Y-intercept-slope*X)^2
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE! |  | R2 =1-(ssr/ssy)
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE! |  | sdb=standard deviation of intercept=SQRT(ssr/(n-2))*SQRT(sumx2/(n*sumx2 – sumx*sumx))
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE! |  | sdm=standard deviation of slope=SQRT(ssr/(n-2))*SQRT(n/(n*sumx2 – sumx*sumx))
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE! |  | Note: The if( ) functions in some of the cells
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE! |  | are not part of the actual numerical calculation.
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE! |  | Their purpose is simply to blank out or zero
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE! |  | out cells that are not being used at the monent.
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
[5 empty] | #VALUE! | 0 | #VALUE!
[5 empty] | #VALUE! | 0 | #VALUE!
[5 empty] | #VALUE! | 0 | #VALUE!
[5 empty] | #VALUE! | 0 | #VALUE!
[5 empty] | #VALUE! | 0 | #VALUE!
[5 empty] | #VALUE! | 0 | #VALUE!
[5 empty] | #VALUE! | 0 | #VALUE!
[5 empty] | #VALUE! | 0 | #VALUE!
[5 empty] | #VALUE! | 0 | #VALUE!
[5 empty] | #VALUE! | 0 | #VALUE!
[5 empty] | #VALUE! | 0 | #VALUE!
[5 empty] | #VALUE! | 0 | #VALUE!