## Sheet1
Calibration for time-drifting sensor with weighted quadratic fit.
|  | Enter calibration data here | [7 empty] | Application to unknowns | [19 empty] | Calibration curves for each unknown sample |  |  |  |  | 573329933.44 | 0.29861 | 0.55556 | 0.30864 | Normalized weights (Copy/Paste to Column M)
| Date/Time | Pre-calibration | Post-calibration | [9 empty] | Warnings |  |  |  |  | X and Y products for POST calibration | [5 empty] | X and Y products for PRE calibration | [5 empty] | Coefficients for each equation |  |  | Peak of parabola
Weights | Concentration of standards | [6 empty] | X post | X pre | MM-DD-YY HH:MM:SS | Reading of the unknowns | Calculated concentrations | Instrument reading above maximum of calibration curve | Calculated concentration above maximum standard concentration | elapsed time,hours | X | Y | X*Y | X*X | X^3 | X^4 | X^2y | Y | X*Y | X*X | X^3 | X^4 | X^2y | Y | a | b | c | max x | max y | 1/X | 1/X^2 | 1/Y | 1/Y^2 | 1/X | 1/X^2 | 1/Y | 1/Y^2
1 | 1 | 1.83 | 1.8 |  |  |  |  | 1 | 1 | [6 empty] | 1 | 1.8 | 1.8 | 1 | 1 | 1 | 1.8 | 1.8 | 1.83 | 1 | 1 | 1 | 1.83 | 1.83 | [5 empty] | 0.54645 | 0.29861 | 0.55556 | 0.30864 | 9.5311e-10 | 1 | 1 | 1
1 | 2 | 2.59 | 2.4 |  |  |  |  | 2 | 2 | [6 empty] | 2 | 2.4 | 4.8 | 4 | 8 | 16 | 9.6 | 2.4 | 5.18 | 4 | 8 | 16 | 10.36 | 2.59 | [5 empty] | 0.3861 | 0.14907 | 0.41667 | 0.17361 | 6.7343e-10 | 0.49923 | 0.75 | 0.5625
1 | 5 | 4.21 | 4.1 |  |  |  |  | 5 | 5 | [6 empty] | 5 | 4.1 | 20.5 | 25 | 125 | 625 | 102.5 | 4.1 | 21.05 | 25 | 125 | 625 | 105.25 | 4.21 | [5 empty] | 0.23753 | 0.05642 | 0.2439 | 0.059488 | 4.143e-10 | 0.18895 | 0.43902 | 0.19274
1 | 10 | 8.17 | 7.17 |  |  |  |  | 10 | 10 | [6 empty] | 10 | 7.17 | 71.7 | 100 | 1000 | 10000 | 717 | 7.17 | 81.7 | 100 | 1000 | 10000 | 817 | 8.17 | [5 empty] | 0.1224 | 0.014982 | 0.13947 | 0.019452 | 2.1349e-10 | 0.050172 | 0.25105 | 0.063024
1 | 20 | 14.56 | 12.56 |  |  |  |  | 20 | 20 | [6 empty] | 20 | 12.56 | 251.2 | 400 | 8000 | 160000 | 5024 | 12.56 | 291.2 | 400 | 8000 | 160000 | 5824 | 14.56 | [5 empty] | 0.068681 | 0.0047171 | 0.079618 | 0.006339 | 1.1979e-10 | 0.015797 | 0.14331 | 0.020538
1 | 50 | 33.83 | 23.83 |  |  |  |  | 50 | 50 | [6 empty] | 50 | 23.83 | 1191.5 | 2500 | 125000 | 6250000 | 59575 | 23.83 | 1691.5 | 2500 | 125000 | 6250000 | 84575 | 33.83 | [5 empty] | 0.02956 | 0.00087377 | 0.041964 | 0.001761 | 5.1558e-11 | 0.0029262 | 0.075535 | 0.0057055
1 | 100 | 63.14 | 33.14 |  |  |  |  | 100 | 100 | [6 empty] | 100 | 33.14 | 3314 | 10000 | 1000000 | 100000000 | 331400 | 33.14 | 6314 | 10000 | 1000000 | 100000000 | 631400 | 63.14 | [5 empty] | 0.015838 | 0.00025084 | 0.030175 | 0.00091053 | 2.7624e-11 | 0.00084003 | 0.054315 | 0.0029501
1 | 200 | 118.43 | 60.43 |  |  |  |  | 200 | 200 | [6 empty] | 200 | 60.43 | 12086 | 40000 | 8000000 | 1600000000 | 2417200 | 60.43 | 23686 | 40000 | 8000000 | 1600000000 | 4737200 | 118.43 | [5 empty] | 0.0084438 | 7.1298e-05 | 0.016548 | 0.00027384 | 1.4728e-11 | 0.00023877 | 0.029787 | 0.00088724
1 | 500 | 269.2 | 169.2 |  |  |  |  | 500 | 500 | [6 empty] | 500 | 169.2 | 84600 | 250000 | 125000000 | 62500000000 | 42300000 | 169.2 | 134600 | 250000 | 125000000 | 62500000000 | 67300000 | 269.2 | [5 empty] | 0.0037147 | 1.3799e-05 | 0.0059102 | 3.493e-05 | 6.4792e-12 | 4.6212e-05 | 0.010638 | 0.00011317
1 | 1000 | 500.57 | 300.57 |  |  |  |  | 1000 | 1000 | [6 empty] | 1000 | 300.57 | 300570 | 1000000 | 1000000000 | 1000000000000 | 300570000 | 300.57 | 500570 | 1000000 | 1000000000 | 1000000000000 | 500570000 | 500.57 | [5 empty] | 0.0019977 | 3.9909e-06 | 0.003327 | 1.1069e-05 | 3.4844e-12 | 1.3365e-05 | 0.0059886 | 3.5864e-05
[8 empty] | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[5 empty] | Pre-calibration R2 = | 0.99984 | Post-calibration R2 = |  | 0.99814 | [29 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  | #NAME? | hours between pre- and post-calibrations. | [34 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Instructions | [38 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| 1. Enter the concentrations |  | 2. Enter the date/time |  | 3. Enter the date/time and |  |  | 4. The concentrations | [30 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| of the standards into |  | and instrument readings |  | Instrument readings |  |  | of the unknowns are | [30 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| column B of the blue table. |  | of the standards before |  | of each unknown |  |  | calculated in column M | [30 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  | and after the sample run |  | into the yellow table. |  |  | (Calculated concentrations) | [30 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| (To delete a value, |  | into columns C and D. | [35 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| right-click on the cell and | [37 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| click "Clear Contents"). | [37 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[39 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| © Tom O'Haver, Version 1, February 2016 | [37 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| Rights granted for educational purposes | [37 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Warning: Math follows.... | [38 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Summary of equations: |  |  | y= | -4.549e-05 | X^2 | + | 0.34478 | x | + | 2.3526 | [28 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
B28 | n=number of x,y data points |  | y= | -8.3661e-05 | X^2 | + | 0.58066 | x | + | 2.9248 | [28 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
B27 | sumx=Σx | [37 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
C27 | sumy=Σy | [37 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
D27 | sumxy=Σx*y | [37 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
E27 | sumx2=Σx*x | [37 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
F27 | sumx3=Σx^3 | [37 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
G27 | sumx3=Σx^4 | [37 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
H27 | sumx2y=Σ(x^2)*y | [37 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
B30 | D=n*sumx2*sumx4+2*sumx*sumx2*sumx3-sumx2^3-sumx^2*sumx4-n*sumx3^2 | [37 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
B31 | a=(n*sumx2*sumx2y+sumx*sumx3*sumy+sumx*sumx2*sumxy-sumx2^2*sumy-sumx^2*sumx2y-n*sumx3*sumxy)/D | [37 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
B32 | b=(n*sumx4*sumxy+sumx*sumx2*sumx2y+sumx2*sumx3*sumy-sumx2^2*sumxy-sumx*sumx4*sumy-n*sumx3*sumx2y)/D | [37 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
B33 | c=(sumx2*sumx4*sumy+sumx2*sumx3*sumxy+sumx*sumx3*sumx2y-sumx2^2*sumx2y-sumx*sumx4*sumxy-sumx3^2*sumy)/D | [37 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Off-screen calculation are on the right ==>
[18 empty] | Post-calibration | [9 empty] | Pre-calibration
Calculations of the coefficients a,b, and c of the best-fit parabola y=ax^2+bx+c | [12 empty] | Note: The if( ) functions in some of the cells |  |  |  |  | Calculations of the coefficients a,b, and c of the best-fit parabola y=ax^2+bx+c for the LAST calibration (END) | [9 empty] | Calculations of the coefficients a,b, and c of the best-fit parabola y=ax^2+bx+c for the FIRST calibration (START)
sums | sumx |  | sumy | sumxy | sumx2 | ssy | ssr | sumx2y |  |  |  |  | are not part of the actual numerical calculation. |  |  |  |  | sums | sumx | sumy | sumxy | sumx2 | ssy | ssr | sumx2y |  |  | sums | sumx | sumy | sumxy | sumx2 | ssy | ssr | sumx2y
| ΣX |  | ΣY | Σ(X*Y) | Σ(X*X) | Σ(X^3) | Σ(X^4) | Σ(X^2)*y |  |  |  |  | Their purpose is simply to blank out or zero | [5 empty] | ΣX | ΣY | Σ(X*Y) | Σ(X*X) | Σ(X^3) | Σ(X^4) | Σ(X^2)*y |  |  |  | ΣX | ΣY | Σ(X*Y) | Σ(X*X) | Σ(X^3) | Σ(X^4) | Σ(X^2)*y
| 1888 |  | 615.2 | 402111.5 | 1303030 | 1134134134 | 1064206420642 | 345684029.9 |  |  |  |  | out cells that are not being used at the moment | [5 empty] | 1888 | 615.2 | 402111.5 | 1303030 | 1134134134 | 1064206420642 | 345684029.9 |  |  |  | 1888 | 1016.53 | 667262.46 | 1303030 | 1134134134 | 1064206420642 | 573329933.44
n | 10 |  | (number of points (n) | [14 empty] | n | 10 | (number of points (n) | [7 empty] | n | 10 | (number of points (n)
D | 5.7873e+17 |  | Denominator (D) | [14 empty] | D | 5.7873e+17 | Denominator (D) | [7 empty] | D | 5.7873e+17 | Denominator (D)
a= | -4.549e-05 |  | (coefficient of the X2 term; equals zero if best-fit line is straight) | [14 empty] | a= | -4.549e-05 | (coefficient of the X2 term; equals zero if best-fit line is straight) | [7 empty] | a= | -8.3661e-05 | (coefficient of the X2 term; equals zero if best-fit line is straight)
b= | 0.34478 |  | (coefficient of the X term, like the slope) | [14 empty] | b= | 0.34478 | (coefficient of the X term, like the slope) | [7 empty] | b= | 0.58066 | (coefficient of the X term, like the slope)
c= | 2.3526 |  | (the constant, like the intercept) | [14 empty] | c= | 2.3526 | (the constant, like the intercept) | [7 empty] | c= | 2.9248 | (the constant, like the intercept)
y= | -4.549e-05 |  | X^2 | + | 0.34478 | x | + | 2.3526 | [6 empty] | Equation of best fit (POST) => |  |  | y= | -4.549e-05 | X^2 | + | 0.34478 | x | + | 2.3526 |  | Equation of best fit (PRE) => | y= | -8.3661e-05 | X^2 | + | 0.58066 | x | + | 2.9248
[19 empty] | Calculation of post-calibration R2 | [9 empty] | Calculation of pre-calibration R2
[19 empty] | Σ(Y-meany)^2 | PredY |  | Σ(Y-PredY)^2 |  | Σ(meanY-PredY)^2 |  |  |  |  | Σ(Y-meany)^2 | PredY |  | Σ(Y-PredY)^2 |  | Σ(meanY-PredY)^2
[19 empty] | 3566.4784 | 2.6973 |  | 0.80523 |  | 3460.1043 |  |  |  |  | 9964.6313 | 3.5054 |  | 2.8071 |  | 9632.9462
[19 empty] | 3495.1744 | 3.042 |  | 0.41216 |  | 3419.6772 |  |  |  |  | 9813.478 | 4.0858 |  | 2.2375 |  | 9519.3508
[19 empty] | 3297.0564 | 4.0754 |  | 0.0006059 |  | 3299.8838 |  |  |  |  | 9495.1382 | 5.8261 |  | 2.6117 |  | 9182.7995
[19 empty] | 2953.9225 | 5.7959 |  | 1.8882 |  | 3105.1772 |  |  |  |  | 8739.0713 | 8.7231 |  | 0.30594 |  | 8635.9622
[19 empty] | 2397.0816 | 9.2301 |  | 11.0885 |  | 2734.2381 |  |  |  |  | 7585.1906 | 14.5047 |  | 0.0030618 |  | 7594.8321
[19 empty] | 1420.5361 | 19.478 |  | 18.94 |  | 1767.5306 |  |  |  |  | 4599.9593 | 31.7489 |  | 4.331 |  | 4886.5824
[19 empty] | 805.4244 | 36.3759 |  | 10.4712 |  | 632.2248 |  |  |  |  | 1483.2512 | 60.1547 |  | 8.9122 |  | 1722.1121
[19 empty] | 1.1881 | 69.4894 |  | 82.0733 |  | 63.5119 |  |  |  |  | 281.4677 | 115.7113 |  | 7.3915 |  | 197.6348
[19 empty] | 11594.9824 | 163.3712 |  | 33.9749 |  | 10373.6674 |  |  |  |  | 28071.9972 | 272.3418 |  | 9.8708 |  | 29134.6618
[19 empty] | 57144.9025 | 301.6449 |  | 1.1554 |  | 57659.9752 |  |  |  |  | 159134.7729 | 499.9284 |  | 0.41167 |  | 158623.2817
[19 empty] | 0 | 0 |  | 0 |  | 0 |  |  |  |  | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0 |  |  |  |  | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0 |  |  |  |  | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0 |  |  |  |  | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0 |  |  |  |  | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0 |  |  |  |  | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0 |  |  |  |  | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0 |  |  |  |  | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0 |  |  |  |  | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0 |  |  |  |  | 0 | 0 |  | 0 |  | 0
[19 empty] | 86676.7468 | 615.2001 |  | 160.8095 |  | 86515.9904 |  |  |  |  | 239168.9578 | 1016.5301 |  | 38.8825 |  | 239130.1635
[23 empty] | R2= | 0.99814 | [8 empty] | R2= | 0.99984
Note on B6: Enter the concentrations of the standards in this column.
Note on C5: Enter the date and time that the pre-calibration was performed, in the format MM-DD-YY HH:MM:SS
Note on C6: Enter the instrument readings of the pre-calibration run in this column..
Note on D5: Enter the date and time that the post-calibration was performed, in the format MM-DD-YY HH:MM:SS
Note on K5: Enter the date and time that the each measurement was performed in this column, in the format MM-DD-YY HH:MM:SS
Note on L5: Enter the instrument readings of each unknowns into this column.
Note on M5: Drift corrected concentrations of the unknowns will be calculated and displayed in this column.

## Sheet2
Post-calibration
Data for fitted curve plot |  |  | Post-calibration Residuals
point | X | Ypredicted | Concentrations of the standards | Predicted readings | Actual-predicted | Residuals (% of max reading)
1 | 1 | 2.6973 | 1 | 2.6973 | 0.89735 | -0.2975%
2 | 35.4483 | 14.5174 | 2 | 3.042 | 0.64199 | -0.2128%
3 | 69.8966 | 26.2294 | 5 | 4.0754 | -0.024615 | 0.00816%
4 | 104.3448 | 37.8336 | 10 | 5.7959 | -1.3741 | 0.4555%
5 | 138.7931 | 49.3297 | 20 | 9.2301 | -3.3299 | 1.104%
6 | 173.2414 | 60.7179 | 50 | 19.478 | -4.352 | 1.443%
7 | 207.6897 | 71.9981 | 100 | 36.3759 | 3.2359 | -1.073%
8 | 242.1379 | 83.1703 | 200 | 69.4894 | 9.0594 | -3.003%
9 | 276.5862 | 94.2346 | 500 | 163.3712 | -5.8288 | 1.932%
10 | 311.0345 | 105.1909 | 1000 | 301.6449 | 1.0749 | -0.3564%
11 | 345.4828 | 116.0393 | 0 | 0 | 0 | -0%
12 | 379.931 | 126.7797 | 0 | 0 | 0 | -0%
13 | 414.3793 | 137.4121 | 0 | 0 | 0 | -0%
14 | 448.8276 | 147.9366 | 0 | 0 | 0 | -0%
15 | 483.2759 | 158.3531 | 0 | 0 | 0 | -0%
16 | 517.7241 | 168.6616 | 0 | 0 | 0 | -0%
17 | 552.1724 | 178.8622 | 0 | 0 | 0 | -0%
18 | 586.6207 | 188.9548 | 0 | 0 | 0 | -0%
19 | 621.069 | 198.9394 | 0 | 0 | 0 | -0%
20 | 655.5172 | 208.8161 | 0 | 0 | 0 | -0%
21 | 689.9655 | 218.5848
22 | 724.4138 | 228.2456
23 | 758.8621 | 237.7984
24 | 793.3103 | 247.2432
25 | 827.7586 | 256.5801
26 | 862.2069 | 265.809
27 | 896.6552 | 274.9299
28 | 931.1034 | 283.9429
29 | 1000 | 301.6449
Pre-calibration
Data for fitted curve plot |  |  | Pre-calibration Residuals
point | X | Ypredicted | Concentrations of the standards | Predicted readings | Actual-predicted | Residuals (% of max reading)
1 | 1 | 3.5054 | 1 | 3.5054 | 1.6754 | -0.5554%
2 | 35.4483 | 23.4033 | 2 | 4.0858 | 1.4958 | -0.4959%
3 | 69.8966 | 43.1025 | 5 | 5.8261 | 1.6161 | -0.5358%
4 | 104.3448 | 62.6033 | 10 | 8.7231 | 0.55312 | -0.1834%
5 | 138.7931 | 81.9054 | 20 | 14.5047 | -0.055334 | 0.01834%
6 | 173.2414 | 101.009 | 50 | 31.7489 | -2.0811 | 0.6899%
7 | 207.6897 | 119.9141 | 100 | 60.1547 | -2.9853 | 0.9897%
8 | 242.1379 | 138.6206 | 200 | 115.7113 | -2.7187 | 0.9013%
9 | 276.5862 | 157.1285 | 500 | 272.3418 | 3.1418 | -1.042%
10 | 311.0345 | 175.4379 | 1000 | 499.9284 | -0.64162 | 0.2127%
11 | 345.4828 | 193.5487 | 0 | 0 | 0 | -0%
12 | 379.931 | 211.461 | 0 | 0 | 0 | -0%
13 | 414.3793 | 229.1747 | 0 | 0 | 0 | -0%
14 | 448.8276 | 246.6898 | 0 | 0 | 0 | -0%
15 | 483.2759 | 264.0064 | 0 | 0 | 0 | -0%
16 | 517.7241 | 281.1245 | 0 | 0 | 0 | -0%
17 | 552.1724 | 298.0439 | 0 | 0 | 0 | -0%
18 | 586.6207 | 314.7649 | 0 | 0 | 0 | -0%
19 | 621.069 | 331.2872 | 0 | 0 | 0 | -0%
20 | 655.5172 | 347.611 | 0 | 0 | 0 | -0%
21 | 689.9655 | 363.7363
22 | 724.4138 | 379.663
23 | 758.8621 | 395.3911
24 | 793.3103 | 410.9207
25 | 827.7586 | 426.2517
26 | 862.2069 | 441.3841
27 | 896.6552 | 456.318
28 | 931.1034 | 471.0534
29 | 1000 | 499.9284