## Sheet1
Analytical calibration using a simple linear curve fit, with error estimation
| Calibration data | [6 empty] | Application to unknowns
| Instrument readings | Concentration of standards | [5 empty] | Readings of the unknowns | Calculated concentration
| 1.54 | 0.1 | [5 empty] | 1.54 | 0.14275
| 2.03 | 0.2 | [5 empty] | 2.03 | 0.19209
| 3.17 | 0.3 | [5 empty] | 3.17 | 0.30686
| 3.67 | 0.4 | [5 empty] | 3.67 | 0.3572
| 4.89 | 0.5 | [5 empty] | 4.89 | 0.48003
| 6.73 | 0.6 | [5 empty] | 6.73 | 0.66528
| 6.74 | 0.7 | [5 empty] | 6.74 | 0.66628
| 7.87 | 0.8 | [5 empty] | 7.87 | 0.78005
| 8.86 | 0.9 | [5 empty] | 8.86 | 0.87972
| 10.35 | 1 | [5 empty] | 10.35 | 1.0297
|  |  | Standard deviation of the residuals = |  |  |  | 11.55%
|  |  |  | value | Error (σ) | % Error
|  |  | Slope | 0.10068 | 0.0041871 | 4.159%
|  |  | Intercept | -0.012294 | 0.026222 | -213.3%

## Sheet2
Residual calculations
|  |  |  | Concentrations of the standards | Predicted readings | Actual reading | Actual-predicted | Residuals (% of max reading)
|  |  |  | 1.54 | 0.14275 | 0.1 | 0.042752 | -29.95% |  | ΣX | ΣY | Σ(X*Y) | Σ(X*X) | Σ(Y-Ybar)^2 | Σ(Y-Ypred)^2
X*Y | X*X | (Y-Ybar)^2 | (Y-Ypred)^2 | 2.03 | 0.19209 | 0.2 | -0.007915 | 4.121% | sum (Σ) | 55.85 | 5.5 | 38.8 | 392.2019 | 0.825 | 0.011259
0.154 | 2.3716 | 0.2025 | 0.0018277 | 3.17 | 0.30686 | 0.3 | 0.0068595 | -2.235% | number of points (n) | 10 |  |  |  | sdb | sdm
0.406 | 4.1209 | 0.1225 | 6.2647e-05 | 3.67 | 0.3572 | 0.4 | -0.042801 | 11.98% | average (mean) | 5.585 | 0.55 | 3.88 |  | 0.026222 | 0.0041871
0.951 | 10.0489 | 0.0625 | 4.7052e-05 | 4.89 | 0.48003 | 0.5 | -0.019972 | 4.161%
1.468 | 13.4689 | 0.0225 | 0.0018319 | 6.73 | 0.66528 | 0.6 | 0.065278 | -9.812% | slope | 0.10068
2.445 | 23.9121 | 0.0025 | 0.00039889 | 6.74 | 0.66628 | 0.7 | -0.033715 | 5.06% | intercept | -0.012294 |  |  |  | Standard deviation of the residuals =
4.038 | 45.2929 | 0.0025 | 0.0042612 | 7.87 | 0.78005 | 0.8 | -0.019948 | 2.557%
4.718 | 45.4276 | 0.0225 | 0.0011367 | 8.86 | 0.87972 | 0.9 | -0.020275 | 2.305%
6.296 | 61.9369 | 0.0625 | 0.00039791 | 10.35 | 1.0297 | 1 | 0.029737 | -2.888%
7.974 | 78.4996 | 0.1225 | 0.00041109 |  | #VALUE! | 0 | #VALUE!
10.35 | 107.1225 | 0.2025 | 0.00088428 |  | #VALUE! | 0 | #VALUE! |  | Coefficent of determiniation, r2 |  | 0.98635
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE! |  | Summary of equations:
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE! |  | n=number of x,y data points
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE! |  | sumx=Σx
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE! |  | sumy=Σy
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE! |  | sumxy=Σx*y
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE! |  | sumx2=Σx*x
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE! |  | meanx=sumx/n
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE! |  | meany=sumy/n
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE! |  | slope=(n*sumxy - sumx*sumy) / (n*sumx2 - sumx*sumx)
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE! |  | intercept=meany-(slope*meanx)
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE! |  | ssy=Σ(Y-meany)^2
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE! |  | ssr=Σ(Y-intercept-slope*X)^2
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE! |  | R2 =1-(ssr/ssy)
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE! |  | sdb=standard deviation of intercept=SQRT(ssr/(n-2))*SQRT(sumx2/(n*sumx2 – sumx*sumx))
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE! |  | sdm=standard deviation of slope=SQRT(ssr/(n-2))*SQRT(n/(n*sumx2 – sumx*sumx))
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE! |  | Note: The if( ) functions in some of the cells
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE! |  | are not part of the actual numerical calculation.
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE! |  | Their purpose is simply to blank out or zero
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE! |  | out cells that are not being used at the monent.
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
0 | 0 | 0 | 0 |  | #VALUE! | 0 | #VALUE!
[5 empty] | #VALUE! | 0 | #VALUE!
[5 empty] | #VALUE! | 0 | #VALUE!
[5 empty] | #VALUE! | 0 | #VALUE!
[5 empty] | #VALUE! | 0 | #VALUE!
[5 empty] | #VALUE! | 0 | #VALUE!
[5 empty] | #VALUE! | 0 | #VALUE!
[5 empty] | #VALUE! | 0 | #VALUE!
[5 empty] | #VALUE! | 0 | #VALUE!
[5 empty] | #VALUE! | 0 | #VALUE!
[5 empty] | #VALUE! | 0 | #VALUE!
[5 empty] | #VALUE! | 0 | #VALUE!
[5 empty] | #VALUE! | 0 | #VALUE!