## Sheet1
Analytical calibration using a reversed cubic curve fit
| Calibration data | [7 empty] | Application to unknowns
| Concentrations of the standards | Instrument readings | Y^2 | Y^3 | Accuracy | Error |  |  | Reading of the unknown | Calculated concentration
| 1 | 0.45 | 0.2025 | 0.091125 | -44.13% | -144.1%
| 2 | 2.37 | 5.6169 | 13.3121 | 117.8% | 17.75%
| 5 | 4.44 | 19.7136 | 87.5284 | 107.8% | 7.817%
| 10 | 7.99 | 63.8401 | 510.0824 | 106.5% | 6.475%
| 20 | 14.24 | 202.7776 | 2887.553 | 100.3% | 0.2687%
| 50 | 33.81 | 1143.1161 | 38648.7553 | 101.4% | 1.402%
| 100 | 62.74 | 3936.3076 | 246963.9388 | 99.03% | -0.9703%
| 200 | 118.39 | 14016.1921 | 1659376.9827 | 100.1% | 0.1383%
| 500 | 268.41 | 72043.9281 | 19337310.7413 | 100% | -0.002554%
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0 |  |  | StdDev = | 29.28%
|  |  | 0 | 0 |  |  | R2= | 0.99998
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  | © Tom O'Haver, October 2008, expanded June 2013 | [8 empty] | #REF! | #REF!
|  | Rights granted for educational purposes | [8 empty] | #REF! | #REF!
[11 empty] | #REF! | #REF!
Instructions
| 1. Enter the concentrations |  |  |  | 2. Enter the |  | (To delete a value, right-click |  | 3. The concentrations |  | 4.The last two columns
| of the standards and their |  |  |  | instrument readings |  | on the cell and click |  | of the unknowns are |  | lists the uncertainties
| instrument readings |  |  |  | of the unknowns and their |  | the Clear Contents). |  | calculated in column L |  | of the calculated
| into the blue table. |  |  |  | uncertainties (if known) |  |  |  | (Calculated concentrations) |  | concentrations.
into the yellow table.
Note: The if( ) functions in some of the cells
are not part of the actual numerical calculation.
Their purpose is simply to blank out or zero
out cells that are not being used at the moment.

## Sheet2
Data for fitted curve plot |  |  | Residual calculations |  |  |  | Uncertainty calculations
point | Instrument readings | C predicted | readings of the standards | Predicted conc | Actual-predicted | Residuals (% of max reading) | Instrument reading + uncertainiy | Calculated concentration | Instrument reading - uncertainiy | Calculated concentration | Concentration uncertainty
1 | 0.45 | -0.44131 | 0.45 | -0.44131 | 1.4413 | -0.2883% | #REF! | #REF! | #REF! | #REF! | #REF!
2 | 7.5016 | 9.9205 | 2.37 | 2.355 | -0.355 | 0.071% | #REF! | #REF! | #REF! | #REF! | #REF!
3 | 14.5532 | 20.53 | 4.44 | 5.3908 | -0.39083 | 0.07817% | #REF! | #REF! | #REF! | #REF! | #REF!
4 | 21.6047 | 31.3793 | 7.99 | 10.6475 | -0.64748 | 0.1295% | #REF! | #REF! | #REF! | #REF! | #REF!
5 | 28.6563 | 42.4602 | 14.24 | 20.0537 | -0.053734 | 0.01075% | #REF! | #REF! | #REF! | #REF! | #REF!
6 | 35.7079 | 53.7649 | 33.81 | 50.7008 | -0.70075 | 0.1402% | #REF! | #REF! | #REF! | #REF! | #REF!
7 | 42.7595 | 65.2853 | 62.74 | 99.0297 | 0.97032 | -0.1941% | #REF! | #REF! | #REF! | #REF! | #REF!
8 | 49.8111 | 77.0134 | 118.39 | 200.2766 | -0.2766 | 0.05532% | #REF! | #REF! | #REF! | #REF! | #REF!
9 | 56.8626 | 88.9412 | 268.41 | 499.9872 | 0.012771 | -0.002554% | #REF! | #REF! | #REF! | #REF! | #REF!
10 | 63.9142 | 101.0608 | 0 | -1.094 | 1.094 | -0.2188% | #REF! | #REF! | #REF! | #REF! | #REF!
11 | 70.9658 | 113.3641 | 0 | -1.094 | 1.094 | -0.2188% | #REF! | #REF! | #REF! | #REF! | #REF!
12 | 78.0174 | 125.8431 | 0 | -1.094 | 1.094 | -0.2188% | #REF! | #REF! | #REF! | #REF! | #REF!
13 | 85.0689 | 138.4899 | 0 | -1.094 | 1.094 | -0.2188% | #REF! | #REF! | #REF! | #REF! | #REF!
14 | 92.1205 | 151.2964 | 0 | -1.094 | 1.094 | -0.2188% | #REF! | #REF! | #REF! | #REF! | #REF!
15 | 99.1721 | 164.2546 | 0 | -1.094 | 1.094 | -0.2188% | #REF! | #REF! | #REF! | #REF! | #REF!
16 | 106.2237 | 177.3566 | 0 | -1.094 | 1.094 | -0.2188% | #REF! | #REF! | #REF! | #REF! | #REF!
17 | 113.2753 | 190.5944 | 0 | -1.094 | 1.094 | -0.2188% | #REF! | #REF! | #REF! | #REF! | #REF!
18 | 120.3268 | 203.9599 | 0 | -1.094 | 1.094 | -0.2188% | #REF! | #REF! | #REF! | #REF! | #REF!
19 | 127.3784 | 217.4452 | 0 | -1.094 | 1.094 | -0.2188% | #REF! | #REF! | #REF! | #REF! | #REF!
20 | 134.43 | 231.0423 | 0 | -1.094 | 1.094 | -0.2188% | #REF! | #REF! | #REF! | #REF! | #REF!
21 | 141.4816 | 244.7431 | 0 | -1.094 | 1.094 | -0.2188% | #REF! | #REF! | #REF! | #REF! | #REF!
22 | 148.5332 | 258.5397 | 0 | -1.094 | 1.094 | -0.2188% | #REF! | #REF! | #REF! | #REF! | #REF!
23 | 155.5847 | 272.4241 | 0 | -1.094 | 1.094 | -0.2188% | #REF! | #REF! | #REF! | #REF! | #REF!
24 | 162.6363 | 286.3883 | 0 | -1.094 | 1.094 | -0.2188% | #REF! | #REF! | #REF! | #REF! | #REF!
25 | 169.6879 | 300.4242 | 0 | -1.094 | 1.094 | -0.2188% | #REF! | #REF! | #REF! | #REF! | #REF!
26 | 176.7395 | 314.524 | 0 | -1.094 | 1.094 | -0.2188% | #REF! | #REF! | #REF! | #REF! | #REF!
27 | 183.7911 | 328.6795 | 0 | -1.094 | 1.094 | -0.2188% | #REF! | #REF! | #REF! | #REF! | #REF!
28 | 190.8426 | 342.8829 | 0 | -1.094 | 1.094 | -0.2188% | #REF! | #REF! | #REF! | #REF! | #REF!
29 | 197.8942 | 357.126 | 0 | -1.094 | 1.094 | -0.2188% | #REF! | #REF! | #REF! | #REF! | #REF!
30 | 204.9458 | 371.4009 | 0 | -1.094 | 1.094 | -0.2188% | #REF! | #REF! | #REF! | #REF! | #REF!
31 | 211.9974 | 385.6997 | 0 | -1.094 | 1.094 | -0.2188% | #REF! | #REF! | #REF! | #REF! | #REF!
32 | 219.0489 | 400.0142 | 0 | -1.094 | 1.094 | -0.2188% | #REF! | #REF! | #REF! | #REF! | #REF!
33 | 226.1005 | 414.3366 | 0 | -1.094 | 1.094 | -0.2188% | #REF! | #REF! | #REF! | #REF! | #REF!
34 | 233.1521 | 428.6588 | 0 | -1.094 | 1.094 | -0.2188% | #REF! | #REF! | #REF! | #REF! | #REF!
35 | 240.2037 | 442.9728 | 0 | -1.094 | 1.094 | -0.2188% | #REF! | #REF! | #REF! | #REF! | #REF!
36 | 247.2553 | 457.2707 | 0 | -1.094 | 1.094 | -0.2188% | #REF! | #REF! | #REF! | #REF! | #REF!
37 | 254.3068 | 471.5444 | 0 | -1.094 | 1.094 | -0.2188% | #REF! | #REF! | #REF! | #REF! | #REF!
29 | 268.41 | 499.9872 | 0 | -1.094 | 1.094 | -0.2188% | #REF! | #REF! | #REF! | #REF! | #REF!
[7 empty] | #REF! | #REF! | #REF! | #REF! | #REF!
[7 empty] | #REF! | #REF! | #REF! | #REF! | #REF!
[7 empty] | #REF! | #REF! | #REF! | #REF! | #REF!
[7 empty] | #REF! | #REF! | #REF! | #REF! | #REF!
[7 empty] | #REF! | #REF! | #REF! | #REF! | #REF!
[7 empty] | #REF! | #REF! | #REF! | #REF! | #REF!
[7 empty] | #REF! | #REF! | #REF! | #REF! | #REF!
[7 empty] | #REF! | #REF! | #REF! | #REF! | #REF!
[7 empty] | #REF! | #REF! | #REF! | #REF! | #REF!
[7 empty] | #REF! | #REF! | #REF! | #REF! | #REF!
[7 empty] | #REF! | #REF! | #REF! | #REF! | #REF!
[7 empty] | #REF! | #REF! | #REF! | #REF! | #REF!

## Sheet3
|  |  | LINEST function array for a calibration with number of points = |  |  |  |  | 9
LINEST(Sheet1.B6:B16;Sheet1.C6:E16;1;1)
Statistics results table
[5 empty] | number of points | a | b | c | d
last row of Xs and Ys |  |  |  |  | 9 | -3.8008e-06 | 0.0025763 | 1.4492 | -1.094 | Coefficients
9 | -0.031824 | 0.46374 | -0.56777 | 1.1645 |  | 1.3181e-06 | 0.00048892 | 0.039366 | 0.52239 | Standard deviations
| 0 | 0 | 0 | 0 |  | 0.99998 | 0.92602 |  |  | R2, sigma-y
| 1 | 0 | #N/A | #N/A |  | 83735.1056 | 5 |  |  | F, dF
| #N/A | 0 | #N/A | #N/A |  | 215409.7125 | 4.2875 |  |  | Ssreg, Ssresid
| 49 | 0 | #N/A | #N/A
10 | -0.0049129 | 0.13785 | 0.38866 | 0.69084
| 0.0037488 | 0.081102 | 0.44682 | 0.58862
| 0.99913 | 0.45853 | #N/A | #N/A
| 382.075 | 1 | #N/A | #N/A
| 240.9898 | 0.21025 | #N/A | #N/A
11 | -0.0049129 | 0.13785 | 0.38866 | 0.69084
| 0.0037488 | 0.081102 | 0.44682 | 0.58862
| 0.99913 | 0.45853 | #N/A | #N/A
| 382.075 | 1 | #N/A | #N/A
| 240.9898 | 0.21025 | #N/A | #N/A
12 | -3.8806e-05 | 0.0073557 | 1.292 | -0.44878
| 7.0739e-05 | 0.0065837 | 0.15054 | 0.66006
| 0.99976 | 0.80374 | #N/A | #N/A
| 4117.1296 | 3 | #N/A | #N/A
| 7978.9192 | 1.938 | #N/A | #N/A
13 | -2.4375e-05 | 0.006053 | 1.3188 | -0.52615
| 9.5171e-06 | 0.0016416 | 0.066979 | 0.47393
| 0.99994 | 0.70099 | #N/A | #N/A
| 23206.7538 | 4 | #N/A | #N/A
| 34210.0345 | 1.9655 | #N/A | #N/A
14 | -3.8008e-06 | 0.0025763 | 1.4492 | -1.094
| 1.3181e-06 | 0.00048892 | 0.039366 | 0.52239
| 0.99998 | 0.92602 | #N/A | #N/A
| 83735.1056 | 5 | #N/A | #N/A
| 215409.7125 | 4.2875 | #N/A | #N/A
15 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
16 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
17 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
18 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
19 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
20 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
21 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
22 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
23 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
24 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
25 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
26 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
27 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
28 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
29 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
30 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
31 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
32 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
33 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
34 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
35 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
36 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
37 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
38 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
39 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
40 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
41 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
42 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!