## Sheet1
Analytical calibration using a quadratic curve fit. | [17 empty] | © Tom O'Haver, Version 2.1, July 2011, expanded June 2013
| Calibration data | [5 empty] | Application to unknowns | [10 empty] | See: | http://terpconnect.umd.edu/~toh/models/CalibrationCurve.html
|  |  | accuracy | % error
| Standards | Instrument readings | 108.3% | -8.339% |  |  | Reading of the unknown | Calculated concentration | X | Y | X*Y | X*X | X^3 | X^4 | X^2y | #VALUE! | #NAME?
| 1 | 0.8 | 100.7% | -0.7446% |  |  |  |  | 1 | 0.8 | 0.8 | 1 | 1 | 1 | 0.8 | 0.0069545 | 0.007446 | Warning: Messy math follows.
| 2 | 2 | 95.78% | 4.217% |  |  |  |  | 2 | 2 | 4 | 4 | 8 | 16 | 8 | 5.5442e-05 | 0.042174 | Summary of equations:
| 3 | 3 | 95.9% | 4.102% |  |  |  |  | 3 | 3 | 9 | 9 | 27 | 81 | 27 | 0.0017786 | 0.04102 | B28 | n=number of x,y data points
| 4 | 4 | 99.05% | 0.9486% |  |  |  |  | 4 | 4 | 16 | 16 | 64 | 256 | 64 | 0.0016827 | 0.0094865 | B27 | sumx=?x
| 5 | 5 | 102.5% | -2.472% |  |  |  |  | 5 | 5 | 25 | 25 | 125 | 625 | 125 | 8.9993e-05 | 0.024718 | C27 | sumy=?y
| 6 | 5.88 | 103.1% | -3.114% |  |  |  |  | 6 | 5.88 | 35.28 | 36 | 216 | 1296 | 211.68 | 0.00061096 | 0.031145 | D27 | sumxy=?x*y
| 7 | 6.5 | 104.9% | -4.949% |  |  |  |  | 7 | 6.5 | 45.5 | 49 | 343 | 2401 | 318.5 | 0.00097 | 0.049492 | E27 | sumx2=?x*x
| 8 | 7 | 96.74% | 3.258% |  |  |  |  | 8 | 7 | 56 | 64 | 512 | 4096 | 448 | 0.0024494 | 0.032583 | F27 | sumx3=?x^3
| 9 | 7.1 | 95.28% | 4.723% |  |  |  |  | 9 | 7.1 | 63.9 | 81 | 729 | 6561 | 575.1 | 0.0010616 | 0.04723 | G27 | sumx3=?x^4
| 10 | 7.3 | [6 empty] | 10 | 7.3 | 73 | 100 | 1000 | 10000 | 730 | 0.0022307 | #VALUE! | H27 | sumx2y=?(x^2)*y
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | 0 | B30 | D=n*sumx2*sumx4+2*sumx*sumx2*sumx3-sumx2^3-sumx^2*sumx4-n*sumx3^2
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | 0 | B31 | a=(n*sumx2*sumx2y+sumx*sumx3*sumy+sumx*sumx2*sumxy-sumx2^2*sumy-sumx^2*sumx2y-n*sumx3*sumxy)/D
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | 0 | B32 | b=(n*sumx4*sumxy+sumx*sumx2*sumx2y+sumx2*sumx3*sumy-sumx2^2*sumxy-sumx*sumx4*sumy-n*sumx3*sumx2y)/D
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | 0 | B33 | c=(sumx2*sumx4*sumy+sumx2*sumx3*sumxy+sumx*sumx3*sumx2y-sumx2^2*sumx2y-sumx*sumx4*sumxy-sumx3^2*sumy)/D
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | 0 | Calculations of the coefficients a,b, and c of the best-fit parabola y=ax^2+bx+c | [8 empty] | Note: The if( ) functions in some of the cells
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | 0 | sums | sumx | sumy | sumxy | sumx2 | ssy | ssr | sumx2y |  | are not part of the actual numerical calculation.
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | 0 |  | ?X | ?Y | ?(X*Y) | ?(X*X) | ?(X^3) | ?(X^4) | ?(X^2)*y |  | Their purpose is simply to blank out or zero
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | 0 |  | 55 | 48.58 | 328.48 | 385 | 3025 | 25333 | 2508.08 |  | out cells that are not being used at the moment
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | 0 | n | 10 | (number of points (n)
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | 0 | D | 435600 | Denominator (D)
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | 0 | a= | -0.069015 | (coefficient of the X2 term; equals zero if best-fit line is straight)
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | b= | 1.5021 | (coefficient of the X term, like the slope)
[5 empty] | Average deviation of standards: | 3.687% |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | c= | -0.74633 | (the constant, like the intercept)
[5 empty] | R2 = | 0.99761 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | y= | -0.069015 | X^2 | + | 1.5021 | x | + | -0.74633 | <== Equation of best fit.
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | Calculation of R2
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | ?(Y-meany)^2 | PredY |  | ?(Y-PredY)^2 |  | ?(meanY-PredY)^2 |  | R2 =1-(?(Y-PredY)^2/?(meanY-PredY)^2)
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 16.4674 | 0.68673 |  | 0.012831 |  | 17.3995 |  | 0.99761
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 8.1682 | 1.9818 |  | 0.00033279 |  | 8.2728
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 3.4522 | 3.1388 |  | 0.019254 |  | 2.9558
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0.73616 | 4.1577 |  | 0.024878 |  | 0.49038
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0.020164 | 5.0387 |  | 0.0014951 |  | 0.03264
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 1.0445 | 5.7816 |  | 0.0096873 |  | 0.85299
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 2.6962 | 6.3865 |  | 0.012893 |  | 2.3362
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 4.5882 | 6.8533 |  | 0.02152 |  | 3.9812
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 5.0266 | 7.1821 |  | 0.0067439 |  | 5.4015
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 5.9634 | 7.3729 |  | 0.0053157 |  | 6.3248
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0
[19 empty] | 0 | 0 |  | 0 |  | 0
[19 empty] | 48.1628 | 48.58 |  | 0.11495 |  | 48.0478
© Tom O'Haver, Version 2.1, July 2011, expanded June 2013
Rights granted for educational purposes
http://terpconnect.umd.edu/~toh/models/CalibrationCurve.html

## Sheet2
Data for fitted curve plot |  |  | Residual calculations
point | X | Ypredicted | Concentrations of the standards | Predicted readings | Actual-predicted | Residuals (% of max reading)
1 | 1 | 0.68673 | 1 | 0.68673 | -0.11327 | 0.015363
2 | 1.18 | 0.93002 | 2 | 1.9818 | -0.018242 | 0.0024743
3 | 1.36 | 1.1688 | 3 | 3.1388 | 0.13876 | -0.01882
4 | 1.54 | 1.4032 | 4 | 4.1577 | 0.15773 | -0.021393
5 | 1.72 | 1.6331 | 5 | 5.0387 | 0.038667 | -0.0052444
6 | 1.9 | 1.8585 | 6 | 5.7816 | -0.098424 | 0.013349
7 | 2.08 | 2.0794 | 7 | 6.3865 | -0.11355 | 0.0154
8 | 2.26 | 2.2959 | 8 | 6.8533 | -0.1467 | 0.019897
9 | 2.44 | 2.5078 | 9 | 7.1821 | 0.082121 | -0.011138
10 | 2.62 | 2.7154 | 10 | 7.3729 | 0.072909 | -0.0098888
11 | 2.8 | 2.9184 |  |  | #VALUE!
12 | 2.98 | 3.117 |  |  | #VALUE!
13 | 3.16 | 3.3111 |  |  | #VALUE!
14 | 3.34 | 3.5007 |  |  | #VALUE!
15 | 3.52 | 3.6858 |  |  | #VALUE!
16 | 3.7 | 3.8665 |  |  | #VALUE!
17 | 3.88 | 4.0427 |  |  | #VALUE!
18 | 4.06 | 4.2145 |  |  | #VALUE!
19 | 4.24 | 4.3817 |  |  | #VALUE!
20 | 4.42 | 4.5445 |  |  | #VALUE!
21 | 4.6 | 4.7029 |  |  | #VALUE!
22 | 4.78 | 4.8567 |  |  | #VALUE!
23 | 4.96 | 5.0061 |  |  | #VALUE!
24 | 5.14 | 5.151 |  |  | #VALUE!
25 | 5.32 | 5.2914 |  |  | #VALUE!
26 | 5.5 | 5.4274 |  |  | #VALUE!
27 | 5.68 | 5.5589 |  |  | #VALUE!
28 | 5.86 | 5.6859 |  |  | #VALUE!
29 | 6.04 | 5.8084 |  |  | #VALUE!
30 | 6.22 | 5.9265 |  |  | #VALUE!
31 | 6.4 | 6.0401 |  |  | #VALUE!
32 | 6.58 | 6.1492 |  |  | #VALUE!
33 | 6.76 | 6.2539 |  |  | #VALUE!
34 | 6.94 | 6.3541 |  |  | #VALUE!
35 | 7.12 | 6.4498 |  |  | #VALUE!
36 | 7.3 | 6.541 |  |  | #VALUE!
37 | 7.48 | 6.6278 |  |  | #VALUE!
38 | 7.66 | 6.7101 |  |  | #VALUE!
39 | 7.84 | 6.7879 |  |  | #VALUE!
40 | 8.02 | 6.8612 |  |  | #VALUE!
41 | 8.2 | 6.9301 |  |  | #VALUE!
42 | 8.38 | 6.9945 |  |  | #VALUE!
43 | 8.56 | 7.0544 |  |  | #VALUE!
44 | 8.74 | 7.1099 |  |  | #VALUE!
45 | 8.92 | 7.1609 |  |  | #VALUE!
46 | 9.1 | 7.2074
47 | 9.28 | 7.2495
48 | 9.46 | 7.287
49 | 9.64 | 7.3201
50 | 10 | 7.3729