## Sheet1
Analytical calibration using a weighted quadratic curve fit. | [15 empty] | © Tom O'Haver, February 2016
| Calibration data |  |  |  |  | Application to unknowns |  |  |  |  | Weighted intermediate calculations |  |  |  |  | See: | http://terpconnect.umd.edu/~toh/models/CalibrationCurve.html | [8 empty] | 1 | 1 | 0.5 | 0.25 | Normalized weights (Copy/Paste to Column A)
Weights | Standards | Instrument readings |  |  |  | Reading of the unknown | Calculated concentration | Instructions | X | Y | X*Y | X*X | X^3 | X^4 | X^2y | [10 empty] | 1/X | 1/X^2 | 1/Y | 1/Y^2 | 1/X | 1/X^2 | 1/Y | 1/Y^2
1 | 1 | 3 | -47.51% |  |  |  |  | Enter the concentrations of the standards and their instrument | 1 | 3 | 3 | 1 | 1 | 1 | 3 | [10 empty] | 1 | 1 | 0.33333 | 0.11111 | 1 | 1 | 0.66667 | 0.44444
1 | 2 | 4 | -29.2% |  |  |  |  | readings (e.g. absorbance) into the blue table on the left. | 2 | 4 | 8 | 4 | 8 | 16 | 16 |  | Summary of equations: | [8 empty] | 0.5 | 0.25 | 0.25 | 0.0625 | 0.5 | 0.25 | 0.5 | 0.25
1 | 3 | 5 | -25.36% |  |  |  |  | Leave the rest of the table blank. You must have at least three | 3 | 5 | 15 | 9 | 27 | 81 | 45 |  | n=number of x,y data points | [8 empty] | 0.33333 | 0.11111 | 0.2 | 0.04 | 0.33333 | 0.11111 | 0.4 | 0.16
1 | 4 | 6 | -25.49% |  |  |  |  | points on the calibration curve. Enter the weights for each point | 4 | 6 | 24 | 16 | 64 | 256 | 96 |  | sumx=?x | [8 empty] | 0.25 | 0.0625 | 0.16667 | 0.027778 | 0.25 | 0.0625 | 0.33333 | 0.11111
1 | 5 | 7 | -27.61% |  |  |  |  | into Column A, or Copy and Paste from column AK to AN. To | 5 | 7 | 35 | 25 | 125 | 625 | 175 |  | sumy=?y | [8 empty] | 0.2 | 0.04 | 0.14286 | 0.020408 | 0.2 | 0.04 | 0.28571 | 0.081633
1 | 6 | 7 | -6.344% |  |  |  |  | remove a point, enter a weight of zero. If you have multiple | 6 | 7 | 42 | 36 | 216 | 1296 | 252 |  | sumxy=?x*y | [8 empty] | 0.16667 | 0.027778 | 0.14286 | 0.020408 | 0.16667 | 0.027778 | 0.28571 | 0.081633
1 | 7 | 8 | -12.47% |  |  |  |  | instrument readings for one standard, it's better to enter each | 7 | 8 | 56 | 49 | 343 | 2401 | 392 |  | sumx2=?x*x | [8 empty] | 0.14286 | 0.020408 | 0.125 | 0.015625 | 0.14286 | 0.020408 | 0.25 | 0.0625
1 | 8 | 8 | 1.585% |  |  |  |  | as a separate standard with the same concentration, rather than | 8 | 8 | 64 | 64 | 512 | 4096 | 512 |  | sumx3=?x^3 | [8 empty] | 0.125 | 0.015625 | 0.125 | 0.015625 | 0.125 | 0.015625 | 0.25 | 0.0625
1 | 9 | 9 | -6.058% |  |  |  |  | entering the average. The spreadsheet automatically gives | 9 | 9 | 81 | 81 | 729 | 6561 | 729 |  | sumx4=?x^4 | [8 empty] | 0.11111 | 0.012346 | 0.11111 | 0.012346 | 0.11111 | 0.012346 | 0.22222 | 0.049383
1 | 1 | 2 | 57.67% |  |  |  |  | more weight to standards that have more than one reading. | 1 | 2 | 2 | 1 | 1 | 1 | 2 |  | sumx2y=?(x^2)*y | [8 empty] | 1 | 1 | 0.5 | 0.25 | 1 | 1 | 1 | 1
1 | 2 | 3 | 26.25% | [5 empty] | 2 | 3 | 6 | 4 | 8 | 16 | 12 |  | D=n*sumx2*sumx4+2*sumx*sumx2*sumx3-sumx2^3-sumx^2*sumx4-n*sumx3^2 | [8 empty] | 0.5 | 0.25 | 0.33333 | 0.11111 | 0.5 | 0.25 | 0.66667 | 0.44444
1 | 3 | 4 | 13.86% |  |  |  |  | Enter the instrument readings (e.g. intensity, absorbance, etc) | 3 | 4 | 12 | 9 | 27 | 81 | 36 |  | a=(n*sumx2*sumx2y+sumx*sumx3*sumy+sumx*sumx2*sumxy-sumx2^2*sumy-sumx^2*sumx2y-n*sumx3*sumxy)/D | [8 empty] | 0.33333 | 0.11111 | 0.25 | 0.0625 | 0.33333 | 0.11111 | 0.5 | 0.25
1 | 4 | 4 | 35.4% |  |  |  |  | of the unknowns into the yellow table on the right. You can | 4 | 4 | 16 | 16 | 64 | 256 | 64 |  | b=(n*sumx4*sumxy+sumx*sumx2*sumx2y+sumx2*sumx3*sumy-sumx2^2*sumxy-sumx*sumx4*sumy-n*sumx3*sumx2y)/D | [8 empty] | 0.25 | 0.0625 | 0.25 | 0.0625 | 0.25 | 0.0625 | 0.5 | 0.25
1 | 5 | 6 | -0.3955% |  |  |  |  | have any number of unknowns up to 200. (If you have multiple | 5 | 6 | 30 | 25 | 125 | 625 | 150 |  | c=(sumx2*sumx4*sumy+sumx2*sumx3*sumxy+sumx*sumx3*sumx2y-sumx2^2*sumx2y-sumx*sumx4*sumxy-sumx3^2*sumy)/D | [8 empty] | 0.2 | 0.04 | 0.16667 | 0.027778 | 0.2 | 0.04 | 0.33333 | 0.11111
1 | 6 | 5 | 37.32% |  |  |  |  | instrument readings for one unknown, it's better to enter each | 6 | 5 | 30 | 36 | 216 | 1296 | 180 | [10 empty] | 0.16667 | 0.027778 | 0.2 | 0.04 | 0.16667 | 0.027778 | 0.4 | 0.16
1 | 7 | 7 | 8.848% |  |  |  |  | as a separate unknown, rather than averaging them, so you can | 7 | 7 | 49 | 49 | 343 | 2401 | 343 | [10 empty] | 0.14286 | 0.020408 | 0.14286 | 0.020408 | 0.14286 | 0.020408 | 0.28571 | 0.081633
1 | 8 | 9 | -19.32% |  |  |  |  | see how much variation in calculated concentration is produced | 8 | 9 | 72 | 64 | 512 | 4096 | 576 | Calculations of the coefficients a,b, and c of the best-fit parabola y=ax^2+bx+c | [8 empty] | Note: The if( ) functions in some of the cells | 0.125 | 0.015625 | 0.11111 | 0.012346 | 0.125 | 0.015625 | 0.22222 | 0.049383
1 | 9 | 8 | 12.52% |  |  |  |  | by the variation in instrument reading). | 9 | 8 | 72 | 81 | 729 | 6561 | 648 | sums | sumx | sumy | sumxy | sumx2 | ssy | sumx4 | sumx2y |  | are not part of the actual numerical calculation. | 0.11111 | 0.012346 | 0.125 | 0.015625 | 0.11111 | 0.012346 | 0.25 | 0.0625
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ?X | ?Y | ?(X*Y) | ?(X*X) | ?(X^3) | ?(X^4) | ?(X^2)*y |  | Their purpose is simply to blank out or zero |  |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | The concentrations of the unknowns are automatically calculated | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 90 | 105 | 617 | 570 | 4050 | 30666 | 4231 |  | out cells that are not being used at the moment |  |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | and displayed column K. If you edit the calibration curve, by | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n | 18 | (number of points (n) | [11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | deleting, changing, or adding more calibration standards, the | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [14 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | concentrations are automatically recalculated. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | D | 1330560 | Denominator (D) | [11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | a= | -0.022727 | (coefficient of the X2 term; equals zero if best-fit line is straight) | [11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | You can remove any point from the curve fit by deleting the | 0 | 0 | 0 | 0 | 0 | 0 | 0 | b= | 0.99394 | (coefficient of the X term, like the slope) | [11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | corresponding values in the table. To delete a value; | 0 | 0 | 0 | 0 | 0 | 0 | 0 | c= | 1.5833 | (the constant, like the intercept) | [11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  |  | R2 = | 0.86382 |  |  | right-click on the cell and click "Delete Contents" or "Clear | 0 | 0 | 0 | 0 | 0 | 0 | 0 | y= | -0.022727 | X^2 | + | 0.99394 | x | + | 1.5833 | <== Equation of best fit. | [5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | Contents". The spreadsheet automatically re-calculates and | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [14 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | the graph re-draws; if it does not, press F9 to recalculate. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [14 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Weighted Calculation of R2 | [12 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ?(Y-meany)^2 | PredY |  | ?(Y-PredY)^2 |  | ?(meanY-PredY)^2 |  | R2 =1-(?(Y-PredY)^2/?(meanY-PredY)^2) | [5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 8.0278 | 2.5545 |  | 0.19843 |  | 10.7504 |  | 0.86382 | [5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 3.3611 | 3.4803 |  | 0.27008 |  | 5.5368 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.69444 | 4.3606 |  | 0.40882 |  | 2.1689 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.027778 | 5.1955 |  | 0.64729 |  | 0.40689 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.3611 | 5.9848 |  | 1.0305 |  | 0.022957 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.3611 | 6.7288 |  | 0.073556 |  | 0.80184 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 4.6944 | 7.4273 |  | 0.32802 |  | 2.5406 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 4.6944 | 8.0803 |  | 0.0064486 |  | 5.0489 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 10.0278 | 8.6879 |  | 0.09742 |  | 8.1484 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 14.6944 | 2.5545 |  | 0.30752 |  | 10.7504 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 8.0278 | 3.4803 |  | 0.23069 |  | 5.5368 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 3.3611 | 4.3606 |  | 0.13004 |  | 2.1689 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 3.3611 | 5.1955 |  | 1.4291 |  | 0.40689 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.027778 | 5.9848 |  | 0.00022957 |  | 0.022957 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[17 empty] | 0.69444 | 6.7288 |  | 2.9887 |  | 0.80184 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[17 empty] | 1.3611 | 7.4273 |  | 0.18256 |  | 2.5406 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[17 empty] | 10.0278 | 8.0803 |  | 0.84584 |  | 5.0489 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[17 empty] | 4.6944 | 8.6879 |  | 0.47318 |  | 8.1484 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[17 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[17 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[17 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[17 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[17 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[17 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[17 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[17 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[17 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[17 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[17 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[17 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[17 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[17 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[17 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[17 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[17 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[17 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[17 empty] | 80.5 | 105 |  | 9.6485 |  | 70.8515 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
© Tom O'Haver, Version 2.1, July 2011, expanded June 2013
Rights granted for educational purposes
http://terpconnect.umd.edu/~toh/models/CalibrationCurve.html
Note on A5: Tom O'Haver: Type in values or Copy/Paste from Columns AK - AN.

## Sheet2
Data for fitted curve plot |  |  | Residual calculations
point | X | Ypredicted | Concentrations of the standards | Predicted readings | Actual-predicted | Residuals (% of max reading)
1 | 1 | 2.5545 | 1 | 2.5545 | -0.44545 | 0.051273
2 | 1.16 | 2.7057 | 2 | 3.4803 | -0.5197 | 0.059819
3 | 1.32 | 2.8557 | 3 | 4.3606 | -0.63939 | 0.073596
4 | 1.48 | 3.0046 | 4 | 5.1955 | -0.80455 | 0.092606
5 | 1.64 | 3.1523 | 5 | 5.9848 | -1.0152 | 0.11685
6 | 1.8 | 3.2988 | 6 | 6.7288 | -0.27121 | 0.031217
7 | 1.96 | 3.4441 | 7 | 7.4273 | -0.57273 | 0.065923
8 | 2.12 | 3.5883 | 8 | 8.0803 | 0.080303 | -0.0092431
9 | 2.28 | 3.7314 | 9 | 8.6879 | -0.31212 | 0.035926
10 | 2.44 | 3.8732 | 1 | 2.5545 | 0.55455 | -0.06383
11 | 2.6 | 4.0139 | 2 | 3.4803 | 0.4803 | -0.055284
12 | 2.76 | 4.1535 | 3 | 4.3606 | 0.36061 | -0.041507
13 | 2.92 | 4.2919 | 4 | 5.1955 | 1.1955 | -0.1376
14 | 3.08 | 4.4291 | 5 | 5.9848 | -0.015152 | 0.001744
15 | 3.24 | 4.5651 | 6 | 6.7288 | 1.7288 | -0.19899
16 | 3.4 | 4.7 | 7 | 7.4273 | 0.42727 | -0.04918
17 | 3.56 | 4.8337 | 8 | 8.0803 | -0.9197 | 0.10586
18 | 3.72 | 4.9663 | 9 | 8.6879 | 0.68788 | -0.079177
19 | 3.88 | 5.0977 | #N/A | #N/A | #VALUE! | #N/A
20 | 4.04 | 5.2279 | #N/A | #N/A | #VALUE! | #N/A
21 | 4.2 | 5.357 | #N/A | #N/A | #VALUE! | #N/A
22 | 4.36 | 5.4849 | #N/A | #N/A | #VALUE! | #N/A
23 | 4.52 | 5.6116 | #N/A | #N/A | #VALUE! | #N/A
24 | 4.68 | 5.7372 | #N/A | #N/A | #VALUE! | #N/A
25 | 4.84 | 5.8616 | #N/A | #N/A | #VALUE! | #N/A
26 | 5 | 5.9848 | #N/A | #N/A | #VALUE! | #N/A
27 | 5.16 | 6.1069 | #N/A | #N/A | #VALUE! | #N/A
28 | 5.32 | 6.2279 | #N/A | #N/A | #VALUE! | #N/A
29 | 5.48 | 6.3476 | #N/A | #N/A | #VALUE! | #N/A
30 | 5.64 | 6.4662 | #N/A | #N/A | #VALUE! | #N/A
31 | 5.8 | 6.5836 | #N/A | #N/A | #VALUE! | #N/A
32 | 5.96 | 6.6999 | #N/A | #N/A | #VALUE! | #N/A
33 | 6.12 | 6.815 | #N/A | #N/A | #VALUE! | #N/A
34 | 6.28 | 6.9289 | #N/A | #N/A | #VALUE! | #N/A
35 | 6.44 | 7.0417 | #N/A | #N/A | #VALUE! | #N/A
36 | 6.6 | 7.1533 | #N/A | #N/A | #VALUE! | #N/A
37 | 6.76 | 7.2638 | #N/A | #N/A | #VALUE! | #N/A
38 | 6.92 | 7.3731 | #N/A | #N/A | #VALUE! | #N/A
39 | 7.08 | 7.4812 | #N/A | #N/A | #VALUE! | #N/A
40 | 7.24 | 7.5881 | #N/A | #N/A | #VALUE! | #N/A
41 | 7.4 | 7.6939 | #N/A | #N/A | #VALUE! | #N/A
42 | 7.56 | 7.7986 | #N/A | #N/A | #VALUE! | #N/A
43 | 7.72 | 7.902 | #N/A | #N/A | #VALUE! | #N/A
44 | 7.88 | 8.0043 | #N/A | #N/A | #VALUE! | #N/A
45 | 8.04 | 8.1055 | #N/A | #N/A | #VALUE! | #N/A
46 | 8.2 | 8.2055 | #N/A | #N/A |  | #N/A
47 | 8.36 | 8.3043 | #N/A | #N/A |  | #N/A
48 | 8.52 | 8.4019 | #N/A | #N/A |  | #N/A
49 | 8.68 | 8.4984 | #N/A | #N/A |  | #N/A
50 | 9 | 8.6879 | #N/A | #N/A |  | #N/A