## Sheet1
Analytical calibration using a quadratic curve fit. | [19 empty] | © Tom O'Haver, Version 2.1, July 2011, expanded June 2013
| Calibration data | [5 empty] | Application to unknowns | [12 empty] | See: | http://terpconnect.umd.edu/~toh/models/CalibrationCurve.html
| Standards | Instrument readings |  |  |  |  | Reading of the unknown | Calculated concentration | accuracy | % error | X | Y | X*Y | X*X | X^3 | X^4 | X^2y | #VALUE! | #NAME?
| 0.1 | 1.54 | [6 empty] | 107.9% | -7.877% | 0.1 | 1.54 | 0.154 | 0.01 | 0.001 | 0.0001 | 0.0154 | 0.6205% | 7.877% | Warning: Messy math follows.
| 0.2 | 2.03 | [6 empty] | 88.3% | 11.7% | 0.2 | 2.03 | 0.406 | 0.04 | 0.008 | 0.0016 | 0.0812 | 1.37% | 11.7% | Summary of equations:
| 0.3 | 3.17 | [6 empty] | 107.5% | -7.481% | 0.3 | 3.17 | 0.951 | 0.09 | 0.027 | 0.0081 | 0.2853 | 0.5596% | 7.481% | B28 | n=number of x,y data points
| 0.4 | 3.67 | [6 empty] | 95.37% | 4.632% | 0.4 | 3.67 | 1.468 | 0.16 | 0.064 | 0.0256 | 0.5872 | 0.2146% | 4.632% | B27 | sumx=?x
| 0.5 | 4.89 | [6 empty] | 103.1% | -3.143% | 0.5 | 4.89 | 2.445 | 0.25 | 0.125 | 0.0625 | 1.2225 | 0.09881% | 3.143% | C27 | sumy=?y
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | D27 | sumxy=?x*y
| 0.7 | 6.74 | [6 empty] | 99.84% | 0.1628% | 0.7 | 6.74 | 4.718 | 0.49 | 0.343 | 0.2401 | 3.3026 | 0.000265% | 0.1628% | E27 | sumx2=?x*x
| 0.8 | 7.87 | [6 empty] | 100.2% | -0.1823% | 0.8 | 7.87 | 6.296 | 0.64 | 0.512 | 0.4096 | 5.0368 | 0.0003323% | 0.1823% | F27 | sumx3=?x^3
| 0.9 | 8.86 | [6 empty] | 98.52% | 1.478% | 0.9 | 8.86 | 7.974 | 0.81 | 0.729 | 0.6561 | 7.1766 | 0.02183% | 1.478% | G27 | sumx3=?x^4
| 1 | 10.35 | [6 empty] | 100.8% | -0.81% | 1 | 10.35 | 10.35 | 1 | 1 | 1 | 10.35 | 0.006561% | 0.81% | H27 | sumx2y=?(x^2)*y
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | B30 | D=n*sumx2*sumx4+2*sumx*sumx2*sumx3-sumx2^3-sumx^2*sumx4-n*sumx3^2
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | B31 | a=(n*sumx2*sumx2y+sumx*sumx3*sumy+sumx*sumx2*sumxy-sumx2^2*sumy-sumx^2*sumx2y-n*sumx3*sumxy)/D
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | B32 | b=(n*sumx4*sumxy+sumx*sumx2*sumx2y+sumx2*sumx3*sumy-sumx2^2*sumxy-sumx*sumx4*sumy-n*sumx3*sumx2y)/D
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | B33 | c=(sumx2*sumx4*sumy+sumx2*sumx3*sumxy+sumx*sumx3*sumx2y-sumx2^2*sumx2y-sumx*sumx4*sumxy-sumx3^2*sumy)/D
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE!
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE!
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | Calculations of the coefficients a,b, and c of the best-fit parabola y=ax^2+bx+c | [8 empty] | Note: The if( ) functions in some of the cells
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | sums | sumx | sumy | sumxy | sumx2 | ssy | ssr | sumx2y |  | are not part of the actual numerical calculation.
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! |  | ?X | ?Y | ?(X*Y) | ?(X*X) | ?(X^3) | ?(X^4) | ?(X^2)*y |  | Their purpose is simply to blank out or zero
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! |  | 4.9 | 49.12 | 34.762 | 3.49 | 2.809 | 2.4037 | 28.0576 |  | out cells that are not being used at the moment
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | n | 9 | (number of points (n)
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE!
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | D | 0.33792 | Denominator (D)
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | a= | 3.1935 | (coefficient of the X2 term; equals zero if best-fit line is straight)
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! | b= | 6.2225 | (coefficient of the X term, like the slope)
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! | c= | 0.83156 | (the constant, like the intercept)
|  |  | Average deviation of standards: | 4.145% | R2 = | 0.99808 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! | y= | 3.1935 | X^2 | + | 6.2225 | x | + | 0.83156 | <== Equation of best fit.
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE!
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE!
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | Calculation of R2
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | ?(Y-meany)^2 | PredY |  | ?(Y-PredY)^2 |  | ?(meanY-PredY)^2 |  | R2 =1-(?(Y-PredY)^2/?(meanY-PredY)^2)
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | 15.349 | 1.4858 |  | 0.0029428 |  | 15.777 |  | 0.99808
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | 11.7497 | 2.2038 |  | 0.030211 |  | 10.5883
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | 5.2339 | 2.9857 |  | 0.03395 |  | 6.1109
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | 3.1961 | 3.8315 |  | 0.026098 |  | 2.6446
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | 0.32237 | 4.7412 |  | 0.022135 |  | 0.51345
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | 0 | 0 |  | 0 |  | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | 1.6441 | 6.7522 |  | 0.00014836 |  | 1.6755
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | 5.8188 | 7.8535 |  | 0.00027338 |  | 5.7393
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | 11.5751 | 9.0186 |  | 0.025161 |  | 12.6796
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | 23.9338 | 10.2476 |  | 0.010476 |  | 22.9429
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | 0 | 0 |  | 0 |  | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | 0 | 0 |  | 0 |  | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | 0 | 0 |  | 0 |  | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | 0 | 0 |  | 0 |  | 0
[21 empty] | 0 | 0 |  | 0 |  | 0
[21 empty] | 0 | 0 |  | 0 |  | 0
[21 empty] | 0 | 0 |  | 0 |  | 0
[21 empty] | 0 | 0 |  | 0 |  | 0
[21 empty] | 0 | 0 |  | 0 |  | 0
[21 empty] | 0 | 0 |  | 0 |  | 0
[21 empty] | 0 | 0 |  | 0 |  | 0
[21 empty] | 0 | 0 |  | 0 |  | 0
[21 empty] | 0 | 0 |  | 0 |  | 0
[21 empty] | 0 | 0 |  | 0 |  | 0
[21 empty] | 0 | 0 |  | 0 |  | 0
[21 empty] | 0 | 0 |  | 0 |  | 0
[21 empty] | 0 | 0 |  | 0 |  | 0
[21 empty] | 0 | 0 |  | 0 |  | 0
[21 empty] | 0 | 0 |  | 0 |  | 0
[21 empty] | 0 | 0 |  | 0 |  | 0
[21 empty] | 0 | 0 |  | 0 |  | 0
[21 empty] | 0 | 0 |  | 0 |  | 0
[21 empty] | 0 | 0 |  | 0 |  | 0
[21 empty] | 0 | 0 |  | 0 |  | 0
[21 empty] | 0 | 0 |  | 0 |  | 0
[21 empty] | 0 | 0 |  | 0 |  | 0
[21 empty] | 78.823 | 49.12 |  | 0.15139 |  | 78.6716
© Tom O'Haver, Version 2.1, July 2011, expanded June 2013
Rights granted for educational purposes
http://terpconnect.umd.edu/~toh/models/CalibrationCurve.html

## Sheet2
Data for fitted curve plot |  |  | Residual calculations
point | X | Ypredicted | Concentrations of the standards | Predicted readings | Actual-predicted | Residuals (% of max reading)
1 | 0.1 | 1.4858 | 0.1 | 1.4858 | -0.054247 | 0.5294%
2 | 0.118 | 1.6103 | 0.2 | 2.2038 | 0.17381 | -1.696%
3 | 0.136 | 1.7369 | 0.3 | 2.9857 | -0.18425 | 1.798%
4 | 0.154 | 1.8656 | 0.4 | 3.8315 | 0.16155 | -1.576%
5 | 0.172 | 1.9963 | 0.5 | 4.7412 | -0.14878 | 1.452%
6 | 0.19 | 2.1291 |  |  | #VALUE!
7 | 0.208 | 2.264 | 0.7 | 6.7522 | 0.01218 | -0.1189%
8 | 0.226 | 2.401 | 0.8 | 7.8535 | -0.016534 | 0.1613%
9 | 0.244 | 2.54 | 0.9 | 9.0186 | 0.15862 | -1.548%
10 | 0.262 | 2.6811 | 1 | 10.2476 | -0.10235 | 0.9988%
11 | 0.28 | 2.8242 |  |  | #VALUE!
12 | 0.298 | 2.9695 |  |  | #VALUE!
13 | 0.316 | 3.1168 |  |  | #VALUE!
14 | 0.334 | 3.2662 |  |  | #VALUE!
15 | 0.352 | 3.4176 |  |  | #VALUE!
16 | 0.37 | 3.5711 |  |  | #VALUE!
17 | 0.388 | 3.7267 |  |  | #VALUE!
18 | 0.406 | 3.8843 |  |  | #VALUE!
19 | 0.424 | 4.044 |  |  | #VALUE!
20 | 0.442 | 4.2058 |  |  | #VALUE!
21 | 0.46 | 4.3697 |  |  | #VALUE!
22 | 0.478 | 4.5356 |  |  | #VALUE!
23 | 0.496 | 4.7036 |  |  | #VALUE!
24 | 0.514 | 4.8737 |  |  | #VALUE!
25 | 0.532 | 5.0458 |  |  | #VALUE!
26 | 0.55 | 5.22 |  |  | #VALUE!
27 | 0.568 | 5.3963 |  |  | #VALUE!
28 | 0.586 | 5.5746 |  |  | #VALUE!
29 | 0.604 | 5.755 |  |  | #VALUE!
30 | 0.622 | 5.9375 |  |  | #VALUE!
31 | 0.64 | 6.1221 |  |  | #VALUE!
32 | 0.658 | 6.3087 |  |  | #VALUE!
33 | 0.676 | 6.4974 |  |  | #VALUE!
34 | 0.694 | 6.6881 |  |  | #VALUE!
35 | 0.712 | 6.881 |  |  | #VALUE!
36 | 0.73 | 7.0759 |  |  | #VALUE!
37 | 0.748 | 7.2728 |  |  | #VALUE!
38 | 0.766 | 7.4719 |  |  | #VALUE!
39 | 0.784 | 7.673 |  |  | #VALUE!
40 | 0.802 | 7.8761 |  |  | #VALUE!
41 | 0.82 | 8.0814 |  |  | #VALUE!
42 | 0.838 | 8.2887 |  |  | #VALUE!
43 | 0.856 | 8.4981 |  |  | #VALUE!
44 | 0.874 | 8.7095 |  |  | #VALUE!
45 | 0.892 | 8.9231 |  |  | #VALUE!
46 | 0.91 | 9.1387
47 | 0.928 | 9.3563
48 | 0.946 | 9.576
49 | 0.964 | 9.7978
50 | 1 | 10.2476