## Sheet1
Analytical calibration using a log-log linear curve fit. | [9 empty] | © Tom O'Haver, Version 2, January, 2016
Calibration data | [7 empty] | Application to unknowns |  | http://terpconnect.umd.edu/~toh/models/CalibrationCurve.html
Standards | Instrument readings |  |  | Accuracy | Error |  |  | Reading of the unknown | Calculated concentration
1 | 0.2 | 0 | -0.69897 | 100.8% | -0.8347%
10 | 0.99 | 1 | -0.0043648 | 71.77% | 28.23%
100 | 7 | 2 | 0.8451 | 79.13% | 20.87%
1000 | 60 | 3 | 1.7782 | 110.5% | -10.49%
10000 | 400 | 4 | 2.6021 | 113.3% | -13.33%
|  | 0 | -0.69897
|  | 0 | -0.69897
|  | 0 | -0.69897
|  | 0 | -0.69897
|  | 0 | -0.69897
|  | 0 | -0.69897
|  | 0 | -0.69897
|  | 0 | -0.69897
|  | 0 | -0.69897
|  | 0 | -0.69897
|  | 0 | -0.69897
|  | 0 | -0.69897
|  | 0 | -0.69897
|  | 0 | -0.69897
|  | 0 | -0.69897 |  |  | Average deviation of standards: | 15.73%
|  | 0 | -0.69897 |  |  | R2 = | 0.99869
|  | 0 | -0.69897
|  | 0 | -0.69897 |  |  | Slope= | 0.81492
|  | 0 | -0.69897 |  |  | Intercept= | -0.70191
|  | 0 | -0.69897
|  | 0 | -0.69897
|  | 0 | -0.69897
|  | 0 | -0.69897
|  | 0 | -0.69897
|  | 0 | -0.69897
|  | 0 | -0.69897
|  | 0 | -0.69897
|  | 0 | -0.69897
|  | 0 | -0.69897
|  | 0 | -0.69897
|  | 0 | -0.69897
|  | 0 | -0.69897
|  | 0 | -0.69897
|  | 0 | -0.69897
|  | 0 | -0.69897
|  | 0 | -0.69897
|  | 0 | -0.69897
|  | 0 | -0.69897
|  | 0 | -0.69897
|  | 0 | -0.69897
© Tom O'Haver, Version 2.1, July 2011
Rights granted for educational purposes

## Sheet2
Residual calculations
Standards | Predicted readings | Actual-predicted | Residuals (% of max reading)
0 | -0.70191 | -0.002942 | 0.115%
1 | 0.11301 | 0.11737 | -4.589%
2 | 0.92793 | 0.082833 | -3.238%
3 | 1.7429 | -0.035299 | 1.38%
4 | 2.5578 | -0.044286 | 1.731%
0 | -0.70191 | -0.002942 | 0.115%
0 | -0.70191 | -0.002942 | 0.115%
0 | -0.70191 | -0.002942 | 0.115%
0 | -0.70191 | -0.002942 | 0.115%
0 | -0.70191 | -0.002942 | 0.115%
0 | -0.70191 | -0.002942 | 0.115%
0 | -0.70191 | -0.002942 | 0.115%
0 | -0.70191 | -0.002942 | 0.115%
0 | -0.70191 | -0.002942 | 0.115%
0 | -0.70191 | -0.002942 | 0.115%
0 | -0.70191 | -0.002942 | 0.115%
0 | -0.70191 | -0.002942 | 0.115%
0 | -0.70191 | -0.002942 | 0.115%
0 | -0.70191 | -0.002942 | 0.115%
0 | -0.70191 | -0.002942 | 0.115%
0 | -0.70191 | -0.002942 | 0.115%
0 | -0.70191 | -0.002942 | 0.115%
0 | -0.70191 | -0.002942 | 0.115%
0 | -0.70191 | -0.002942 | 0.115%
0 | -0.70191 | -0.002942 | 0.115%
0 | -0.70191 | -0.002942 | 0.115%
0 | -0.70191 | -0.002942 | 0.115%
0 | -0.70191 | -0.002942 | 0.115%
0 | -0.70191 | -0.002942 | 0.115%
0 | -0.70191 | -0.002942 | 0.115%
0 | -0.70191 | -0.002942 | 0.115%
0 | -0.70191 | -0.002942 | 0.115%
0 | -0.70191 | -0.002942 | 0.115%
0 | -0.70191 | -0.002942 | 0.115%
0 | -0.70191 | -0.002942 | 0.115%
0 | -0.70191 | -0.002942 | 0.115%
0 | -0.70191 | -0.002942 | 0.115%
0 | -0.70191 | -0.002942 | 0.115%
0 | -0.70191 | -0.002942 | 0.115%
0 | -0.70191 | -0.002942 | 0.115%
0 | -0.70191 | -0.002942 | 0.115%
0 | -0.70191 | -0.002942 | 0.115%
0 | -0.70191 | -0.002942 | 0.115%
0 | -0.70191 | -0.002942 | 0.115%
0 | -0.70191 | -0.002942 | 0.115%
0 | -0.70191 | -0.70191 | 0.115%
0 | -0.70191 | -0.70191 | 0.115%
0 | -0.70191 | -0.70191 | 0.115%
0 | -0.70191 | -0.70191 | 0.115%
0 | -0.70191 | -0.70191 | 0.115%