## Sheet1
Calibration for time-drifting sensor with quadratic response.
|  | Enter calibration data here | [7 empty] | Application to unknowns | [17 empty] | Calibration curves for each unknown sample
| Date/Time | Pre-calibration | Post-calibration | [9 empty] | Warnings |  |  | X and Y products for POST calibration | [5 empty] | X and Y products for PRE calibration | [5 empty] | Coefficients for each equation |  |  | Peak of parabola
| Concentration of standards | [6 empty] | X post | X pre | MM-DD-YY HH:MM:SS | Reading of the unknowns | Calculated concentrations | Instrument reading above maximum of calibration curve | Calculated concentration above maximum standard concentration | elapsed time,hours | X*Y | X*X | X^3 | X^4 | X^2y | Y | X*Y | X*X | X^3 | X^4 | X^2y | Y | a | b | c | max x | max y
[8 empty] | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | Pre-calibration R2 = | #DIV/0! | Post-calibration R2 = |  | #DIV/0!
|  |  | #NAME? | hours between pre- and post-calibrations.
Instructions
| 1. Enter the concentrations |  | 2. Enter the date/time |  | 3. Enter the date/time and |  |  | 4. The concentrations
| of the standards into |  | and instrument readings |  | Instrument readings |  |  | of the unknowns are
| column B of the blue table. |  | of the standards before |  | of each unknown |  |  | calculated in column M
|  |  | and after the sample run |  | into the yellow table. |  |  | (Calculated concentrations)
| (To delete a value, |  | into columns C and D.
right-click on the cell and
click "Clear Contents").
© Tom O'Haver, Version 2.2, July 2011
Rights granted for educational purposes
Warning: Math follows....
Summary of equations: |  |  | y= | #DIV/0! | X^2 | + | #DIV/0! | x | + | #DIV/0!
B28 | n=number of x,y data points |  | y= | #DIV/0! | X^2 | + | #DIV/0! | x | + | #DIV/0!
B27 | sumx=Σx
C27 | sumy=Σy
D27 | sumxy=Σx*y
E27 | sumx2=Σx*x
F27 | sumx3=Σx^3
G27 | sumx3=Σx^4
H27 | sumx2y=Σ(x^2)*y
B30 | D=n*sumx2*sumx4+2*sumx*sumx2*sumx3-sumx2^3-sumx^2*sumx4-n*sumx3^2
B31 | a=(n*sumx2*sumx2y+sumx*sumx3*sumy+sumx*sumx2*sumxy-sumx2^2*sumy-sumx^2*sumx2y-n*sumx3*sumxy)/D
B32 | b=(n*sumx4*sumxy+sumx*sumx2*sumx2y+sumx2*sumx3*sumy-sumx2^2*sumxy-sumx*sumx4*sumy-n*sumx3*sumx2y)/D
B33 | c=(sumx2*sumx4*sumy+sumx2*sumx3*sumxy+sumx*sumx3*sumx2y-sumx2^2*sumx2y-sumx*sumx4*sumxy-sumx3^2*sumy)/D
Off-screen calculation are on the right ==>
[16 empty] | Post-calibration | [9 empty] | Pre-calibration
Calculations of the coefficients a,b, and c of the best-fit parabola y=ax^2+bx+c | [12 empty] | Note: The if( ) functions in some of the cells |  |  | Calculations of the coefficients a,b, and c of the best-fit parabola y=ax^2+bx+c for the LAST calibration (END) | [9 empty] | Calculations of the coefficients a,b, and c of the best-fit parabola y=ax^2+bx+c for the FIRST calibration (START)
sums | sumx |  | sumy | sumxy | sumx2 | ssy | ssr | sumx2y |  |  |  |  | are not part of the actual numerical calculation. |  |  | sums | sumx | sumy | sumxy | sumx2 | ssy | ssr | sumx2y |  |  | sums | sumx | sumy | sumxy | sumx2 | ssy | ssr | sumx2y
| ΣX |  | ΣY | Σ(X*Y) | Σ(X*X) | Σ(X^3) | Σ(X^4) | Σ(X^2)*y |  |  |  |  | Their purpose is simply to blank out or zero |  |  |  | ΣX | ΣY | Σ(X*Y) | Σ(X*X) | Σ(X^3) | Σ(X^4) | Σ(X^2)*y |  |  |  | ΣX | ΣY | Σ(X*Y) | Σ(X*X) | Σ(X^3) | Σ(X^4) | Σ(X^2)*y
| 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | out cells that are not being used at the moment |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
n | 0 |  | (number of points (n) | [12 empty] | n | 0 | (number of points (n) | [7 empty] | n | 0 | (number of points (n)
D | 0 |  | Denominator (D) | [12 empty] | D | 0 | Denominator (D) | [7 empty] | D | 0 | Denominator (D)
a= | #DIV/0! |  | (coefficient of the X2 term; equals zero if best-fit line is straight) | [12 empty] | a= | #DIV/0! | (coefficient of the X2 term; equals zero if best-fit line is straight) | [7 empty] | a= | #DIV/0! | (coefficient of the X2 term; equals zero if best-fit line is straight)
b= | #DIV/0! |  | (coefficient of the X term, like the slope) | [12 empty] | b= | #DIV/0! | (coefficient of the X term, like the slope) | [7 empty] | b= | #DIV/0! | (coefficient of the X term, like the slope)
c= | #DIV/0! |  | (the constant, like the intercept) | [12 empty] | c= | #DIV/0! | (the constant, like the intercept) | [7 empty] | c= | #DIV/0! | (the constant, like the intercept)
y= | #DIV/0! |  | X^2 | + | #DIV/0! | x | + | #DIV/0! | [6 empty] | Equation of best fit (POST) => | y= | #DIV/0! | X^2 | + | #DIV/0! | x | + | #DIV/0! |  | Equation of best fit (PRE) => | y= | #DIV/0! | X^2 | + | #DIV/0! | x | + | #DIV/0!
[17 empty] | Calculation of post-calibration R2 | [9 empty] | Calculation of pre-calibration R2
[17 empty] | Σ(Y-meany)^2 | PredY |  | Σ(Y-PredY)^2 |  | Σ(meanY-PredY)^2 |  |  |  |  | Σ(Y-meany)^2 | PredY |  | Σ(Y-PredY)^2 |  | Σ(meanY-PredY)^2
[17 empty] | 0 | 0 |  | 0 |  | 0 |  |  |  |  | 0 | 0 |  | 0 |  | 0
[17 empty] | 0 | 0 |  | 0 |  | 0 |  |  |  |  | 0 | 0 |  | 0 |  | 0
[17 empty] | 0 | 0 |  | 0 |  | 0 |  |  |  |  | 0 | 0 |  | 0 |  | 0
[17 empty] | 0 | 0 |  | 0 |  | 0 |  |  |  |  | 0 | 0 |  | 0 |  | 0
[17 empty] | 0 | 0 |  | 0 |  | 0 |  |  |  |  | 0 | 0 |  | 0 |  | 0
[17 empty] | 0 | 0 |  | 0 |  | 0 |  |  |  |  | 0 | 0 |  | 0 |  | 0
[17 empty] | 0 | 0 |  | 0 |  | 0 |  |  |  |  | 0 | 0 |  | 0 |  | 0
[17 empty] | 0 | 0 |  | 0 |  | 0 |  |  |  |  | 0 | 0 |  | 0 |  | 0
[17 empty] | 0 | 0 |  | 0 |  | 0 |  |  |  |  | 0 | 0 |  | 0 |  | 0
[17 empty] | 0 | 0 |  | 0 |  | 0 |  |  |  |  | 0 | 0 |  | 0 |  | 0
[17 empty] | 0 | 0 |  | 0 |  | 0 |  |  |  |  | 0 | 0 |  | 0 |  | 0
[17 empty] | 0 | 0 |  | 0 |  | 0 |  |  |  |  | 0 | 0 |  | 0 |  | 0
[17 empty] | 0 | 0 |  | 0 |  | 0 |  |  |  |  | 0 | 0 |  | 0 |  | 0
[17 empty] | 0 | 0 |  | 0 |  | 0 |  |  |  |  | 0 | 0 |  | 0 |  | 0
[17 empty] | 0 | 0 |  | 0 |  | 0 |  |  |  |  | 0 | 0 |  | 0 |  | 0
[17 empty] | 0 | 0 |  | 0 |  | 0 |  |  |  |  | 0 | 0 |  | 0 |  | 0
[17 empty] | 0 | 0 |  | 0 |  | 0 |  |  |  |  | 0 | 0 |  | 0 |  | 0
[17 empty] | 0 | 0 |  | 0 |  | 0 |  |  |  |  | 0 | 0 |  | 0 |  | 0
[17 empty] | 0 | 0 |  | 0 |  | 0 |  |  |  |  | 0 | 0 |  | 0 |  | 0
[17 empty] | 0 | 0 |  | 0 |  | 0 |  |  |  |  | 0 | 0 |  | 0 |  | 0
[17 empty] | 0 | 0 |  | 0 |  | 0 |  |  |  |  | 0 | 0 |  | 0 |  | 0
[21 empty] | R2= | #DIV/0! | [8 empty] | R2= | #DIV/0!
Note on B6: Enter the concentrations of the standards in this column.
Note on C5: Enter the date and time that the pre-calibration was performed, in the format MM-DD-YY HH:MM:SS
Note on C6: Enter the instrument readings of the pre-calibration run in this column..
Note on D5: Enter the date and time that the post-calibration was performed, in the format MM-DD-YY HH:MM:SS
Note on K5: Enter the date and time that the each measurement was performed in this column, in the format MM-DD-YY HH:MM:SS
Note on L5: Enter the instrument readings of each unknowns into this column.
Note on M5: Drift corrected concentrations of the unknowns will be calculated and displayed in this column.

## Sheet2
Post-calibration
Data for fitted curve plot |  |  | Post-calibration Residuals
point | X | Ypredicted | Concentrations of the standards | Predicted readings | Actual-predicted | Residuals (% of max reading)
1 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0!
2 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0!
3 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0!
4 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0!
5 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0!
6 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0!
7 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0!
8 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0!
9 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0!
10 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0!
11 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0!
12 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0!
13 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0!
14 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0!
15 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0!
16 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0!
17 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0!
18 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0!
19 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0!
20 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0!
21 | 0 | #DIV/0!
22 | 0 | #DIV/0!
23 | 0 | #DIV/0!
24 | 0 | #DIV/0!
25 | 0 | #DIV/0!
26 | 0 | #DIV/0!
27 | 0 | #DIV/0!
28 | 0 | #DIV/0!
29 | 0 | #DIV/0!
Pre-calibration
Data for fitted curve plot |  |  | Pre-calibration Residuals
point | X | Ypredicted | Concentrations of the standards | Predicted readings | Actual-predicted | Residuals (% of max reading)
1 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0!
2 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0!
3 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0!
4 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0!
5 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0!
6 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0!
7 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0!
8 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0!
9 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0!
10 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0!
11 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0!
12 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0!
13 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0!
14 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0!
15 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0!
16 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0!
17 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0!
18 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0!
19 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0!
20 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0!
21 | 0 | #DIV/0!
22 | 0 | #DIV/0!
23 | 0 | #DIV/0!
24 | 0 | #DIV/0!
25 | 0 | #DIV/0!
26 | 0 | #DIV/0!
27 | 0 | #DIV/0!
28 | 0 | #DIV/0!
29 | 0 | #DIV/0!