## Sheet1
Analytical calibration using a weighted quadratic curve fit. | [17 empty] | © Tom O'Haver, February 2016
| Calibration data |  |  |  |  | Application to unknowns | [6 empty] | Weighted intermediate calculations |  |  |  |  | See: | http://terpconnect.umd.edu/~toh/models/CalibrationCurve.html | [8 empty] | 1 | 1 | 0.54645 | 0.29861 | Normalized weights (Copy/Paste to Column A)
Weights | Standards | Instrument readings |  |  |  | Reading of the unknown | Calculated concentration | Conc. Error |  | Instructions | X | Y | X*Y | X*X | X^3 | X^4 | X^2y | [10 empty] | 1/X | 1/X^2 | 1/Y | 1/Y^2 | 1/X | 1/X^2 | 1/Y | 1/Y^2
1 | 1 | 1.83 | 21.74% |  |  | 1.83 | 0.78263 | -21.74% | 21.74% | Enter the concentrations of the standards and their instrument | 1 | 1.83 | 1.83 | 1 | 1 | 1 | 1.83 | [10 empty] | 1 | 1 | 0.54645 | 0.29861 | 1 | 1 | 1 | 1
0.5 | 2 | 2.59 | -1.237% |  |  | 2.59 | 2.0247 | 1.237% | 1.237% | readings (e.g. absorbance) into the blue table on the left. | 1 | 1.295 | 2.59 | 2 | 4 | 8 | 5.18 |  | Summary of equations: | [8 empty] | 0.5 | 0.25 | 0.3861 | 0.14907 | 0.5 | 0.25 | 0.70656 | 0.49923
0.2 | 5 | 4.21 | 6.513% |  |  | 4.21 | 4.6744 | -6.513% | 6.513% | Leave the rest of the table blank. You must have at least three | 1 | 0.842 | 4.21 | 5 | 25 | 125 | 21.05 |  | n=number of x,y data points | [8 empty] | 0.2 | 0.04 | 0.23753 | 0.05642 | 0.2 | 0.04 | 0.43468 | 0.18895
0.1 | 10 | 8.17 | -11.63% |  |  | 8.17 | 11.1626 | 11.63% | 11.63% | points on the calibration curve. Enter the weights for each point | 1 | 0.817 | 8.17 | 10 | 100 | 1000 | 81.7 |  | sumx=?x | [8 empty] | 0.1 | 0.01 | 0.1224 | 0.014982 | 0.1 | 0.01 | 0.22399 | 0.050172
0.05 | 20 | 14.56 | -8.333% |  |  | 14.56 | 21.6666 | 8.333% | 8.333% | into Column A, or Copy and Paste from column AK to AN. To | 1 | 0.728 | 14.56 | 20 | 400 | 8000 | 291.2 |  | sumy=?y | [8 empty] | 0.05 | 0.0025 | 0.068681 | 0.0047171 | 0.05 | 0.0025 | 0.12569 | 0.015797
0.02 | 50 | 33.83 | -7.208% |  |  | 33.83 | 53.6041 | 7.208% | 7.208% | remove a point, enter a weight of zero. If you have multiple | 1 | 0.6766 | 33.83 | 50 | 2500 | 125000 | 1691.5 |  | sumxy=?x*y | [8 empty] | 0.02 | 0.0004 | 0.02956 | 0.00087377 | 0.02 | 0.0004 | 0.054094 | 0.0029262
0.01 | 100 | 63.14 | -2.961% |  |  | 63.14 | 102.9614 | 2.961% | 2.961% | instrument readings for one standard, it's better to enter each | 1 | 0.6314 | 63.14 | 100 | 10000 | 1000000 | 6314 |  | sumx2=?x*x | [8 empty] | 0.01 | 0.0001 | 0.015838 | 0.00025084 | 0.01 | 0.0001 | 0.028983 | 0.00084003
0.005 | 200 | 118.43 | 0.5914% |  |  | 118.43 | 198.8171 | -0.5914% | 0.5914% | as a separate standard with the same concentration, rather than | 1 | 0.59215 | 118.43 | 200 | 40000 | 8000000 | 23686 |  | sumx3=?x^3 | [8 empty] | 0.005 | 2.5e-05 | 0.0084438 | 7.1298e-05 | 0.005 | 2.5e-05 | 0.015452 | 0.00023877
0.002 | 500 | 269.2 | 3.594% |  |  | 269.2 | 482.0313 | -3.594% | 3.594% | entering the average. The spreadsheet automatically gives | 1 | 0.5384 | 269.2 | 500 | 250000 | 125000000 | 134600 |  | sumx4=?x^4 | [8 empty] | 0.002 | 4e-06 | 0.0037147 | 1.3799e-05 | 0.002 | 4e-06 | 0.0067979 | 4.6212e-05
0.001 | 1000 | 500.57 | -1.14% |  |  | 500.57 | 1011.4014 | 1.14% | 1.14% | more weight to standards that have more than one reading. | 1 | 0.50057 | 500.57 | 1000 | 1000000 | 1000000000 | 500570 |  | sumx2y=?(x^2)*y | [8 empty] | 0.001 | 1e-06 | 0.0019977 | 3.9909e-06 | 0.001 | 1e-06 | 0.0036558 | 1.3365e-05
[7 empty] | Average Error= | 6.494% | 6.494% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | D=n*sumx2*sumx4+2*sumx*sumx2*sumx3-sumx2^3-sumx^2*sumx4-n*sumx3^2 | [12 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | Enter the instrument readings (e.g. intensity, absorbance, etc) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | a=(n*sumx2*sumx2y+sumx*sumx3*sumy+sumx*sumx2*sumxy-sumx2^2*sumy-sumx^2*sumx2y-n*sumx3*sumxy)/D | [12 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | of the unknowns into the yellow table on the right. You can | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | b=(n*sumx4*sumxy+sumx*sumx2*sumx2y+sumx2*sumx3*sumy-sumx2^2*sumxy-sumx*sumx4*sumy-n*sumx3*sumx2y)/D | [12 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | have any number of unknowns up to 200. (If you have multiple | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | c=(sumx2*sumx4*sumy+sumx2*sumx3*sumxy+sumx*sumx3*sumx2y-sumx2^2*sumx2y-sumx*sumx4*sumxy-sumx3^2*sumy)/D | [12 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | instrument readings for one unknown, it's better to enter each | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [14 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | as a separate unknown, rather than averaging them, so you can | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [14 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | see how much variation in calculated concentration is produced | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Calculations of the coefficients a,b, and c of the best-fit parabola y=ax^2+bx+c | [8 empty] | Note: The if( ) functions in some of the cells |  |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | by the variation in instrument reading). | 0 | 0 | 0 | 0 | 0 | 0 | 0 | sums | sumx | sumy | sumxy | sumx2 | ssy | sumx4 | sumx2y |  | are not part of the actual numerical calculation. |  |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ?X | ?Y | ?(X*Y) | ?(X*X) | ?(X^3) | ?(X^4) | ?(X^2)*y |  | Their purpose is simply to blank out or zero |  |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | The concentrations of the unknowns are automatically calculated | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 10 | 8.4511 | 1016.53 | 1888 | 1303030 | 1134134134 | 667262.46 |  | out cells that are not being used at the moment |  |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | and displayed column K. If you edit the calibration curve, by | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n | 1.888 | (number of points (n) | [11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | deleting, changing, or adding more calibration standards, the | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [14 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | concentrations are automatically recalculated. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | D | 766119165333.696 | Denominator (D) | [11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | a= | -0.00011726 | (coefficient of the X2 term; equals zero if best-fit line is straight) | [11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | You can remove any point from the curve fit by deleting the | 0 | 0 | 0 | 0 | 0 | 0 | 0 | b= | 0.61219 | (coefficient of the X term, like the slope) | [11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | corresponding values in the table. To delete a value; | 0 | 0 | 0 | 0 | 0 | 0 | 0 | c= | 1.3509 | (the constant, like the intercept) | [11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  |  | R2 = | 0.99917 |  |  |  |  | right-click on the cell and click "Delete Contents" or "Clear | 0 | 0 | 0 | 0 | 0 | 0 | 0 | y= | -0.00011726 | X^2 | + | 0.61219 | x | + | 1.3509 | <== Equation of best fit. | [5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | Contents". The spreadsheet automatically re-calculates and | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [14 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | the graph re-draws; if it does not, press F9 to recalculate. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [14 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Weighted Calculation of R2 | [12 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ?(Y-meany)^2 | PredY |  | ?(Y-PredY)^2 |  | ?(meanY-PredY)^2 |  | R2 =1-(?(Y-PredY)^2/?(meanY-PredY)^2) | [5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 7.0025 | 1.963 |  | 0.017696 |  | 6.3162 |  | 0.99917 | [5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 3.5579 | 2.5749 |  | 0.00011454 |  | 1.8076 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.070878 | 4.409 |  | 0.0079185 |  | 0.00090452 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 13.6439 | 7.4611 |  | 0.050248 |  | 0.89097 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 101.6824 | 13.5479 |  | 0.051219 |  | 4.1147 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 861.6439 | 31.6674 |  | 0.093537 |  | 14.7872 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 3441.438 | 61.3975 |  | 0.030362 |  | 32.4003 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 12985.462 | 119.0988 |  | 0.0022366 |  | 65.6917 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 70078.675 | 278.1311 |  | 0.15953 |  | 149.7739 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 246109.0298 | 496.2793 |  | 0.01841 |  | 241.8703 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[19 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[19 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[19 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[19 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[19 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[19 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[19 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[19 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[19 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[19 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[19 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[19 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[19 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[19 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[19 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[19 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[19 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[19 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[19 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[19 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[19 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[19 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[19 empty] | 333602.2064 | 1016.53 |  | 0.43127 |  | 517.6538 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
© Tom O'Haver, Version 2.1, July 2011, expanded June 2013
Rights granted for educational purposes
http://terpconnect.umd.edu/~toh/models/CalibrationCurve.html
Note on A5: Tom O'Haver: Type in values or Copy/Paste from Columns AK - AN.

## Sheet2
Data for fitted curve plot |  |  | Residual calculations
point | X | Ypredicted | Concentrations of the standards | Predicted readings | Actual-predicted | Residuals (% of max reading)
1 | 1 | 1.963 | 1 | 1.963 | 0.13302 | -0.00026804
2 | 20.98 | 14.1431 | 2 | 2.5749 | -0.015135 | 3.0497e-05
3 | 40.96 | 26.2296 | 5 | 4.409 | 0.19898 | -0.00040094
4 | 60.94 | 38.2225 | 10 | 7.4611 | -0.70886 | 0.0014283
5 | 80.92 | 50.1217 | 20 | 13.5479 | -1.0121 | 0.0020394
6 | 100.9 | 61.9273 | 50 | 31.6674 | -2.1626 | 0.0043576
7 | 120.88 | 73.6393 | 100 | 61.3975 | -1.7425 | 0.0035111
8 | 140.86 | 85.2576 | 200 | 119.0988 | 0.66881 | -0.0013477
9 | 160.84 | 96.7824 | 500 | 278.1311 | 8.9311 | -0.017996
10 | 180.82 | 108.2135 | 1000 | 496.2793 | -4.2907 | 0.0086457
11 | 200.8 | 119.551 |  |  | #VALUE! | #N/A
12 | 220.78 | 130.7948 |  |  | #VALUE! | #N/A
13 | 240.76 | 141.9451 |  |  | #VALUE! | #N/A
14 | 260.74 | 153.0017 |  |  | #VALUE! | #N/A
15 | 280.72 | 163.9647 |  |  | #VALUE! | #N/A
16 | 300.7 | 174.8341 |  |  | #VALUE! | #N/A
17 | 320.68 | 185.6098 |  |  | #VALUE! | #N/A
18 | 340.66 | 196.2919 |  |  | #VALUE! | #N/A
19 | 360.64 | 206.8804 |  |  | #VALUE! | #N/A
20 | 380.62 | 217.3753 |  |  | #VALUE! | #N/A
21 | 400.6 | 227.7766 |  |  | #VALUE! | #N/A
22 | 420.58 | 238.0842 |  |  | #VALUE! | #N/A
23 | 440.56 | 248.2982 |  |  | #VALUE! | #N/A
24 | 460.54 | 258.4186 |  |  | #VALUE! | #N/A
25 | 480.52 | 268.4454 |  |  | #VALUE! | #N/A
26 | 500.5 | 278.3785 |  |  | #VALUE! | #N/A
27 | 520.48 | 288.218 |  |  | #VALUE! | #N/A
28 | 540.46 | 297.9639 |  |  | #VALUE! | #N/A
29 | 560.44 | 307.6162 |  |  | #VALUE! | #N/A
30 | 580.42 | 317.1748 |  |  | #VALUE! | #N/A
31 | 600.4 | 326.6398 |  |  | #VALUE! | #N/A
32 | 620.38 | 336.0112 |  |  | #VALUE! | #N/A
33 | 640.36 | 345.289 |  |  | #VALUE! | #N/A
34 | 660.34 | 354.4731 |  |  | #VALUE! | #N/A
35 | 680.32 | 363.5637 |  |  | #VALUE! | #N/A
36 | 700.3 | 372.5606 |  |  | #VALUE! | #N/A
37 | 720.28 | 381.4639 |  |  | #VALUE! | #N/A
38 | 740.26 | 390.2735 |  |  | #VALUE! | #N/A
39 | 760.24 | 398.9895 |  |  | #VALUE! | #N/A
40 | 780.22 | 407.612 |  |  | #VALUE! | #N/A
41 | 800.2 | 416.1407 |  |  | #VALUE! | #N/A
42 | 820.18 | 424.5759 |  |  | #VALUE! | #N/A
43 | 840.16 | 432.9174 |  |  | #VALUE! | #N/A
44 | 860.14 | 441.1654 |  |  | #VALUE! | #N/A
45 | 880.12 | 449.3197 |  |  | #VALUE! | #N/A
46 | 900.1 | 457.3803 |  |  |  | #N/A
47 | 920.08 | 465.3474 |  |  |  | #N/A
48 | 940.06 | 473.2208 |  |  |  | #N/A
49 | 960.04 | 481.0006 |  |  |  | #N/A
50 | 1000 | 496.2793 |  |  |  | #N/A